August  27, 2015

ADDENDUM:

BID NUMBER:		R577258

BID NAME:			ALD Benchtop System

BID OPENING DATE:	9/10/15

Addition to Specs:

This system must also include:

- A laptop for controlling the system, including appropriate external control modules.

- Ozone Kit, including necessary valves, destructors, heaters, and gauges to interface with ALD chamber as a precursor.

- (3) 150mL precursor bottles with valves capable of withstanding 175C heating.

- Vacuum pump kit for ALD system, including hookup accessories.

- 2 year warranty.

All else remains the same.

Thank You

Linda Hickman

U of A Purchasing

Bid Clerk

Email:  lindah@uark.edu