March 31, 2017

Question & Answer 2

 Bid R634413

 Water Treatment Program

**Question 1**

Can U of A identify dead legs that might promote bacteria growth in chill water and condenser loops?

**Answer:**

 (I would expect the successful vendor’s assistance identifying what would be considered a “dead leg” and solutions in accordance with paragraph 4.1.9)

**Question 2**

Will the U of A have a pm program to clean strainers on closed loops and cooling tower pumps annually?

**Answer:**

(We do not have this level of preventive maintenance at this time)