VENDORS WHO DO NOT WISH TO RESPOND TO A BID ARE NOT REQUIRED TO DO SO. HOWEVER, VENDORS NOT RESPONDING AND/OR SUBMITTING A “NO BID” RESPONSE TO THREE CONSECUTIVE BID INVITATIONS FOR THE REQUESTED COMMODITY MAY BE REMOVED FROM THE UNIVERSITY’S BIDDERS LIST.

Please Print or Type

| Company Name: |  |  | Phone: |  |
| --- | --- | --- | --- | --- |
| Address: |  |  |  |  |
|  |  |  | Fax: |  |
| City: |  |  | EMail: |  |
| State: |  |  | Web Site: |  |
| Zip Code: |  |  |  |  |

SIGNATURE REQUIRED FOR RESPONSE THIS OFFICIAL BID SHEET MUST BE SIGNED AND RECEIVED IN A SEALED ENVELOPE WITH VENDOR NAME, BID NUMBER, AND BID OPENING DATE CLEARLY NOTED ON OUTSIDE OF ENVELOPE IN ORDER FOR BID TO BE ACCEPTED. BID WILL BE ACCEPTED EITHER SIGNED IN INK OR WITH ELECTRONIC OR FACSIMILE SIGNATURE. BIDS MAY NOT BE FAXED OR EMAILED DIRECTLY TO UNIVERSITY IN RESPONSE TO THIS INVITATION FOR BID. NOTE: The above listed date and time is the LATEST the bid will be accepted. ANY bids received after that time will NOT be considered. NOTE: Pricing awarded on a resulting contract from this bid shall be available to all University of Arkansas departments. Terms stated in the bid response, including pricing and delivery, are available for use outside of the Northwest Arkansas region, but may result in higher shipping costs. NOTE: All Arkansas state agencies and institutions of higher education may utilize or "Piggy Back" onto this contract if it is acceptable to the supplier and in the best interest of the institution and the taxpayers of the state of Arkansas. By signing below, bidder agrees to furnish the items and/or services listed herein at the prices and/or under the conditions indicated in the official Bid Document. Name (Type or Print): ________________________________ Title: _______________________________ Signature: ________________________________ Date:_______________________________

# STANDARD TERMS AND CONDITIONS

| 1. | PREPARATION OF BIDS |  |
| --- | --- | --- |
|  | 1.1 | Failure to examine any drawings, specifications, and instructions will be at bidder’s risk. |
|  | 1.2 | All prices and notations must be printed in ink or typewritten. No erasures permitted. Errors may be crossed out and corrections printed in ink or typewritten adjacent, and must be initialed in ink by person signing bid. |
|  | 1.3 | Brand Name References: Unless specified “No Substitute” any catalog brand name or manufacturer’s reference used in the bid invitation is descriptive only, not restrictive, and used to indicate the type and quality desired. If bidding on other than referenced specifications, the bid must show the manufacturer, brand or trade name, and other descriptions, and should include the manufacturer’s illustrations and complete descriptions of the product offered. The University reserves the right to determine whether a substitute offered is equivalent to and meets the standards of the item specified, and the University may require the bidder to supply additional descriptive material, samples, or demonstrators. The bidder guarantees that the product offered will meet or exceed the referenced product and/or specifications identified in this bid invitation. If the bidder takes no exception to the specifications, bidder will be required to furnish the product exactly as specified in the invitation. |
|  | 1.4 | Samples: Samples or demonstrators, when requested, must be furnished free of expense to the University. Samples not destroyed during reasonable examination will become property of the University unless bidder states otherwise. All demonstrators will be returned after reasonable examination. Each sample should be marked with the bidder’s name and address, bid number and item number. |
|  | 1.5 | Time of Performance: The number of calendar days in which delivery will be made after receipt of order shall be stated in the bid. |
| 2. | SUBMISSION OF BIDS |  |
|  | 2.1 | Bids, modifications or corrections thereof received after the closing time specified will not be considered. |
| 3. | ACCEPTANCE OF BIDS |  |
|  | 3.1 | The University reserves the right to accept or reject all or any part of a bid or any and all bids, to waive any informality, and to award the bid to best serve the interest of the University. |
|  | 3.2 | If a bidder fails to state the time within which a bid must be accepted, it is understood and agreed that the University shall have 60 days to accept. |
| 4. | ERROR IN BID |  |
|  | 4.1 | In case of error in the extension of prices in the bid, the unit price will govern. No bid shall be altered or amended after the specified time for opening bids. |
| 5. | AWARD |  |
|  | 5.1 | Contracts and purchases will be made or entered into with the lowest responsible bidder meeting specifications or on the basis for best value. |
|  | 5.2 | When more than one item is specified in the Invitation, the University reserves the right to determine the low bidder either on the basis of the individual items or on the basis of all items included in its Invitation for Bids, or as expressly stated in the Invitation for Bid. |
|  | 5.3 5.4 | A written purchase order or contract award mailed, or otherwise furnished, to the successful bidder within the time of acceptance specified in the Invitation for Bid results in a binding contract without further action by either party. The contract shall not be assignable by the vendor in whole or part without the written consent of the University. Vendors awarded contracts for commodities and/or services are encouraged to participate in our University Shopping Mall. This online catalog database is operated by a third-party provider and will allow all University departments to place orders to multiple vendors online. A monthly maintenance fee, to be negotiated between each vendor and the shopping mall data base provider, is required. |
| 6. | DELIVERY |  |
|  | 6.1 | The Invitation for Bid will show the number of days to place a commodity in the University designated location under normal conditions. If the bidder cannot meet the stated delivery, alternate delivery schedules may become a factor in award. The University has the right to extend delivery if reasons appear valid. |
|  | 6.2 | Delivery shall be made during University work hours only, 8:00 a.m. to 4:30 p.m.., unless prior approval for other shipment has been obtained. |
|  | 6.3 | Packing memoranda shall be enclosed with each shipment. |
| 7. | ACCEPTANCE AND REJECTION |  |
|  | 7.1 | Final inspection and acceptance or rejection may be made at delivery destination, but all materials and workmanship shall be subject to inspection and test at all times and places, and when practicable. During manufacture, the right is reserved to reject articles which contain defective material and workmanship. Rejected material shall be removed by and at the expense of the contractor promptly after notification of rejection. Final inspection and acceptance or rejection of the materials or supplies shall be made as promptly as practicable, but failure to inspect and accept or reject materials or supplies shall not impose liability on the University thereof for such materials or supplies as are not in accordance with the specification. In the event necessity requires the use of materials or supplies not conforming to the specification, payment may be made with a proper reduction in price. |
| 8. | TAXES AND TRADE DISCOUNTS |  |
|  | 8.1 | Do not include state or local sales taxes in bid price. |
|  | 8.2 | Trade discounts should be deducted from the unit price and net price should be shown in the bid. |
| 9. | DEFAULT |  |
|  | 9.1 | Back orders, default in promised delivery, or failure to meet specifications authorize the University to cancel this contract to the defaulting contractor. The contractor must give written notice to the University of the reason and the expected delivery date. |
|  | 9.2 | Consistent failure to meet delivery without a valid reason may cause removal from the bidders list or suspension of eligibility for award. |
| 10 | WAIVER |  |
|  | 10.1 | The University reserves the right to waive any General Condition, Special Condition, or minor specification deviation when considered to be in the best interest of the University, so long as such waiver is not given so as to deliberately favor any single vendor and would have the same effect on all vendors. |
| 11 | CANCELLATION |  |
|  | 11.1 | Any contract or item award may be canceled for cause by either party by giving 30 days written notice of intent to cancel. Cause for the University to cancel shall include, but is not limited to, cost exceeding current market prices for comparable purchases; request for increase in prices during the period of the contract; or failure to perform to contract conditions. The contractor will be required to honor all purchase orders that were prepared and dated prior to the date of expiration or cancellation if received by the contractor within period of 30 days following the date of expiration or cancellation. Cancellation by the University does not relieve the Contractor of any liability arising out of a default or nonperformance. If a contract is canceled due to a request for increase in prices or failure to perform, that vendor shall be removed from the Qualified Bidders List for a period of 24 months. Cause for the vendor to cancel shall include, but is not limited to the item(s) being discontinued and unavailable from the manufacturer. |
| 12 | ADDENDA |  |
|  | 12.1 | Addenda modifying plans and/or specifications may be issued if time permits. No addendum will be issued within a period of three (3) working days prior to the time and date set for the bid opening. Should it become necessary to issue an addendum within the three-day period prior to the bid opening, the bid date will be reset giving bidders ample time to answer the addendum. |
|  | 12.2 | Only written addenda is part of the bid packet and should be considered. |
| 13 | ALTERNATE BIDS |  |
|  | 13.1 | Unless specifically requested alternate bids will not be considered. An alternate is considered to be a bid that does not comply with the minimum provisions of the specifications. |
| 14 | BID OPENINGS |  |
|  | 14.1 | Bid opening will be conducted open to the public. However, they will serve only to open, read and tabulate the bid price on each bid. No discussion will be entered into with any vendor as to the quality or provisions of the specifications and no award will be made either stated or implied at the bid opening. |
| 15 | DEBRIS REMOVAL |  |
|  | 15.1 | All debris must be removed from the University after installation of said equipment. |

ALL BIDS SUBMITTED SHALL BE IN COMPLIANCE WITH THE GENERAL CONDITIONS SET FORTH HEREIN.  THE BID PROCEDURES FOLLOWED BY THIS OFFICE WILL BE IN ACCORDANCE WITH THESE CONDITIONS.  THEREFORE, ALL VENDORS ARE URGED TO READ AND UNDERSTAND THESE CONDITIONS PRIOR TO SUBMITTING A BID.

Please send one (1) signed original, and one (1) signed copy (including two (2) separate copies on CD and/or USB Flash Drive) of your response to this bid.  The extra copies are needed for bid evaluation purposes.  Please do not send bid responses to different bids in the same envelope.

Additional Redacted Copy REQUIRED

Proprietary information submitted in response to this IFB will be processed in accordance with applicable State of Arkansas procurement law. Documents pertaining to the IFB become the property of the University of Arkansas and shall be open to public inspection when the bid solicitation has been awarded and a final contract agreement is complete.

It is the responsibility of the respondent to identify all proprietary information included in their bid proposal response. The respondent shall submit one (1) separate electronic copy of the bid from which any proprietary information has been removed, i.e., a redacted copy (marked “REDACTED COPY”). The redacted copy should reflect the same pagination as the original, show the empty space from which information was redacted, and should be submitted on a CD or flash drive, preferably in a PDF format. Except for the redacted information, the redacted copy must be identical to the original hard copy submitted for the bid response to be considered. The respondent is responsible for ensuring the redacted copy on CD/flash drive is protected against restoration of redacted data. The redacted copy may be open to public inspection under the Freedom of Information Act (FOIA) without further notice to the respondent once a contract is final.  If during a subsequent review process the University determines that specific information redacted by the respondent is subject to disclosure under FOIA, the respondent will be contacted prior to release of the information.

# Bid the following according to minimum specifications or functional equivalent:

| Item | Description | Qty |  | Unit Price |  | Total Price |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Isotope Ratio Monitoring System as per Minimum | 1 ea |  | $_________ |  | $__________ |

# Specifications below:

Instrument Requirements and Specifications

The U of Arkansas  is expanding the capabilities of the existing laboratory for stable isotopic analysis, focusing on adding the capability for automated high precision compound specific isotope analysis of C, N and H. We initially require an automated system for isotope ratio monitoring, including a capillary GC with combustion and pyrolysis reactors, autosampler, and interface.

Important considerations related to laboratory flexibility and learning curve:

Compatibility: To the maximum extent possible flexibility in instrument reassignment, instrument maintenance and operator training, the new system should share parts with the existing mass spectrometers.  The system must be compatible with existing laboratory equipment, namely an EA IsoLink II, a TC/EA and a Gas bench II , and it must be possible to port all peripherals between all instruments to ensure ability to quickly reconfigure the lab to reflect changing workloads. The compatibility must be integrated though software control. The system software must be able to control all the above peripherals.

Upgradeability: while the IRMS will initially be configured as a continuous flow system, it must be possible to perform a field upgrade the system with a dual viscous flow inlet system.

Size and Form: The laboratory space available is small and the space allotted for the IRMS does not have any bench top space, so the IRMS should be of "bench bottom" design, capable of supporting peripheral on tops and with all pumps internally mounted, to reduce the footprint and to ensure that the noise level of the system in normal operation <50 dB.

Equipment Removal: The successful bidder must remove the three existing delta series isotope ratio mass spectrometers, and any trade-in values should be spelled out.

Instrument Track Record: To help evaluate the proven track record of the systems being bid, we request that the bidders provide comprehensive bibliographies of publications in refereed journals which report CSIA measurements of D/H and 15N/14N made on the equipment that is being bid.

1	Basic Mass Spectrometer: requirements and specifications

1.1	3000 V (3-kVA) EI-ion source, with all measurements made at full accelerating potential

1.2	Mass range: 1-96 amu at full accelerating voltage

1.3	Sensitivity (molecules CO2/mass 44 ion):  Sensitivity should be better than 1100 Molecules/Ion in CF Mode and Absolute Sensitivity must be better than better than 800 Molecules/Ion. This must be supported by documentation.

1.4	Ion source Linearity (Isotope Ratio linearity) at full sensitivity:  Source Linearity must be better than 0.02‰/nA over a voltage range of 0.6 V to 6 V AND at a sensitivity corresponding to 1100 Molecules/Ion. This must be supported by documentation. The documentation should clearly indicate the corresponding sensitivity at source linearity of 0.02‰/nA.

1.5	Mass Resolution:  110

1.6	Effective Magnetic Deflection Radius:  191 mm

1.7	System stability: <10 ppm

1.8	Noise Level:  <50 dB(A)

1.9	Diagnostic suite in instrument software to measure 1.3-1.7

1.10	Construction and design of ion source and vacuum system must be such that memory is eliminated.  To this end , the following design features should be included

1.10.1  Weld-free monoblock source housing,  machined out of single piece of metal

1.10.2  The ion source must have built in internal radiant heating of wetted surfaces.

1.10.3  Internal radiant heating to eliminate need for bakeout procedure

1.10.4  Needle valve inlet for continuous flow inlet systems should be resistively heated, to  eliminate surface water build- up when inlets are disconnected.

2	CF-IRMS: INTERFACING, REFERENCING, DILUTION

2.1	The interface Interfacing of Elemental Analyzer to IRMS must have automated sample dilution, automated addition of reference gases and must be possible to dilute Sample gases by 1:100 Automatically without Manual Intervention with He prior to the transfer into the IRMS

2.2	Be expandable to up to 3 preparation devices, to allow easy addition of future analytical capabilities.

2.3	 The accessible dynamic system range should be 1: 5000 or better

2.4	 Interface must allow coupling of devices from <1 mL/min of He to >100 mL min/He.

2.5	 Reference gas consumption must be <200 µL/minute in routine operation

2.6	 It must be possible to change reference gas intensity by a factor of ten in <1 second

2.8	 Reference gas intensity must be variable over an intensity range of 2-30 V (CO2, N2)

2.7	 Interface must have “gas saver mode” for all reference gases, in which there is zero consumption 	of reference gas when it is not required in the analytical program

3	CF-IRMS:  compound specific isotope analysis (CSIA)

3.1	It must be possible to undertake fully automated high precision isotopic analysis of C, N, and H at natural abundance from individual GC peaks

3.2	The system must have automated switching between combustion and pyrolysis (in both directions, from combustion to pyrolysis, and pyrolysis to combustion), with no requirement for manual intervention and no requirement for tools. Switching must effected by a four port Valco in the cold zone after the reactors.

3.3	The switching of the reference gases, from CO2 to H2, must be fully automated

3.4	Determination of the H3+ factor upon switching must be fully automated

3.5	The GC must be a state of the art commercially available capillary GC.

3.6	The GC injectors and detectors must be of plug-in design, to ensure quick changeout

3.7	It must be possible to change injectors and detectors in <3 minutes

3.8	It must be possible to disassemble and sonicate the injector parts

3.9	GC to have touch screen interface for direct instrument control

3.10	The system must have Auto-Ranging of reference gas peaks

3.11	The GC and reaction interface must embody true capillary design of all components, including each of the points listed below:

3.11.1	Accommodate narrow bore GC Columns:

3.11.2	GC system must be valve-free

3.11.3	There should be direct contact of the reactors with the GC oven, with no requirement for heated transfer line BENEFITS: superior peak shape and reduced risk of fractionation.

3.11.4	Connection between the columns and the reactors must use Silflo microchannel device, with no valves in the GC oven and zero dead volume, to ensure easy and reliable connection with the GC column and best preservation of peak shape.

3.11.5	The reactors must have solder joint, to eliminate the need for a connector at the oven entrance.  BENEFIT: eliminate risk of fractionation

3.11.6	The reactors must be of true capillary design, with no requirement for makeup gas.

3.11.7	The use of packed reactors and He make up gas are explicitly forbidden, to ensure the best GC peak shape and no loss in sensitivity

3.11.8	Reactors must have constant temperature profile with sharp gradient at beginning and end; documentation of temperature profiles for both combustion and pyrolysis reactors must accompany response

3.11.9	The open split should be valve-free and of true capillary design

3.11.10 Elimination of cold spots, including at end of GC column and elimination of use of liquid nitrogen for water removal

3.11.11 Using a temperature-controlled backflush system for quantitative removal of solvents in front of reactors

3.11.12	The backflush exit valve must be heated, to prevent condensation of high boiling

solvents and reagents

3.12 	The system must have functional He autodilution of dominant peaks (e.g. CH4 in natural gas) during an analysis, to extend the dynamic range accessible in a single analysis

3.13	 The system should allow automated “blinding out” of large peaks, to allow analysis of minor compounds close to out of range peaks.

3.14	SPECIFICATION: The dynamic range must be at least 1-167 nA, and data supporting compliance with this specification must be submitting

3.15	SPECIFICATION:  The linearity range must be at least 2 nA – 90 nA, and data supporting compliance with this specification must be submitting

3.16	It must be possible to display the trace of an FID together with either the trace of the calculated isotope ratio or the trace of the major beam.

3.17	Software must include automated routines for background correction as well as allow for fully user selectable background.

3.18 	Software must allow for separate measurement of each peak for isotopic species, to allow for time migration of peak centroids for proper subtraction of background.  It must be possible to demonstrate that time migration is used and used properly to evaluated the chromatograms for CO2, N2, H2

4	GC COMBUSTION:  conversion of -C and -N to CO2 and N2

4.1	The GC combustion interface must contain a single high temperature combustion/reduction reactor for combustion of C to CO2 and conversion of N to N2.

4.2	The reactor should be of capillary design, containing Ni/Cu/Pt wires, but not packed.

4.3	The reactor conditions for C and N must be identical.

4.4	Quantitative reduction of N to N2 must be demonstrated

4.5	Switching between 15N and 13C analysis must be fully automated in a single sequence, including automatic activation of the LN2 trap and release of trapped CO2

4.6	The reactor must have a constant temperature profile with sharp gradients at beginning and end

4.7	Regeneration of the reactor must be fully automated; it must be possible to reoxidize the combustion furnace in situ and it must be possible to reach T = 1000oC required for quantitative conversion of methane BENEFIT:  Allows continuous 24/7 operation

4.8	The reactor must have easy fit connections

4.9	REQUIREMENT It must be able to run 15N and 13C analyses without hardware modifications.

4.10	The LN2 trap used to trap CO2 during N2 analysis must be fully automated, including activation and release of trap, for compliance with all safety requirements for handling of liquid N2.  Emptying the trap must be a fully automated process, with no requirement for manual intervention.

4.11	Water removal must be continuous and maintenance-free, and must be of capillary design.

4.12	Precision SPECIFICATIONS:  13C: <0.2‰, 1s, 0.8 nmol of C on column:

4.13	INSTALL TEST:  0.8 nmol C (=10 ng C, 12 ng alkane, or 60 pmol alkane on column)

4.14	REQUIREMENT Must submit data showing speed of analysis, peak shape and analytical results for analysis of Schimmelmann mix B3 for d13C

4.15	Methane EXPECTATIONS, DOCUMENTATION REQUIRE

4.15.1  Combustion must be demonstrated to be quantitative to >99.5%.

4.15.2  Change in d-value over a decade in sample size should be <0.1‰/V

5	GC PYROLYSIS: conversion of -H to H2

5.1	It must be possible to configure the GC interface for thermochemical decomposition of organic material unit to allow determination of D/H on individual GC peaks

5.2	SPECIFICATION The reactor must sustain T >1420o and the system must quantitatively produce H2 from organic H, as demonstrated by analysis of methane

5.3	Regeneration of the high temperature reactor must be fully automated, permitting continuous 24/7 operation.

5.4	Methane  REQUIREMENTS;

5.4.1 Conversion to H2 must be demonstrated to be quantitative to >99.5%

5.4.2 Change in d value over a half a decade in sample size should be <0.5‰/V

5.4.3 Performance to this level must be supported by documentation

5.5.	Sensitivity EXPECTATION: It should be possible to get a well-defined peak of significant height for 30 ng H2 in the compound being decomposed.  Vendor must supply spectrum showing peak height for peak containing 30 nmol H2-equivalent on column. .

5.6	Baseline separation of m/z=DH will be achieved from the collisionally induced low energy “energy loss tail” of the 4He beam with standard capillary GC He flow rates.

6	AUTOSAMPLER Requirements

6.1     Autosampler must be fully integrated and under software control

6.1.1 Must be capable of adding internal standard to every sample

6.1.2 Must have bottom sensing sensor to inject from a low volume extract

# Shipping terms are:

# INCOTERMS 2010 DDP (Delivered Duty Paid).

# FOB:	University of Arkansas

Daniel E Ferritor Hall

349 N Campus Drive

Fayetteville, AR 72701

Delivery___________ days after receipt of order.

NOTE:   If any portion of a vendor's contract terms and conditions are in conflict with those in this Invitation for Bid or with the laws of the State of Arkansas,  State of Arkansas laws shall govern.  Failure to conform to these standards may result in rejection of bid.

NOTE: If offering equal, full description and complete specifications must accompany bid at the time

of bid opening.   Failure to do so may result in disqualification of bid.

Bids must be submitted on this official bid form to be considered.

Award will be on an all or none basis.

If further information is needed please contact: Erik Pollock at 479-575-2543 or epolloc@uark.edu.

# IMPORTANT: Respondents must address each of the requirements of this bid request which is in the format of a Invitation for Bid. Vendor’s required responses should contain sufficient information and detail for the University to further evaluate the merit of the vendor’s response. Failure to respond in this format may result in bid disqualification.

# IMPORTANT: If questions are submitted to the University to clarify bid specifications or the scope of the bid, an individual response will be sent to the submitting party only. All question and answer documents will be immediately posted to the University Hogbid website, information and a link is listed here:  http://hogbid.uark.edu/index.php  for interested firms, companies, individuals to review. It is the responsibility of all parties to review the University official bid website, Hogbid, to be informed of all important information specific to the solicitation.

Vendor Identification

# Bidder should complete the Vendor Identification form at the following link, and submit with bid proposal: http://businessservices.uark.edu/_resources/documents/VII.pdf.

# General Campus Background for University of Arkansas

Founded in 1871 as a land-grant institution, the University of Arkansas, Fayetteville Arkansas, is the flagship campus of the University of Arkansas System. Our students represent all 50 states and more than 120 countries. The UofA has 10 colleges and schools offering more than 210 academic programs. As of Fall 2016, student enrollment totaled approximately 27,194. The faculty count totaled 1,384 and the staff count totaled 3,169. The UofA is the state’s foremost partner and resource for education and economic development. Its public service activities reach every county in Arkansas, throughout the nation, and around the world.  The Carnegie Foundation classifies the UofA as having "the highest possible level of research," placing us among the top 2 percent of colleges and universities nationwide.

Proprietary Information

Proprietary information submitted in response to this bid will be processed in accordance with applicable University of Arkansas procurement procedures.  All material submitted in response to this bid becomes the public property of the State of Arkansas and will be a matter of public record and open to public inspection subsequent to bid opening as defined by the Arkansas Freedom of Information Act.  The Respondent is hereby cautioned that any part of its bid that is considered confidential, proprietary, or trade secret, must be labeled as such and submitted in a separate envelope along with the bid, [include with Original and any required Copies] and can only be protected to the extent permitted by Arkansas law.

Note of caution:  Do not attempt to mark the entire proposal as "proprietary".  Do not submit letterhead or similarly customized paper within the proposal to reference the page(s) as "Confidential" unless the information is sealed separately and identified as proprietary.  Acceptable proprietary items may include references, resumes, and financials or system/software/hardware manuals. Cost cannot be considered as proprietary.

Ethical Standards

It shall be a breach of ethical standards for a person to be retained, or to retain a person, to solicit or secure a state contract upon an agreement or understanding for a commission, percentage, brokerage, or contingent fee, except for retention of bona fide employees or bona fide established commercial selling agencies maintained by the contractor for the purpose of securing business.

Arkansas Technology Access Clause

When procuring a technology product or when soliciting the development of such a product, the State of Arkansas is required to comply with the provisions of Arkansas Code Annotated § 25-26-201 et seq., as amended by Act 308 of 2013, which expresses the policy of the State to provide individuals who are blind or visually impaired with access to information technology purchased in whole or in part with state funds.  The Vendor expressly acknowledges and agrees that state funds may not be expended in connection with the purchase of information technology unless that system meets  the  statutory requirements found in 36 C.F.R. § 1194.21, as it existed on January 1, 2013 (software applications and operating systems) and 36 C.F.R. § 1194.22, as it existed on January 1, 2013 (web-based intranet and internet information and applications), in accordance with the State of Arkansas technology policy standards relating to accessibility by persons with visual impairments.

Accordingly, the vendor expressly represents and warrants to the State of Arkansas through the procurement process by submission of a Voluntary Product Accessibility Template (VPAT) or similar documentation to demonstrate compliance with 36 C.F.R. § 1194.21, as it existed on January 1, 2013 (software applications and operating systems) and 36 C.F.R. § 1194.22, as it existed on January 1, 2013 (web-based intranet and internet information and applications) that the technology provided to the State for purchase is capable, either by virtue of features included within the technology, or because it is readily adaptable by use with other technology, of:

- Providing, to the extent required by Arkansas Code Annotated § 25-26-201 et seq., as amended by Act 308 of 2013, equivalent access for effective use by both visual and non-visual means;

- Presenting information, including prompts used for interactive communications, in formats intended for non-visual use;

- After being made accessible, integrating into networks for obtaining, retrieving, and disseminating information used by individuals who are not blind or visually impaired;

- Providing effective, interactive control and use of the technology, including without limitation the operating system, software applications, and format of the data presented is readily achievable by nonvisual means;

- Being compatible with information technology used by other individuals with whom the blind or visually impaired individuals interact;

- Integrating into networks used to share communications among employees, program participants, and the public; and

- Providing the capability of equivalent access by nonvisual means to telecommunications or other interconnected network services used by persons who are not blind or visually impaired.

If the information technology product or system being offered by the Vendor does not completely meet these standards, the Vendor must provide an explanation within the Voluntary Product Accessibility Template (VPAT) detailing the deviation from these standards.

State agencies cannot claim a product as a whole is not commercially available because no product in the marketplace meets all the standards. Agencies must evaluate products to determine which product best meets the standards.  If an agency purchases a product that does not best meet the standards, the agency must provide written documentation supporting the selection of a different product.

For purposes of this section, the phrase “equivalent access” means a substantially similar ability to communicate with, or make use of, the technology, either directly, by features incorporated within the technology, or by other reasonable means such as assistive devices or services which would constitute reasonable accommodations under the Americans with Disabilities Act or similar state and federal laws.  Examples of methods by which equivalent access may be provided include, but are not limited to, keyboard alternatives to mouse commands or other means of navigating graphical displays, and customizable display appearance.  As provided in Arkansas Code Annotated § 25-26-201 et seq., as amended by Act 308 of 2013, if equivalent access is not reasonably available, then individuals who are blind or visually impaired shall be provided a reasonable accommodation as defined in 42 U.S.C. § 12111(9), as it existed on January 1, 2013.

If the information manipulated or presented by the product is inherently visual in nature, so that its meaning cannot be conveyed non-visually, these specifications do not prohibit the purchase or use of an information technology product that does not meet these standards.

All State of Arkansas electronic and information technology purchases must be accessible as specified by standards listed in Arkansas Act 308. A copy of the act is available here: ftp://www.arkleg.state.ar.us/acts/2013/Public/ACT308.pdf.

A blank copy of the Voluntary Product Accessibility Template (VPAT) form is available here: http://procurement.uark.edu/_resources/documents/VPAT_Blank.pdf

Note: All vendors should complete the VPAT form as it relates to the scope of the item(s) or commodity requested in the bid solicitation. Our expectation is that the vendor will assign technical personnel who understand accessibility to the task. If a component of a VPAT does not apply, it is up to the vendor to make that notation and explain why in the “Comments” column. The notation can be as simple as “Not a telecommunications or technology product.”

Please note here if a Voluntary Product Accessibility Template (VPAT) form IS or IS NOT INCLUDED with this bid response. ____________________________________________.

Failure to include the Voluntary Product Accessibility Template (VPAT) form (if needed) could result in bid disqualification.

University of Arkansas Logo / Trademark Licensing

Merchandise that carries a University logo or trademark must be purchased from vendors that are licensed through the Collegiate Licensing Corporation. Therefore, bidders are required to be currently licensed to carry the University of Arkansas logo in order to be eligible to submit bids for those requests that involve the University of Arkansas logo or trademark.  Only those offers submitted by currently licensed bidders will be considered for award.

Non-Discrimination and Affirmative Action

Vendor agrees to adhere to any and all applicable Federal and State laws, including laws pertaining to non-discrimination and affirmative action.

a. Consistent with Ark. Code Ann. § 25-17-101, the vendor agrees as follows: (a) the vendor will not discriminate against any employee or applicant for employment because of race, sex, color, age, religion, handicap or national origin; (b) in all solicitations or advertisements for employees, the vendor will state that all qualified applicants will receive consideration without regard to race, color, sex, age, religion, handicap or national origin; (c) failure of the vendor to comply with the statute, the rules and regulations promulgated thereunder and this non- discrimination clause shall be deemed a breach of contract and this contract may be canceled, terminated or suspended in whole or in part; (d) the vendor will include the provisions of items (a) through (c) in every subcontract so that such provisions will be binding upon such subcontractor or vendor.

b. The parties hereby incorporate by reference the Equal Employment Opportunity Clause required under 41 C.F.R. § 60-1.4, 41 C.F.R. § 60-300.5(a), and 41 C.F.R. § 60-741.5(a), if applicable.

This contractor and subcontractor shall abide by the requirements of 41 CFR §§ 60-1.4(a), 60-300.5(a) and 60-741.5(a).  These regulations prohibit discrimination against qualified individuals based on their status as protected veterans or individuals with disabilities, and prohibit discrimination against all individuals based on their race, color, religion, sex, or national origin. Moreover, these regulations require that covered prime contractors and subcontractors take affirmative action to employ and advance in employment individuals without regard to race, color, religion, sex, national origin, protected veteran status or disability.

This contractor and subcontractor certify that they do not maintain segregated facilities or permit their employees to perform services at locations where segregated facilities are maintained, as required by 41 CFR 60-1.8.

Performance Timeline

Contractor agrees to begin performance of this Agreement within ten (10) calendar days after it receives notice from the University that the Agreement has received legislative approval, if necessary, or the final contract has been signed by both parties, whichever is later (the “Commencement Date”).  Time is of the essence in the Contractor’s performance of this contract. If the Contractor fails to meet certain milestones within a specific timeline, the University will sustain damages. Therefore, if Contractor fails to complete certain services with the time limits herein specified, Contractor shall pay to the University, as liquidated damages and not in the nature of a penalty, the amount specified below, it being understood and agreed between the parties hereto that the said sum fixed as liquidated damages is a reasonable sum, considering the damages that the University will sustain in the event of any such delay. Said amount is herein agreed upon and fixed as liquidated damages because of difficulty of ascertaining the exact amount of damages that may be sustained by such delay.  The said liquidated damages amount shall be deducted from the amount due to Contractor.

| Performance Milestone | Completion Deadline (calculated from the Commencement Date) | Liquidated Damages |
| --- | --- | --- |
| If there is a default in the performance of any of the material terms, conditions or covenants contained in this Agreement or Contract | 3 months | 20% of the total initial cost and annual fee |
| If there is failure to cure in the performance of any material terms, conditions or covenants contained in this Agreement or Contract | 3 months | 15% of the total initial cost and annual fee |
| If there is failure to perform in the performance of any material terms, conditions or covenants contained in this Agreement or Contract | 6 months | 10% of the total initial cost and annual fee |

Prohibition on Contracting

In accordance with Ark. Code Ann. § 25-1-503, Vendor hereby certifies to University that Vendor (a) is not currently engaged in a boycott of Israel and (b) agrees for the duration of the Agreement/PO/Contract not to engage in a boycott of Israel.  A breach of this certification will be considered a material breach of contract.  In the event that Vendor breaches this certification, University may immediately terminate the Agreement/PO/Contract without penalty or further obligation and exercise any rights and remedies available to it by law or in equity.

Dun and Bradstreet DUNS Number

We highly encourage all University of Arkansas contract vendors to use a Dun and Bradstreet number (DUNS Number). The D & B DUNS Number is a unique nine digit identification sequence, which provides unique identifiers of single business entities, while linking corporate family structures together.  If your business has not registered, you may do so at: http://www.dnb.com/

If available, please provide your Dun and Bradstreet DUNS Number below:

_______________________________________

Equal Opportunity Policy Disclaimer

ATTENTION BIDDERS

Act 2157 of 2005 of the Arkansas Regular Legislative Session requires that any business or person bidding, who is responding to a formal bid request, Request for Proposal or Qualification, or negotiating a contract with the state for professional or consultant services, submit their most current equal opportunity policy (EO Policy).

Although bidders are encouraged to have a viable equal opportunity policy, a written response stating the bidder does not have such an EO Policy will be considered that bidder’s response and will be acceptable in complying with the requirement of Act 2157.

Submitting the EO Policy is a one-time requirement.  The University of Arkansas, Fayetteville Procurement Department, will maintain a database of policies or written responses received from all bidders.

Note: This is a mandatory requirement when submitting an offer as described above.

Please complete and return this form with your bid response.

Should you have any questions regarding this requirement, please contact this office by calling (479) 575-2551.

Sincerely,

Linda K. Fast

Linda K. Fast, APO, CPPO, CPPB

Manager of Procurement Services

University of Arkansas

Fayetteville, AR

To be completed by business or person submitting response: (check appropriate box)

____   EO Policy Attached

____   EO Policy previously submitted to UA Purchasing Department

____   EO Policy is not available from business or person

Company Name

Or Individual: __________________________________________________________

Title:  _____________________________________Date:  ______________________

Signature:  ____________________________________________________________

UNIVERSITY OF ARKANSAS

PROCUREMENT DEPARTMENT

1125 W. Maple   ADMIN 321

Fayetteville, AR 72701

Tel:  479-575-2551

Fax:  479-575-4158

Act 157 of 2007 of the Arkansas Regular Legislative Session requires that any contractor, business or individual, having a public contract with a state agency for professional services, technical and general services, or any category of construction, in which the total dollar value of the contract is $25,000 or greater must certify, prior to the award of the contract, that they do not employ or contract with any illegal immigrants.

For purposes of this requirement, “Illegal immigrants” means any person not a citizen of the United States who has:

- Entered the United States in violation of the Federal Immigration and Naturalization Act or regulations issued the act;

- Legally entered but without the right to be employed in the United States; or

- Legally entered subject to a time limit but has remained illegally after expiration of the time limit.

This is a mandatory requirement.  Failure to certify will result in our inability to issue a Purchase Order or Contract to you or your company.

Bidders shall certify online at http://www.arkansas.gov/dfa/procurement/pro_immigrant.html

Click on: “Procurement” on left-side information bar

Click on:  Illegal Immigrant Reporting

Click on: “Vendor” Illegal Immigrant Contracting Disclosure Reporting Screen

Click on: “Vendor Submit Disclosure Form” to complete all fields required for the certification – then indicate below and sign this form to submit with your bid. ***NOTE*** Bid Number field is applicable if known.

REQUIRED:  Print Screenshot and include with your proposal and/or contract.

If you have any questions, please call the UA Procurement Department at 479-575-2551.

Thank you.

Linda K. Fast

Linda K. Fast, APO, CPPO, CPPB

Manager of Procurement Services

University of Arkansas

**********************************************************************************************

TO BE COMPLETED BY BUSINESS OR PERSON SUBMITTING BID RESPONSE OR CONTRACT:

Please check the appropriate statement below:

_______	We certified that we are not an illegal immigrant

or do not employ or contract with any illegal immigrants.

Date of certification:  ________________________

_______		We cannot so certify at this time, and we understand that

a contract cannot be awarded until we have done so.

Reason for non-certification:  ______________________________

Name of Company:		___________________________________________

Signature:			___________________________________________

Name & Title:			___________________________________________

(Printed or typed)

Date:				___________________________________________