## Sheet1
Ref # | Question(s) | UA Response
1 | How are the various UA facilities interconnected today? (IPSec tunnels, MPLS, etc.) | 99% of buildings are on the main campus connected via UA owned fiber utilizing OSPF peerings between building MDFs and distribution routers. The distribution routers then have OSPF peerings to our Core routers. Most branch offices (approximately 10) have a commodity ISP connection with an IPSec tunnel back to campus perimeter firewall. We have one branch location with an MPLS connection to our campus ISP with an IPSec tunnel back to our campus perimeter firewall.
2 | For sites that are interconnected, is Internet bound traffic routed through a central site? | For facilities on the main campus, yes. For branch offices at present internet bound traffic bypasses the IPSec tunnel to campus.
3 | How many data centers do UA operate/maintain? | Two main data centers that are managed by University Information Technology Services (UITS).
4 | Do UA facilities share a common data center? | Yes.
5 | During peak hours, what is the approximate network throughput in the UA core network? | Aggregate of around 30Gbps.
6 | During peak hours, what is the approximate network throughput of UA's Internet circuit(s)? | Aggregate of around 20Gbps.
7 | During peak hours, how many concurrent domain users are active on the UA wired/wireless network? | Approximately 25,000 for WiFi (does not include IoT). Statistics are not available for wired.
8 | During peak hours, how many concurrent non-domain joined computers are active on the UA wired/wireless network (ex. Printers, Scanners, IP Phones, Cameras) | Statistics are not available at this time.
9 | Will UA require any form of firewall SSL decryption? | It is a desired capability.
10 | During peak hours, how many VPN users are active? | Approximately 500.
11 | What is the average log size ingested per day for the existing SIEM? | The core UITS infrastructure utilizing Sentinel System aggregates approximately 1.2 TB per day. UA Athletics runs a separate infrastructure on Alien Vault aggregates approximately 36GB per day.
12 | Will public wireless traffic require any advanced firewall features (ex. DPI, App-ID, SSL Decryption) | Yes, minimally App-ID and DLP.
13 | Does the public wireless network utilize a separate Internet circuit? | Not currently.
14 | During UA athletic events, what is the average wireless throughput? | 5-7Gbps.
15 | Can UA share any wireless site survey information regarding the existing wireless environment? | A campus wide site survey has not been performed; surveys are done as part of construction/renovation work and troubleshooting. This will be provided to the awarded VAR.
16 | Are there any coverage concerns with the existing wireless infrastructure? | There are areas with lack of coverage but please base your pricing on the quantities in Attachment IV, worksheet: Specifications_Quanties (some growth in APs is assumed.)
17 | 1. Under NDA would the University be willing and able to provide information on the current environment to include: | NA - see responses to Ref # 18 through 25 subsections a. through e.
18 | a. Security Architecture? | This information will be provided to the awarded VAR,
19 | b. Firewall inventory, models, software releases? | This information will be provided to the awarded VAR,
20 | c. SIEM environment | NA - see subsection I, ii, and iii
21 | i. All cloud? | Yes.
22 | ii. Current events per period of time that are being ingested into the Cloud SIEM? | Currently at 1.2 TB daily ingestion.
23 | iii. Important or desired APIs-Application Interfaces? | Yes, we do want API integration, this will be dependent on the proposed solution. Refer to Attachment III, section 17, and Attachment II, section 1.11. VARs have an option of proposing to work with the existing SIEM or propose a new SIEM. The goal is to integrate the NGN architecture with security monitoring operations and leveraging the NGN in the security posture. This can be discussed further during the Conceptual Reviews.
24 | d. Any SDWAN or SASE implementations/environments/details? | This information will be provided to the awarded VAR,
25 | e. Endpoint, Is the current Endpoint Application a potential for change/enhancement? | Not sure what is being requested.
26 | 2. Inventory/Spares Location: Would the University be willing to provide a secure space for Spares? | Yes.
27 | 3. What scanning service does the University currently employ to determine vulnerabilities and software versions? | This information will be provided to the awarded VAR.
28 | 4. Has the University employed a vendor/partner for Penetration Testing in the last 12 months? | Yes.
29 | 5. Can the University provide a list of current security compliance requirements? | At a minimum: PCI, HIPAA, FERPA, NIST 800.171, NIST 800.53, DFARS.
30 | 6. Does the University have a preference for Security Frameworks? | Yes. NIST Cybersecurity and CMMC are the preferred frameworks.
31 | 7. Would the University be interested in an optional SoC as a Service offer for co-management or after-hours support? | Yes, as an option.
32 | 8. Does the University have a current Cyber Posture evaluation? If not, is this of interest? | This is beyond the scope of this RFP.
33 | 9. Has the University developed a Third-Party Risk analysis? If not, is this of interest? | This is beyond the scope of this RFP.
34 | 10. Does the University currently employ a Incident Response partner? Is this of interest? | This is beyond the scope of this RFP.
35 | 11. Does the University currently employ a Threat Hunting Program? Solution Information? If not is this of interest? | Threat Hunting could be part of the SIEM, otherwise beyond the scope of this RFP.
36 | 12. Does the University currently employ an IPAM-for access management? | Not sure what is being requested.
37 | 13. The RFP03182024 Attachment III includes section 4 Field-Deployed User Switches (limited use case Access Switches). | See next row, Ref # 38.
38 | 14. Question – Please define the limited use case and are the user switches anticipated to be the same model / type as the University standard switches? What are the expectations for management of User Switches? Regarding management services for User Switches are these managed by the user, by the VAR or a co-managed environment? | Question # 1: The user switches are for locations where there is only a single copper network connection, but multiple devices need to connect (printer, desktop, VoIP phone, etc.) and it is prohibitive to run additional horizontal cabling. They should be in the same product family, but are only expected to be an 8-12 port model. Question # 2: Management expectations are the same as for the full size MDF/IDF switches. No separate tool. Question # 3: They are managed by the University of Arkansas IT Services Network Team.
39 | 15. Document RFP03182024_Attachement II includes references to user identity based management access and a reference to user experience. Will the University continue to manage user access by maintaining user to profile associations that translate into access levels? Will the University provide the user help desk services to support end users or is that expected of the VAR? | Question # 1 - Yes. Question # 2 - UITS.
40 | 16. What is your expectation for on-going day 2 support? Can you define requirements for day 2 support? | Yes.
41 | 17. If day 2 support is needed are they specific SLA’s that need to be met? | Not at this time.
42 | 18. Is on-site day 2 support needed? | Yes.
43 | 19. What financial model is Unv of AR leaning on for this project CapEx or OpEx? What length of term? | No decision has been made.
44 | 20. Will we need a one to one replacement of all existing hardware? | No.
45 | 21. Will new cabling need to be pulled? | Infrastructure cable is out of scope.
46 | 22. Are you interested in pursuing cellular off-load for the Wi-Fi? | Not applicable to this RFP.
47 | 23. Do you have switch, IDF’s, MDF’s, and access point counts? Is there anything showing placements of existing equipment across campus? Is athletic facilities part of the existing request? If so are there current network diagrams, equipment models or additional requirements? | Question # 1 there are 300 IDFs, 187 MDFs, in 188 buildings. The number of access points have been provided in Attachment IV, worksheet: Specifications_Quanties (some growth in APs is assumed.) Question # 2 No comprehensive documentation available. Question #3 Yes. Question # 4 - This information will be provided to the awarded VAR,
48 | 24. Is NAC a part of this? | Yes.
49 | 25. Under NDA would the University be willing and able to provide information on the current environment to include: | NA
50 | a. High-level network architecture/design, e.g. wireless, wired, data center, cloud, remote access, etc? | High level diagrams will be provided to the awarded VAR.
51 | b. Wireless network inventory, models, software releases? | No, inventory, models and software releases will not be provided. Quantities have been provided in Attachment IV, worksheet: Specifications_Quanties.
52 | c. Wired network inventory, models, software releases? | No, inventory, models and software releases will not be provided. Quantities have been provided in Attachment IV, worksheet: Specifications_Quanties.
53 | d. Data center network inventory, models, software releases? | No, inventory, models and software releases will not be provided. Quantities have been provided in Attachment IV, worksheet: Specifications_Quanties.
54 | e. Cloud network inventory, models, software releases? | No.
55 | f. Remote access network inventory, models, software releases? | No, inventory, models and software releases will not be provided. Quantities have been provided in Attachment IV, worksheet: Specifications_Quanties.
56 | g. Any SDWAN and/or SASE implementations/environments/details? | This information will be provided to the awarded VAR.
57 | h. Any voice/video implementations/environments/details or QoS requirements? | Yes there is voice and video in the UA environment this will be worked out as part of detailed design with the selected VAR.
58 | i. List of network segmentation domains? | Not fully defined. Refer to Attachment II 1.1 and Attachment III to guide your response specific to how the proposed architecture will support network segmentation. The expectation is that the selected VAR will work with UA to define the network segmentation domains.
59 | j. List of regulatory and/or compliance requirements? | At a minimum: PCI, HIPAA, FERPA, NIST 800.171, NIST 800.53, DFARS.
60 | k. List of public and/or private IaaS/PaaS/SaaS cloud providers? | Azure is the primary service, this can addressed further in the Conceptual Review.
61 | l. WAN and campus LAN transport providers, types, bandwidth? | This information will be provided to the awarded VAR,
62 | m. Aruba ClearPass integration with Microsoft Active Directory, RADIUS, LDAP, or other external identity sources? | This information will be provided to the awarded VAR,
63 | n. Any other University initiatives in progress that might impact or require integration with services provided by this RFP? | The possible influence of future campus initiatives are not part of this RFP.
64 | 26. Can the University provide information on the future environment within the next 5 years to include: | NA see response on Ref # 65 through 68.
65 | a. Potential list of new public and/or private IaaS/PaaS/SaaS cloud providers? | The question is too open ended for a useful response. We can discuss at the Conceptual Review.
66 | b. Any planned increase in the number of network segmentation domains? | The question is too open ended for a useful response. We can discuss at the Conceptual Review.
67 | c. Any planned upgrades and/or expansion of WAN and campus LAN transport providers, types, bandwidth? | The question is too open ended for a useful response. We can discuss at the Conceptual Review.
68 | d. Any planned University initiatives that might impact or require integration with services provided by this RFP? | The question is too open ended for a useful response. We can discuss at the Conceptual Review.
69 | Is there rack space to collocate hardware during migration? | Varies by location.
70 | Has power been validated if migrating with collocating hardware? | Varies by location, but generally there will not be sufficient UPS capacity for collocating hardware.
71 | Will the VAR be responsible for replacement patch cables, or will UofA supply all the required cables? | Awarded VAR will be responsible for replacing patch cables during implementation.
72 | Will integration of new hardware with existing network management be required during migration? | Yes, the level of integration will be developed during final design with awarded VAR.
73 | How many Access switch closets/locations are there across the campus? | There are 300 IDFs, 187 MDFs, in 188 buildings.
74 | Is VAR responsible for any new cabling or moving cable runs for AP installation? | No.
75 | Which MFA solution is utilized by the UofA? | Azure SAML & Cisco DUO.
76 | Will standard optics be required for all DC/Core connections, or can estimated distance between devices be provided for Twin ax cables? | Standard optics or AOCs.
77 | Is 50G Uplinks a hard requirement, or can 100G be substituted (or 40G)? | 50G minimum, 100G is acceptable.
78 | Will the customer extend the date for additional questions? | Per Table I - Schedule of Events, Milestone # 10, you have until May 24 to submit additional questions. Any questions submitted between now and the Conceptual Reviews will not be answered before the Conceptual Reviews.
79 | Only Azure is listed in Cloud firewalls section. Will UofA also utilize AWS or GCP? | Azure only at this time.
80 | Will VAR be responsible for the wireless coverage design? | Yes, working with UA during the final design process with the awarded VAR.
81 | Does UofA have current predictive or physical site surveys of current coverage available? | There is not a comprehensive physical site surveys.
82 | Will post install site surveys be required? | Yes.
83 | UPS is listed as in scope in Attachment I. Is that just for management/monitoring, or will new UPS' be required for this project? | This will be handled on a case-by-case basis.
84 | If new UPS' will be included, will a per closet/location power requirements (total wattage and hold time) be supplied? | This information will be provided to the awarded VAR.
85 | Is the Azure Sentinel an optional SIEM, or can other SIEMs be utilized/proposed? | Other SIEMs will be considered. See Attachment II, section 1.11.
86 | What is the use-case for distributed firewalls? | Securing workloads including but not limited to PCI, HIPAA, Regulated Research, Branch Offices, and securing non-upgradable production systems.
87 | Is there an existing NAC solution in place? | For wireless yes, for wired no.
88 | Is there an existing IPAM solution in place? | Yes, Infoblox.
89 | The network TAP & IDS identifies integration with Firewall systems, NAC, IPAM, and Microsoft Teams. What functionality are you looking for in these integrations? | Firewalls - creation of tag based address object groups for quarantining hosts NAC - forcing 'bad' actors onto a defined quarantine network IPAM - terminating active leases of 'bad' actors
90 | Will there be a requirement for centralized switching/Backhauling the traffic to a Data Center/DMZ for the Wireless APs? | This will be driven by the technology proposed by the VAR.
91 | How is power provided to the fiber-connected access points in the current architecture? Will there be enough real estate/power on the poles for a media converter? | Question # 1 Power within 30' of each fiber AP. Question # 2 Yes.
92 | How many of these devices will be performing 802.1X? | All APs.
93 | What ceiling mounts are currently used with the Aruba and Cisco wireless solutions? | T-Grid mounts, lollipop mounts, surface mounts, and NEMA rated enclosures for outdoor APs.
94 | Are there any external antennas currently used in indoor and outdoor venues? If so what are the current model types used for the outdoor antennas? | This information will be provided to the awarded VAR.
95 | What is the timeframe for replacing APs and Closet Switches? | Timeline has not yet been established.
96 | Will APs and closet switches be able to be replaced during business hours? | Location dependent.
97 | Will UofA provide drawings for all buildings? | Yes for 99% of buildings and would be provided to the awarded VAR.
98 | Will As built Drawings be required | Yes.
99 | Does UofA have current Rack Diagrams of the closets? | For some locations yes, and would be provided to the awarded VAR.
100 | Does UofA Have current physical and logical drawings? | High level logical diagrams exist and will be provided to the awarded VAR.
101 | Does UofA have fiber distances and types of fiber between closets and devices? | Largely SMF terminated in LC, some MMF and ST terminations still exist. Distance information is not available.
102 | Will 802.1x be required on both wired and wireless? | Yes.
103 | Will devices that do not support 802.1x be allowed on the network or will there need to be an alternate identification need? | There will need to be an alternate identification method for devices that cannot support 802.1x.
104 | Will AP replacement require a lift or ladder above 8 ft? | Some locations will require a lift (scissor and/or boom) and others will require a ladder greater than 8ft. Some locations may require the use scaffolding.
105 | Are outdoor APs powered by external sources (i.e., light poles)? | Where they can not fit into the 328 foot radius.
106 | How frequently does the UofA expect status meetings? | Will vary based project activity.
107 | What testing procedures will be needed to validate the functionality and performance of the new network? | Will be determined during contract negotiations.
108 | Is there a staging area for equipment that includes internet, storage, and room to setup? | Will be determined during contract negotiations.
109 | Can equipment be shipped offsite for staging and pre configuration and then shipped to UofA? | Will be determined during contract negotiations.
110 | Will VAR be responsible for asset tagging or logging equipment into the UofA system? | No, but VAR will be responsible for working with UA to properly track document equipment during implementation.
111 | Will there be a place for trash once the equipment has been unboxed? | Will be determined during contract negotiations.
112 | Will remote access be available for select personnel? Requirements if needed... | Will be determined during contract negotiations.
113 | Will background checks be required for installation personnel? If so, what is required (i.e. fingerprints, local check)? | Will be determined during contract negotiations.
114 | Is there required labeling or tagging of equipment? | Labeling will be required and is separate from tagging which is answered in Ref # 110 above.
115 | Integration with the SIEM and SOAR type functions are mentioned in the requirements. Can you clarify what SIEM (assuming MS Sentinel) work is required? Will the integrations and automations be handled by us or someone else? | VARs have an option of proposing to work with the existing SIEM or propose a new SIEM. The goal is to integrate the NGN architecture with security monitoring operations and leveraging the NGN in the security posture. This can be discussed further during the Conceptual Reviews.
116 | Can U of Ark provide Current network diagrams? | High level diagrams will be provided to the awarded VAR.
117 | Can U of Ark provide Blueprints of areas in scope that will also show current APs? | There is limited blueprints with AP locations, what is available will be provided to the awarded VAR.
118 | Is this a 1:1 replacement or an expansion? (15,000 APs) | Use the counts provided in Attachment IV, worksheet: Specifications_Quanties.
119 | Is there a more detailed SOW available that outlines expectations, KPI's, SLAs etc | No. Will be determined during contract negotiations.
120 | RFP mentions Software development. Can you clarify what is the expectation with this? | There is no mention of software development in the RFP. No, UA is not interested in software development.
121 | Is the 4 hour onsite response time a hard requirement or will the UA accept 6 hours? | For the purposes of the RFP the price should be based on 4 hours.
122 | Given the environments, would it be reasonable to assume a scissor lift will be required? | Scissor lift and/or boom truck will be required for some locations. Some locations may require the use scaffolding.
123 | Is it UA's intention to award the full scope of work to one Prime contractor or will the components be broken out among the down selected respondees | One prime contractor.
124 | Do subcontractors need to be OEM certified at award or can they be certified prior to project start | Will be determined during contract negotiations.
125 | Can UA provide information on the existing Fiber? | Largely SMF terminated in LC, some MMF and ST terminations still exist.
126 | What is the scale of network including the volumetric data and counts of the devices and appliances specifically related to data center network? | North-South approximately 8Gbps outbound and 4Gbps inbound. East-West is not readily available.
127 | How many buildings and data center locations are part of this scope of network modernization? | 2 datacenter locations. The campus is composed approximately 188 buildings serving a variety of purposes (instruction, research labs, student housing, facilities management, etc.). The final number of buildings in scope and timing for buildings to be implemented as part of network modernization will be defined by the University as part of this process.
128 | Does UoA expect the vendor to provide hardware installations and structured cabling? | Yes for hardware installation, structured cabling will be determined during contract negotiations.
129 | How many constituent groups exist and what is the size of these groups? | The main constituent groups include students, faculty, staff, researchers, guests, third-party vendors, and university partners among others. Defining a specific number and size for these various groups will be part of the design process with the selected VAR. The proposed architecture should be flexible enough to accommodate various levels of network segmentation.
130 | With regards to uplinks for APs • Is Minimum 1Gb uplinks for all APs? • Any APs require 2 x 1Gb or Multigigabit 2.5/5Gb uplinks? | 1Gbps is the minimum, respond to alternative uplinks supported by proposed APs in Attachment III, section 1. 2 ethernet cables are run to each AP (in new construction & renovations) for future proofing. Multigig is currently used in Ultra High-Density areas.
131 | Are Aruba APs managed by Aruba Central or On-premises controllers? 1) If On-premises controllers, what is the quantity of controllers in production today? 2) What is the Controller software code version? | The VARs are to propose what their preferred solution that will meet UA's needs.
132 | For the Cisco (Sports Technology Infrastructure) APs managed by On-premises controllers? o What is the quantity of controllers in production today? o Controller software code version? | The VARs are to propose what their preferred solution that will meet UA's needs.
133 | Are there any requirements to have wireless controllers on-premises? | The VARs are to propose what their preferred solution that will meet UA's needs.
134 | Is UoA open to using Aruba AOS-10, Aruba Central for management and gateways? | The VARs are to propose what their preferred solution that will meet UA's needs.
135 | Has a wireless site survey been performed in the past 1-2 years? If so, can you share the results? | A campus wide site survey has not been performed; surveys are done as part of construction/renovation work and troubleshooting.
136 | Which wireless site survey tool is currently being used? (Example: Ekahau, other) | Ekahau.
137 | Are there any current or common wireless issues the University is looking to resolve from the new wireless architecture? (Example: Coverage areas, Authentication issues, Roaming issues, etc.) | In the commotizied areas, sharing of 'communal' wireless devices like TVs, Rokus, Apple TVs, Sonos Speakers, etc. among students in residence hall suites will be needed.
138 | Are there specific features or capabilities the University is looking to add to the new wireless environment? | Support for 6Ghz, WPA3, and better location tracking of users and devices.
139 | What is the current quantity of wireless users on the environment today? What is the expected growth over the next 5 years? | Roughly 35K concurrent connections at peak and is expected to grow. As of Fall 2023, student enrollment totaled approximately 32,140. The faculty count totaled 1,490 and the staff count totaled 3,350
140 | Can you provide AutoCAD/PDF building/floor diagrams of the entire campus? | Yes for 99% of buildings and would be provided to the awarded VAR.
141 | Can you provide an outdoor wireless coverage map of the entire campus? | No. UITS would be able to provide the awarded VAR with outdoor AP locations.