## Cover
Respondent Name:
Mailing Address:
City, State, Zip:
Telephone:
Email:
Request for Proposal (RFP)
RFP No. 05212024 (REBID)
Containerized Gases
RFP RELEASE DATE: June 12, 2024
PROPOSAL DUE DATE: June 26, 2024
PROPOSAL DUE TIME: 2:30 PM CST
SUBMIT ALL PROPOSALS TO:
            By FedEx, UPS or another private carrier to Physical Location:
      University of Arkansas – Business Services
      UPTW Room 101
      1001 East Sain Street
      Fayetteville, AR 72703

## Requirements
Is your organization willing and able to adhere to all Containerized Gas requirements? If not, please explain.
UA Requirement | Answer (Select from dropdown) | Notes:
1. Vendor is responsible for supplying all bulk, micro-bulk and single gas cylinders listed in the scope of work table to include specialty gases (e.g., semiconductor hazardous production materials).
2. Vendor is responsible for delivering gases to campus end-users on as frequent a basis as daily with a 2-hour lead time.
3. Provide as needed safety devices (e.g., restricted flow orifices) to ensure limited release of highly toxic or pyrophoric gases on valve failure.
4. Vendor must be certified in the following: ISO 9001, ISO 14001, ISO45001/OHSAS 18001, CGA (Compressed Gas Association) Certification, DOT (Department of Transportation) Certification.
5. Know the hazardous characteristics of all supplied gases and perform safety and compatibility assessments on delivery (e.g., ensure securement of cylinders and any incompatibility issues are addressed before departing).
6. Maintain a campus inventory of all supplied gases and cylinder certification dates and ensure sustained availability of needed gases. Vendor must provide the University Office of Environmental Health and Safety with access to the inventory.
7. Inform the University Office of Environmental Health and Safety when a purchase is made. The vendor is responsible for informing the Office of Environmental Health and Safety on any gas cylinders that are not replaced or turned in after two years and two months before a cylinder certification expires.
8. Perform cylinder exchanges and hook-ups as needed.
9. Conduct the appropriate, agreed-upon risk assessment to determine the safety equipment required to safely deliver, complete cylinder exchanges and hookups, and respond to gas emergencies as needed.
10. Know compressed gas use processes and what purge procedures are appropriate for cylinder exchanges and hook-ups.
11. Possess knowledge and ability to address any issues that arise during the cylinder changeout process (e.g., leaky cylinder or faulty regulators).
12. Vendor must provide a 24-hour emergency response service, as agreed upon by the University and Vendor team.
13. Vendor must maintain equipment required to respond to emergencies appropriately.
14. Know emergency response procedures for compressed gases and have the ability to respond appropriately to emergencies.
15. Facilitate gas incident emergency response training with University personnel.
16. Know gas delivery systems and components (e.g., regulators, cabinets, conveyance piping, storage) and provide design and install support as needed.
17. Conduct gas cylinder and content disposal for all compressed gases supplied.
18. Vendor is responsible for performing routine maintenance and repair on all rented equipment to ensure it is in compliance with all safety and certification requirements.
19. Vendor is responsible for performing annual inspections of bulk and micro-bulk tanks to ensure they are in good working condition. Vendor must share copies of the inspection with the University Office of Environmental Health and Safety.
20. Vendor is responsible for complying with all University and OSHA safety regulations.
21. Vendor must retrieve used cylinders within 48 hours following University request at no additional cost to the University.

## Sections A to D
A. Organization and Ownership | Answer:
1. State your organization's legal name, address, and state of incorporation. If your organization is a subsidiary of a parent firm provide the same information for the parent company.
2. Please state the name, title, phone number, and email address of your organization’s primary contact for this RFP.
3. Please state the name, title, phone number, and email address of your organization’s secondary contact for this RFP.
4. Provide a description of your organization's core activities.
5. Provide a brief statement of qualifications that includes your organization’s size and footprint in AR.
6. How long has your organization been operational?
7. What are the key differentiators that provide your company with a strategic advantage in the marketplace relative to your competitors?
8. Please include any special accreditations including minority- and women-owned business enterprises (MWBEs) or other.
B. Financial Capability | Answer:
1. Has your organization filed for bankruptcy within the previous seven (7) years?
2. Include audited Statement of Cash Flow, Balance Sheet, and Income Statement from the prior two (2) years. Submit statements and reports from the corporate entity making the Proposal rather than its parent corporation.
C. Experience and Qualifications | Answer:
1. Provide a list of three references for whom similar services were provided, preferably of public institutions of higher education with the same Account Management team that would service the University of Arkansas, including amount of annual sales.
2. Provide a list of institutions of higher education with which the firm has a signed term contract.
3. Provide a list of three references where the contract was cancelled, terminated, etc.
4. Provide your historical relationship with UA (if any) and list up to 3 examples of projects that you have provided to UA or its associated departments.
5. Describe your organization’s partner network and how you would leverage it to complete the scope of work described herein?
6. List any services that would need to be outsourced to a 3rd party to fulfill the scope of work.
D. Technology | Answer:
1. Does your solution integrate with Workday? Please explain.
a. Please describe your organization’s ability to integrate with Workday for billing purposes.
2. How much experience does your organization have working with Workday? Please quantify.
3. Please describe any technology your organization utilizes to support Containerized Gas operations.

## Scope of Work Questionnaire
E. Scope of Services | Answer:
1. Please explain your organization’s approach to account management. Describe the Service Team that would be responsible for working with the University of Arkansas. Please include resumes and any relevant information.
2. Describe the process by which your organization receives and fulfills orders.
3. Describe your organization's approach to delivery and handling of containerized gases.
4. How are emergency deliveries handled?
5. Should shortages occur, please describe your backup program, including relationships with other manufacturers or vendors to obtain products.
6. Provide details surrounding your quality assurance program.
7. Please describe your emergency response capabilities, approach, and timeframe to respond to a leaking pyrophoric gas cylinder.
8. Describe your ability to provide specialty gases to the University (e.g., semiconductor hazardous production materials).
9. Please describe your ability to provide tanks and fulfill bulk and microbulk orders of Nitrogen to the University.
10. Please describe your organization’s ability to provide breathing air as a service, accessible to any location on campus.
11. Describe your proposed approach to inventory control.
12. Please detail your approach to the removal and disposal of cylinders beyond the certification expiration date.
13. Please describe your approach to reducing the cost of hazardous cylinder changeouts.
14. Please describe your proposed process for managing deployed cylinders to ensure they do not exceed associated expiration dates.
15. Please describe the process by which your organization performs connections and disconnections of hazardous/pyrophoric gas cylinders.
a. Detail the safety precautions/measures taken throughout the cylinder exchange and hook-up process.
16. Please detail your PPE level.
a. Does your organization utilize a Cylinder Recovery Vessel (CRV)?
17. Please detail your organization’s ability to support the design of gas processes, gas safety systems, etc.
18. Please describe your organization’s approach to performing a risk assessment to determine the safety equipment required to safely deliver, complete cylinder exchanges and hookups, and respond to gas emergencies as needed.
19. Please describe any safety training offerings.
a. Please describe your organization’s approach to facilitating gas incident emergency response training
i. At what frequency do you typically provide gas incident emergency response training?
ii. Which University personnel would you involve in the training?
iii. Please detail any costs associated with facilitating gas incident emergency response training for University personnel.
20. Please detail your organization’s approach to performing required maintenance.
a. Detail any preventative maintenance offerings.
21. Describe the service level agreements/key performance indicators that you typically work to achieve.
a. What is your average response time?
b. What is the average time required to place orders?
c. Once gas cylinders are ordered, what is the average time until delivery?
d. What is your average emergency response time?
i. Where is your emergency response team located, and where will they be responding from?
ii. Please detail the average time required to mobilize and average time required to arrive on site.
22. Describe an overview of the value-added services that you can offer to UA.
23. Please describe the actions your company takes to remain compliant with OSHA regulations.

## Sections F to H
F. Implementation | Answer:
1. Describe your distinct implementation and transition plans for UA, including program/project structure, timeline, and plan to minimize disruption of services.
G. Pricing and Billing | Answer:
1. Please refer to the Official Bid Price Excel Workbook attachment to describe the pricing associated with the Containerized gas solution.
2. Please outline any services associated with the cylinder rental fee.
3. Does your organization offer any early payment discount (e.g., 2% 10 Net 30)?
4. Describe the billing process to UA for services rendered.
5. Describe any benefits offered for longer initial contracted terms.
a. Please describe any benefits offered / impacts to pricing associated with a 5-year term commitment.
6. Please describe any rebates or signing bonuses offered by your organization.
7. Please describe any transition assistance offered and strategies to standardize the account over time. (Ex. Early lease buyout)
H. Additional Information (Optional) | Answer:
1. Identify any additional pertinent information that was not considered in the RFP.

## Pricing
A. Bulk & Micro-bulk
Description | Unit | Incumbent Supplier | Incumbent Supplier Cylinder Sizing | Qty | Price ($/CCF) | Extended Price | Notes
Liquid Nitrogen supply to University-Owned bulk tank | 450,000 ft.3 (Monthly Consumption) | Matheson Tri-Gas |  | 2
Bulk Nitrogen Tank | 450,000 ft.3 (Monthly Consumption) | Air Products & Chemicals |  | 2
Monthly Vessel Rental Fee |  |  |  | 2
Micro-bulk Nitrogen Tank | 450 Liter, 11,100 ft.3 | Airgas |  | 1
Monthly Vessel Rental Fee |  |  |  | 1
B. Industrial Grade
Description | Unit | Incumbent Supplier | Incumbent Supplier Cylinder Sizing | Est. Annual Qty | Price ($/cyl) | Extended Price | Notes
Acetylene | 145 ft3 | Airgas | Size 4 Acetylene Cylinder, CGA 510 | 7
Acetylene | 10 ft3 | Airgas | Size MC Acetylene Cylinder, CGA 200 | 1
Acetylene | 397 ft3 | Airgas | Size 5 Acetylene Cylinder, CGA 510 | 2
Liquid Argon | 160 Liter Liquid Cylinder, 230 psi | Airgas | 160 Liter Liquid Cylinder, 230 psi | 41
Liquid Argon | 180 Liter Liquid Cylinder, 230 psi | Airgas | 180 Liter Liquid Cylinder, 230 psi | 2
Argon | 21.7 L Cylinder, 2265 psi | Airgas | Size 125 High Pressure Steel Cylinder, CGA 580 | 8
Argon | 43 L Cylinder, 2015 psi | Airgas | Size 200 High Pressure Steel Cylinder, CGA 580 | 3
Argon | 49 L Cylinder, 2400 psi | Airgas | Size 300 High Pressure Steel Cylinder, CGA 580 | 56
Carbon Dioxide | 43 L Cylinder, 2015 psi | Airgas | Size 200 High Pressure Steel Cylinder, CGA 320 Washer | 190
Carbon Dioxide | 49 L Cylinder, 2400 psi | Airgas | Size 300 High Pressure Steel Cylinder, CGA 320 Washer | 1
Carbon Dioxide | 50 Pound High Pressure Steel Cylinder | Airgas | 50 Pound High Pressure Steel Cylinder, CGA 320 Washer | 22
Helium | 43 L Cylinder, 2015 psi | Airgas | Size 200 High Pressure Steel Cylinder, CGA 580 | 5
Hydrogen | 49 L Cylinder, 2400 psi | Airgas | Size 300 High Pressure Steel Cylinder, CGA 350 | 4
Hydrogen | 43 L Cylinder, 2015 psi | Airgas | Size 200 High Pressure Steel Cylinder, CGA 350 | 3
10% Carbon Dioxide, Balance Argon | 49 L Cylinder, 2400 psi | Airgas | Size 300 High Pressure Steel Cylinder, CGA 580 | 1
25% Carbon Dioxide, Balance Argon | 21.7 L Cylinder, 2265 psi | Airgas | Size 125 High Pressure Steel Cylinder, CGA 580 | 5
25% Carbon Dioxide, Balance Argon | 3.6 L Cylinder, 2015 psi | Airgas | Size 20 High Pressure Steel Cylinder, CGA 580 | 1
25% Carbon Dioxide, Balance Argon | 49 L Cylinder, 2400 psi | Airgas | Size 300 High Pressure Steel Cylinder, CGA 580 | 2
25% Carbon Dioxide, Balance Argon | 8 L Cylinder, 2015 psi | Airgas | Size 40 High Pressure Steel Cylinder (Industrial use Only), CGA 580 | 1
3% Hydrogen, Balance Argon | 49 L Cylinder, 2400 psi | Airgas | Size 300 High Pressure Steel Cylinder, CGA 350 | 1
5% Hydrogen, Balance Argon | 49 L Cylinder, 2400 psi | Airgas | Size 300 High Pressure Steel Cylinder, CGA 350 | 4
5% Hydrogen, Balance Nitrogen | 49 L Cylinder, 2400 psi | Airgas | Size 300 High Pressure Steel Cylinder, CGA 350 | 15
Liquid Nitrogen | 160 Liter Liquid Cylinder, 22 psi | Airgas | 160 Liter Liquid Cylinder, 22 psi | 2
Liquid Nitrogen | 160 Liter Liquid Cylinder, 230 psi | Airgas | 160 Liter Liquid Cylinder, 230 psi | 4
Liquid Nitrogen | 180 Liter Liquid Cylinder, 22 psi | Airgas | 180 Liter Liquid Cylinder, 22 psi | 19
Liquid Nitrogen | 180 Liter Liquid Cylinder, 230 psi | Airgas | 180 Liter Liquid Cylinder, 230 psi | 48
Liquid Nitrogen | 180 Liter Liquid Cylinder, 50 psi | Airgas | 180 Liter Liquid Cylinder, 50 psi | 31
Liquid Nitrogen | 80 Liter Liquid Cylinder, 350 psi | Airgas | 80 Liter Liquid Cylinder, 350 psi | 40
Nitrogen | 43 L Cylinder, 2015 psi | Airgas | Size 200 High Pressure Steel Cylinder, CGA 580 | 50
Nitrogen | 49 L Cylinder, 2400 psi | Airgas | Size 300 High Pressure Steel Cylinder, CGA 350 | 20
Nitrogen | 11 L Cylinder, 2015 psi | Airgas | Size 60 High Pressure Steel Cylinder, CGA 580 | 1
Oxygen | 3.6 L Cylinder, 2015 psi | Airgas | Size 20 High Pressure Steel, CGA 540 | 1
Oxygen | 43 L Cylinder, 2015 psi | Airgas | Size 200 High Pressure Steel, CGA 540 | 25
Oxygen | 49 L Cylinder, 2400 psi | Airgas | Size 300 High Pressure Steel, CGA 540 | 11
C. Ultra High Purity
Description | Unit | Incumbent Supplier | Incumbent Supplier Cylinder Sizing | Est. Annual Qty | Price ($/cyl) | Extended Price | Notes
Argon | 15.4 L Cylinder, 2015 psi | Airgas | Size 80 High Pressure Cylinder, CGA 580 | 1
Argon | 49 L Cylinder, 2400 psi | Airgas | Size 300 High Pressure Cylinder, CGA 580 | 162
Helium | 49 L Cylinder, 2400 psi | Airgas | Size 300 High Pressure Steel Cylinder, CGA 580 | 84
Hydrogen | 49 L Cylinder, 2400 psi | Airgas | Size 300 High Pressure Steel Cylinder, CGA 350 | 7
Neon | Size 6 High Pressure Aluminum Cylinder | Airgas | Size 6A 25 Liters of Product | 1
Nitrogen | 49 L Cylinder, 2400 psi | Airgas | Size 300 High Pressure Steel Cylinder, CGA 580 | 80
Oxygen | 49 L Cylinder, 2400 psi | Airgas | Size 300 High Pressure Steel Cylinder, CGA 540 | 21
Zero Air | 49 L Cylinder, 2400 psi | Airgas | Size 300 High Pressure Steel Cylinder, CGA 590 | 20
D. Food Grade
Description | Unit | Incumbent Supplier | Incumbent Supplier Cylinder Sizing | Est. Annual Qty | Price ($/cyl) | Extended Price | Notes
Carbon Dioxide | 20 Pound High Pressure Aluminum Cylinder | Airgas | 20 Pound High Pressure Aluminum Cylinder, CGA 320 Washer | 15
Carbon Dioxide | 20 Pound High Pressure Steel Cylinder | Airgas | 20 Pound High Pressure Steel Cylinder, CGA 320 With Syphon Tube | 264
Carbon Dioxide | 50 Pound High Pressure Aluminum Cylinder | Airgas | 50 Pound High Pressure Aluminum Cylinder, CGA 320 Washer | 49
Carbon Dioxide | 5 Pound High Pressure Aluminum Cylinder | Airgas | 5 Pound High Pressure Aluminum Cylinder, CGA 320 Washer | 25
Nitrogen | 43 L Cylinder, 2015 psi | Airgas | Size 200 High Pressure Steel Cylinder, CGA 580 | 2
Nitrogen | 49 L Cylinder, 2400 psi | Airgas | Size 300 High Pressure Steel Cylinder, CGA 580 | 2
E. Semi-Conductor Grade
Description | Unit | Incumbent Supplier | Incumbent Supplier Cylinder Sizing | Est. Annual Qty | Price ($/cyl) | Extended Price | Notes
Silane | 92 ft3 , 175 psig |  |  | 3
Phosphine | 35 ft3 , 470 psig |  |  | 12 |  |  | Hydrogen diluted Dopant
Diborane | 35 ft3, 25 psig |  |  | 12 |  |  | Hydrogen diluted Dopant
Hydrogen | 300 ft3, 2400 psig
Methane | 50 ft3, 2000 psig
Germane | 66 ft3, 180 psig |  |  | 2
10% Germane in H2 | 66 ft3, 180 psig |  |  | 91
Disilane | 25 ft3, 33 psig
Digermane | 1.69 ft3, 1800 psig
Dichlorosilane | 38 ft3, 5 psig |  |  | 19 ft.3 / year
Oxygen | 300 ft3, 2400 psig
Argon | 900 ft3, 2400 psig |  |  | 13
Nitrogen | 300 ft3, 2400 psig |  |  | 5
Helium | 36 ft3 |  |  | 1
Hydrogen Chloride | 274 ft3, 611 psig |  |  | 91
Chlorine | 218 ft3, 85 psig
F. Medical Grade
Description | Unit | Incumbent Supplier | Incumbent Supplier Cylinder Sizing | Est. Annual Qty | Price ($/cyl) | Extended Price | Notes
Carbon Dioxide | 50 Pound High Pressure Steel Cylinder | Airgas | 50 Pound High Pressure Steel Cylinder, CGA 320 Washer | 37
Liquid Nitrogen | 160 Liter Liquid Cylinder, 230 psig | Airgas | 160 Liter Liquid Cylinder | 68
Liquid Nitrogen | 180 Liter Liquid Cylinder, 230 psig | Airgas | 180 Liter Liquid Cylinder | 6
Oxygen | 43 L Cylinder, 2015 psi | Airgas | Size 200 High Pressure Steel Cylinder, CGA 540 | 20
Oxygen | 24 ft.3, 2015 psig | Airgas | Size E High Pressure Aluminum Medical Cylinder, CGA 870 Yoke Fitting | 2
Oxygen | 24 ft.3, 2015 psig | Airgas | Size E High Pressure Aluminum Medical Cylinder With Walk-O2-Bout® Regulator, VIPR | 1
5% Carbon Dioxide, Balance Oxygen | 43 L Cylinder, 1900 psi | Airgas | Size 200 High Pressure Steel Medical (1900 PSI), CGA 280 | 4
G. Research Grade
Description | Unit | Incumbent Supplier | Incumbent Supplier Cylinder Sizing | Est. Annual Qty | Price ($/cyl) | Extended Price | Notes
Argon | 49 L Cylinder, 2400 psi | Airgas | Size 300 High Pressure Steel Cylinder, CGA 580 | 13
Ethane | 7.4 L Cylinder, 2015 psi | Airgas | Size 35 High Pressure Steel Cylinder, CGA 350 | 1
Krypton | Size 6 High Pressure Aluminum Cylinder | Airgas | Size 6 High Pressure Aluminum Cylinder, CGA 580 | 1
Nitrogen | 49 L Cylinder, 2400 psi | Airgas | Size 300 High Pressure Steel Cylinder, CGA 580 | 8
Oxygen | 49 L Cylinder, 2400 psi | Airgas | Size 300 High Pressure Steel Cylinder, CGA 540 | 3
Xenon | Size 6 High Pressure Aluminum Cylinder | Airgas | Size 6 High Pressure Aluminum Cylinder, CGA 580 | 1
H. Certified Reference Material
Description | Unit | Incumbent Supplier | Incumbent Supplier Cylinder Sizing | Est. Annual Qty | Price ($/cyl) | Extended Price | Notes
0.5% Carbon Dioxide, Balance Nitrogen | 49 L, 2400 psi | Airgas |  | 1
1% Oxygen, 5% Carbon Dioxide, Balance Nitrogen | 23.4 L, 2015 psi | Airgas |  | 1
10% Ammonia, Balance Helium | 43 L, 2015 psi | Airgas |  | 1
10% Oxygen, Balance Carbon Dioxide | 43 L, 2015 psi | Airgas |  | 1
100 PPM Ammonia, Balance Air | 15.8 L, 2216 psi | Airgas |  | 3
1000 PPM Ammonia, Balance Air | Size 80 High Pressure Aluminum Cylinder | Airgas | Size 80 High Pressure Aluminum Cylinder | 1
1000 PPM Ammonia, Balance Air | 15.8 L, 2216 psi | Airgas |  | 1
1500 PPM Carbon Dioxide, Balance Nitrogen | 58L Disposable Aluminum Cylinder | Airgas | 58L Disposable Aluminum Cylinder | 1
20 PPM Methane, Balance Nitrogen | 58L Disposable Aluminum Cylinder | Airgas | 58L Disposable Aluminum Cylinder | 1
3% Hydrogen, Balance Argon | 49 L, 2400 psi | Airgas |  | 2
4% Hydrogen Sulfide, Argon Balance | Size 15 High Pressure Aluminum Cylinder | Airgas | Size 15 High Pressure Aluminum Cylinder | 3
4% Hydrogen, Balance Argon | 49 L, 2400 psi | Airgas |  | 2
5% Hydrogen, Balance Nitrogen | 43 L, 2015 psi | Airgas | Size 200 High Pressure Steel Cylinder, CGA 350 | 2
500 PPM Ammonia, balance Air | Size 15 High Pressure Aluminum Cylinder | Airgas | Size 15 High Pressure Aluminum Cylinder | 1
I. Breathing Grade
Description | Unit | Incumbent Supplier | Incumbent Supplier Cylinder Sizing | Est. Annual Qty | Price ($/cyl) | Extended Price | Notes
Air | 43 L Cylinder, 2015 psi | Airgas | Size 200 High Pressure Steel Cylinder, CGA 346 | 14
Air | 49 L Cylinder, 2400 psi | Airgas | Size 300 High Pressure Steel Cylinder, CGA 346 | 5
J. Bone Dry Grade
Description | Unit | Incumbent Supplier | Incumbent Supplier Cylinder Sizing | Est. Annual Qty | Price ($/cyl) | Extended Price | Notes
Carbon Dioxide | 49 L Cylinder, 2400 psi | Airgas | Size 300 High Pressure Steel Cylinder, CGA 320 Washer | 5
K. Pure Clean Grade
Description | Unit | Incumbent Supplier | Incumbent Supplier Cylinder Sizing | Est. Annual Qty | Price ($/cyl) | Extended Price | Notes
Carbon Dioxide | 43 L Cylinder, 2015 psi | Airgas | Size 200 High Pressure Steel Cylinder, CGA 320 Washer | 2
L. Aviator Breathing Grade
Description | Unit | Incumbent Supplier | Incumbent Supplier Cylinder Sizing | Est. Annual Qty | Price ($/cyl) | Extended Price | Notes
Oxygen | 49 L Cylinder, 2400 psi | Airgas | Size 300 High Pressure Steel Cylinder, CGA 540 | 1
M. Chemically Pure Grade
Description | Unit | Incumbent Supplier | Incumbent Supplier Cylinder Sizing | Est. Annual Qty | Price ($/cyl) | Extended Price | Notes
Methane | 49 L Cylinder, 2400 psi | Airgas | Size 300 High Pressure Steel Cylinder, CGA 350 | 1
N. Other Gases
Description | Unit | Incumbent Supplier | Incumbent Supplier Cylinder Sizing | Est. Annual Qty | Price ($/cyl) | Extended Price | Notes
Flux Shielding Gas Mixture 25% Carbon Dioxide, Balance Argon | 49 L, 2400 psi |  |  | 1 |  |  | Valve Type is TBD
Chromatographic Helium | 49 L, 2400 psi |  |  | 1 |  |  | Valve Type is TBD
Sulfur Dioxide Anhydrous | 43 L, 2015 psi |  |  | 1 |  |  | Valve Type is TBD
5% Oxygen, 10% Carbon Dioxide, 85% (Certified Reference Material) | 224 ft.3 |  |  | 1 |  |  | Valve Type is TBD
1,1,1,2-Tetrafluoroethane (Certified Reference Material) | 2 lbs. |  |  | 1 |  |  | Valve Type is TBD
1,1,1,3,3,3-Hexafluoropropane (Industrial Grade) | 2lbs. |  |  | 1 |  |  | Valve Type is TBD
20% Carbon Dioxide, Balance Argon (Industrial Grade) | 300 ft.3 |  |  | 1 |  |  | Valve Type is TBD
20% Carbon Dioxide, Balance Argon (Certified Reference Material) | 300 ft.3 |  |  | 1 |  |  | Valve Type is TBD
20% Carbon Dioxide, Balance Hydrogen (Certified Reference Material) | 200 ft.3 |  |  | 1 |  |  | Valve Type is TBD
20% Carbon Dioxide, Balance Nitrogen (Food Grade) | 300 ft.3 |  |  | 2 |  |  | Valve Type is TBD
20% Carbon Dioxide, Balance Nitrogen (Certified Reference Material) | 300 ft.3 |  |  | 2 |  |  | Valve Type is TBD
5% Carbon dioxide, 35% Nitrogen, 60% Oxygen (Certified Reference Material) | 219.6 ft.3 |  |  | 1 |  |  | Valve Type is TBD
5% Carbon dioxide, 35% Nitrogen, 60% Oxygen (Certified Reference Material) | 20 lbs. |  |  | 1 |  |  | Valve Type is TBD
5% Hydrogen, 10% Carbon Dioxide, 85% Nitrogen (Certified Reference Material) | 400 ft.3 |  |  | 4 |  |  | Valve Type is TBD
5% Hydrogen, 10% Carbon Dioxide, 85% Nitrogen (Certified Reference Material) | 200 ft.3 |  |  | 1 |  |  | Valve Type is TBD
Air (Medical Grade) | 300 ft.3 |  |  | 4 |  |  | Valve Type is TBD
Air (Ultra Zero Grade) | 300 ft.3 |  |  | 4 |  |  | Valve Type is TBD
Ammonia | TBD |  |  | TBD |  |  | Valve Type is TBD
Ammonia (Research Grade) | 50 ft.3 |  |  | 1 |  |  | Valve Type is TBD
Ammonia (Research Grade) | 200 ft.3 |  |  | 1 |  |  | Valve Type is TBD
Ammonia, Anhydrous | 44 L |  |  | 1 |  |  | Valve Type is TBD
Argon | TBD |  |  | TBD |  |  | Valve Type is TBD
Argon (Industrial Grade) | 50 ft.3 |  |  | 1 |  |  | Valve Type is TBD
Argon (Ultra High Purity) | 50 ft.3 |  |  | 1 |  |  | Valve Type is TBD
Argon (Industrial Grade) | 300 ft.3 |  |  | 6 |  |  | Valve Type is TBD
Argon (Ultra High Purity) | 300 ft.3 |  |  | 6 |  |  | Valve Type is TBD
Argon (1ppm-76.5%) in Oxygen (23.5-99%) (Industrial Grade) | 200 ft.3 |  |  | 1 |  |  | Valve Type is TBD
Boron Trichloride (Ultra High Purity) | 100 ml. |  |  | 1 |  |  | Valve Type is TBD
Carbon Dioxide (0.0001% to 50%) in Nitrogen | 3.6 ft.3 |  |  | 3 |  |  | Valve Type is TBD
Carbon Dioxide (0.0001% to 50%) in Nitrogen | 145 ft.3 |  |  | 2 |  |  | Valve Type is TBD
Carbon Dioxide 50%, Carbon Monoxide 50% (Certified Reference Material ) | 50 lbs. |  |  | 2 |  |  | Valve Type is TBD
Carbon Dioxide (Medical Grade) | 20 lbs. |  |  | 3 |  |  | Valve Type is TBD
Carbon Dioxide (Food Grade) | 50 lbs. |  |  | 2 |  |  | Valve Type is TBD
Carbon Dioxide (Industrial Grade) | 150 ft.3 |  |  | 6 |  |  | Valve Type is TBD
Carbon Dioxide (Research Grade) | 200 ft.3 |  |  | 3 |  |  | Valve Type is TBD
Carbon Dioxide (Research Grade) | 300 ft.3 |  |  | 4 |  |  | Valve Type is TBD
Carbon Monoxide (Ultra High Purity) | 200 ft.3 |  |  | 1 |  |  | Valve Type is TBD
Carbon Monoxide (Research Grade) | 200 ft.3 |  |  | 1 |  |  | Valve Type is TBD
Carbon Monoxide (Ultra High Purity) | 300 ft.3 |  |  | 1 |  |  | Valve Type is TBD
Carbon Monoxide (Research Grade) | 300 ft.3 |  |  | 1 |  |  | Valve Type is TBD
Carbon Tetrafluoride (Semi-Conductor Grade) | 15 lbs. |  |  | 1 |  |  | Valve Type is TBD
Carbon Tetrafluoride (Ultra High Purity) | 15 lbs. |  |  | 1 |  |  | Valve Type is TBD
Chlorine | TBD |  |  | TBD |  |  | Valve Type is TBD
5% Diborane in Nitrogen | TBD |  |  | TBD |  |  | Valve Type is TBD
4% Diborane in Hydrogen | TBD |  |  | TBD |  |  | Valve Type is TBD
Dimethylamine (Anhydrous) | 100 ml. |  |  | 1 |  |  | Valve Type is TBD
Ethylamine (Pure) | 500 ml. |  |  | 2 |  |  | Valve Type is TBD
Ethylene (Research Grade) | 40 ft.3 |  |  | 2 |  |  | Valve Type is TBD
Ethylene Oxide (Pure) | 0.16 Fl Oz. |  |  | 1 |  |  | Valve Type is TBD
Formaldehyde (Laboratory Grade) | 5 L |  |  | 1 |  |  | Valve Type is TBD
Helium | TBD |  |  | TBD |  |  | Valve Type is TBD
Helium (Ultra High Purity) | 2.3 ft.3 |  |  | 1 |  |  | Valve Type is TBD
Helium (Industrial Grade) | 300 ft.3 |  |  | 8 |  |  | Valve Type is TBD
Hexafluoroethane | TBD |  |  | TBD |  |  | Valve Type is TBD
Hydrogen | TBD |  |  | TBD |  |  | Valve Type is TBD
Hydrogen (Ultra High Purity) | 3.6 ft.3 |  |  | 1 |  |  | Valve Type is TBD
Hydrogen (Research Grade) | 300 ft.3 |  |  | 2 |  |  | Valve Type is TBD
Hydrogen Bromide (High Purity) | 940 ml |  |  | 1 |  |  | Valve Type is TBD
Krypton (Research Grade) | 2.5 L |  |  | 1 |  |  | Valve Type is TBD
Neon (Research Grade) | 2.5 L |  |  | 2 |  |  | Valve Type is TBD
Nitrogen | TBD |  |  | TBD |  |  | Valve Type is TBD
Nitrogen (Ultra High Purity) | 200 ft.3 |  |  | 1 |  |  | Valve Type is TBD
Nitrogen (Medical NF Grade) | 300 ft.3 |  |  | 3 |  |  | Valve Type is TBD
Nitrogen (Industrial Grade) | 460 ft.3 |  |  | 2 |  |  | Valve Type is TBD
Nitrogen (2.970 Mole %), balance Oxygen (Certified Reference Material) | 230 ft.3 |  |  | 1 |  |  | Valve Type is TBD
Nitric Oxide | TBD |  |  | TBD |  |  | Valve Type is TBD
Nitrogen Dioxide 2 ppm Calibration Gas, Balance Air | 34 L |  |  | 1 |  |  | Valve Type is TBD
Nitrous Oxide | TBD |  |  | TBD |  |  | Valve Type is TBD
Nitrous Oxide (Medical Grade) | 200 ft.3 |  |  | 1 |  |  | Valve Type is TBD
Oxygen | TBD |  |  | TBD |  |  | Valve Type is TBD
Oxygen (Industrial Grade) | 60 lb. |  |  | 1 |  |  | Valve Type is TBD
Oxygen (Industrial Grade) | 150 ft.3 |  |  | 1 |  |  | Valve Type is TBD
Oxygen (Ultra High Purity) | 200 ft.3 |  |  | 3 |  |  | Valve Type is TBD
Oxygen (Medical Grade) | 300 ft.3 |  |  | 4 |  |  | Valve Type is TBD
Oxygen, 1ppm to 18.99% in Nitrogen | 3.6 ft.3 |  |  | 1 |  |  | Valve Type is TBD
15% Phosphine in Silane | TBD |  |  | TBD |  |  | Valve Type is TBD
5% Phosphine in Nitrogen | TBD |  |  | TBD |  |  | Valve Type is TBD
Silane | TBD |  |  | TBD |  |  | Valve Type is TBD
Sulfur Hexafluoride | TBD |  |  | TBD |  |  | Valve Type is TBD
Trifluoromethyl Iodide (Industrial grade) | 25 g. |  |  | 1 |  |  | Valve Type is TBD

## Ancillary Pricing
O. Other Fees (If Applicable)
Description | Price | Notes
Cylinder Rental Fee
Fee to retrieve expired cylinders
Fee to retrieve leaking cylinder
Fee should a cylinder be returned with 80%+ of its original weight or pressure
Cylinder Exchange / Hook-up Fee
Cylinder located in an outside gas bunker
Cylinder located in an outside gas cabinet
Cylinder located in an inside gas cabinet
Cylinder Exchange / Hook-up Fee for hazardous gas
Cylinder located in an outside gas bunker
Cylinder located in an outside gas cabinet
Cylinder located in an inside gas cabinet
Delivery Fee
Cylinder
Microbulk
Bulk
Emergency (Same-day) Delivery Fee
Cylinder
Microbulk
Bulk
Annual Inspection Fee
Microbulk
Bulk
Installation Cost of Telemetry Equipment
Microbulk
Bulk
Monthly Telemetry Fee
Microbulk
Bulk
HazMat Fee
Maintenance Charge (Hourly)
Other Charges (Please Specify)
Other Charges (Please Specify)
Other Charges (Please Specify)
Other Charges (Please Specify)
Other Charges (Please Specify)

## Appendix>
Separator - This tab was intentionally left blank.

## Utilization by Building
Building | Gas | Est. QTY (Cylinders)
Abernathy Agri Sci & Tech Educ | Industrial Grade Acetylene | 3
Abernathy Agri Sci & Tech Educ | Industrial Grade Oxygen | 3
Agricultural, Food, And Life Sciences Building | 5% Carbon dioxide, 35% Nitrogen, 60% Oxygen | 1
Agricultural, Food, And Life Sciences Building | 5% Hydrogen + 10% Carbon Dioxide + 85% Nitrogen | 5
Agricultural, Food, And Life Sciences Building | Carbon dioxide, compressed gas | 4
Agricultural, Food, And Life Sciences Building | Chromatographic Helium | 1
Agricultural, Food, And Life Sciences Building | Compressed Air | 2
Agricultural, Food, And Life Sciences Building | Hydrogen gas | 1
Agricultural, Food, And Life Sciences Building | Industrial Grade Acetylene | 1
Agricultural, Food, And Life Sciences Building | Industrial Grade Nitrogen | 1
Agricultural, Food, And Life Sciences Building | Industrial Grade Oxygen | 1
Agricultural, Food, And Life Sciences Building | Nitrogen | 4
Agricultural, Food, And Life Sciences Building | UHP (Ultra High Purity) Grade Helium | 5
Agricultural, Food, And Life Sciences Building | USP (United States Pharmacopeia) Medical Grade Carbon Dioxide | 6
Agricultural, Food, And Life Sciences Building | USP (United States Pharmacopeia) Medical Grade Oxygen | 1
Agriculture Building | 1500 PPM Carbon Dioxide, Balance Nitrogen Certified Reference Material | 1
Agriculture Building | 20 PPM Methane, Balance Nitrogen Certified Reference Material | 1
Agriculture Building | Ammonia gas | 2
Agriculture Building | Industrial Grade Argon | 44
Agriculture Building | Oxygen | 1
Agriculture Building | UHP (Ultra High Purity) Grade Helium | 4
Agriculture Building | UHP (Ultra High Purity) Grade Hydrogen | 2
Agriculture Building | UHP (Ultra High Purity) Grade Nitrogen | 2
Agriculture Building | Ultra Zero Grade Air | 4
Altheimer Lab | Industrial Grade Argon | 26
Altheimer Lab | Pure Clean Grade Carbon Dioxide | 1
Altheimer Lab | UHP (Ultra High Purity) Grade Argon | 1
Altheimer Lab | UHP (Ultra High Purity) Grade Helium | 7
Altheimer Lab | UHP (Ultra High Purity) Grade Oxygen | 10
Arkansas Union | Industrial Grade Helium | 1
Athletic Hanger | Aviator Breathing Grade Oxygen | 1
Athletic Hanger | Industrial Grade Nitrogen | 1
Bell Engineering Center | 10% Ammonia, Balance Helium Certified Reference Material | 1
Bell Engineering Center | Carbon dioxide, compressed gas | 3
Bell Engineering Center | Chemically Pure Grade Methane | 1
Bell Engineering Center | Ethylamine | 2
Bell Engineering Center | Industrial Grade Argon | 1
Bell Engineering Center | Industrial Grade Carbon Dioxide | 1
Bell Engineering Center | Industrial Grade Nitrogen | 13
Bell Engineering Center | Research Grade Krypton | 1
Bell Engineering Center | Research Grade Xenon | 1
Bell Engineering Center | UHP (Ultra High Purity) Grade Argon | 2
Bell Engineering Center | UHP (Ultra High Purity) Grade Helium | 4
Bell Engineering Center | UHP (Ultra High Purity) Grade Hydrogen | 3
Bell Engineering Center | UHP (Ultra High Purity) Grade Nitrogen | 16
Bell Engineering Center | Ultra High Purity Grade Neon | 1
Bell Engineering Center | Ultra Zero Grade Air | 3
Bell Engineering Center | USP (United States Pharmacopeia) Medical Grade Carbon Dioxide | 2
Bell Engineering Center | USP (United States Pharmacopeia) Medical Grade Oxygen | 3
Biological & Agri Engr Lab | Industrial Grade Argon | 1
Biologics Md Room 1208 | Industrial Grade Carbon Dioxide | 2
Bio-Mass Research Center | Industrial Grade Carbon Dioxide | 7
Bio-Mass Research Center | Industrial Grade Nitrogen | 1
Bio-Mass Research Center | UHP (Ultra High Purity) Grade Oxygen | 6
Bud Walton Arena | Food Grade Carbon Dioxide | 264
Cato Springs Research Center | Industrial Grade Carbon Dioxide | 7
Cato Springs Research Center | Industrial Grade Nitrogen | 6
Chemistry And Biochemistry Research Building | 5% Hydrogen, Balance Nitrogen Industrial Grade Mix | 3
Chemistry And Biochemistry Research Building | Industrial Grade Argon | 2
Chemistry And Biochemistry Research Building | Industrial Grade Carbon Dioxide | 2
Chemistry And Biochemistry Research Building | Nitrogen dioxide 2 ppm Calibration Gas Balance Air | 1
Chemistry And Biochemistry Research Building | Oxygen (balance)/Nitrogen(2.970 Mole%) Gas Mixture | 1
Chemistry And Biochemistry Research Building | Trifluoromethyl iodide | 1
Chemistry And Biochemistry Research Building | UHP (Ultra High Purity) Grade Argon | 1
Chemistry And Biochemistry Research Building | UHP (Ultra High Purity) Grade Helium | 11
Chemistry And Biochemistry Research Building | UHP (Ultra High Purity) Grade Nitrogen | 9
Chemistry And Biochemistry Research Building | UHP (Ultra High Purity) Grade Oxygen | 2
Chemistry And Biochemistry Research Building | Ultra Zero Grade Air | 4
Chemistry And Biochemistry Research Building | USP (United States Pharmacopeia) Medical Grade Carbon Dioxide | 6
Chemistry Building | AIR BREATHING | 1
Chemistry Building | Argon, gas | 6
Chemistry Building | Boron trichloride | 1
Chemistry Building | Compressed Air | 2
Chemistry Building | Compressed Nitrogen | 1
Chemistry Building | Dimethylamine | 1
Chemistry Building | Helium, compressed gas | 6
Chemistry Building | Hydrogen bromide, compressed gas | 1
Chemistry Building | Hydrogen gas | 1
Chemistry Building | Nitrogen | 1
Chemistry Building | Oxygen | 1
Chemistry Building | USP (United States Pharmacopeia) Medical Grade Carbon Dioxide | 1
Cralley Warren Research Lab | Food Grade Carbon Dioxide | 1
Crop Soil Science Center | Food Grade Carbon Dioxide | 20
Crop Soil Science Center | Industrial Grade Carbon Dioxide | 6
Crop Soil Science Center | Industrial Grade Nitrogen | 12
Crop Soil Science Center | UHP (Ultra High Purity) Grade Nitrogen | 1
Daniel E. Ferritor Hall | 10% Oxygen, Balance Carbon Dioxide Certified Reference Material | 1
Daniel E. Ferritor Hall | 20% CARBON DIOXIDE balance Argon | 1
Daniel E. Ferritor Hall | 20% CARBON DIOXIDE balance Hydrogen | 1
Daniel E. Ferritor Hall | 20% CARBON DIOXIDE balance Nitrogen | 2
Daniel E. Ferritor Hall | 5% Carbon dioxide, 35% Nitrogen, 60% Oxygen | 1
Daniel E. Ferritor Hall | Argon, gas | 1
Daniel E. Ferritor Hall | Carbon monoxide (compressed gas) | 2
Daniel E. Ferritor Hall | Ethylene | 2
Daniel E. Ferritor Hall | Food Grade Carbon Dioxide | 3
Daniel E. Ferritor Hall | Food Grade Nitrogen | 2
Daniel E. Ferritor Hall | Formaldehyde, gas | 1
Daniel E. Ferritor Hall | Industrial Grade Acetylene | 2
Daniel E. Ferritor Hall | Industrial Grade Argon | 17
Daniel E. Ferritor Hall | Industrial Grade Carbon Dioxide | 41
Daniel E. Ferritor Hall | Industrial Grade Hydrogen | 1
Daniel E. Ferritor Hall | Industrial Grade Nitrogen | 39
Daniel E. Ferritor Hall | Nitrous oxide | 1
Daniel E. Ferritor Hall | Oxygen | 1
Daniel E. Ferritor Hall | Pure Clean Grade Carbon Dioxide | 1
Daniel E. Ferritor Hall | Research Grade Oxygen | 3
Daniel E. Ferritor Hall | Sulfur Dioxide Anhydrous | 1
Daniel E. Ferritor Hall | UHP (Ultra High Purity) Grade Argon | 2
Daniel E. Ferritor Hall | UHP (Ultra High Purity) Grade Helium | 22
Daniel E. Ferritor Hall | UHP (Ultra High Purity) Grade Hydrogen | 2
Daniel E. Ferritor Hall | UHP (Ultra High Purity) Grade Nitrogen | 3
Daniel E. Ferritor Hall | Ultra Zero Grade Air | 2
Daniel E. Ferritor Hall | USP (United States Pharmacopeia) Medical Grade Carbon Dioxide | 1
Don Tyson Center For Agricultural Sciences | Ethylene oxide | 1
Don Tyson Center For Agricultural Sciences | Food Grade Carbon Dioxide | 5
Don Tyson Center For Agricultural Sciences | Industrial Grade Carbon Dioxide | 5
Don Tyson Center For Agricultural Sciences | UHP (Ultra High Purity) Grade Argon | 32
Don Tyson Center For Agricultural Sciences | UHP (Ultra High Purity) Grade Nitrogen | 2
Don Tyson Center For Agricultural Sciences | UHP (Ultra High Purity) Grade Oxygen | 2
Donald W Reynolds Razorback Stadium | Industrial Grade Acetylene | 2
Donald W Reynolds Razorback Stadium | Industrial Grade Nitrogen | 40
Donald W Reynolds Razorback Stadium | Industrial Grade Oxygen | 2
Engineering Hall | Industrial Grade Carbon Dioxide | 2
Engineering Hall | Industrial Grade Nitrogen | 5
Engineering Research Center | 1% Oxygen, 5% Carbon Dioxide, Balance Nitrogen Certified Reference Material | 1
Engineering Research Center | 1,1,1,2-Tetrafluoroethane | 1
Engineering Research Center | 1,1,1,3,3,3-hexafluoropropane | 1
Engineering Research Center | 100 PPM Ammonia, Balance Air Certified Reference Material | 3
Engineering Research Center | 1000 PPM Ammonia, Balance Air Certified Reference Material | 2
Engineering Research Center | 4% Hydrogen Sulfide, Argon Balance Certified Reference Material | 3
Engineering Research Center | 4% Hydrogen, Balance Argon Certified Reference Material | 1
Engineering Research Center | 500 PPM Ammonia, balance Air Certified Reference Material | 1
Engineering Research Center | Ammonia, anhydrous | 1
Engineering Research Center | Breathing Grade Air | 9
Engineering Research Center | Carbon tetrafluoride | 1
Engineering Research Center | Food Grade Carbon Dioxide | 2
Engineering Research Center | Hydrogen gas | 1
Engineering Research Center | Industrial Grade Carbon Dioxide | 11
Engineering Research Center | Industrial Grade Nitrogen | 6
Engineering Research Center | Industrial Grade Oxygen | 8
Engineering Research Center | Medical NF (National Formulary) Grade Nitrogen | 69
Engineering Research Center | UHP (Ultra High Purity) Grade Argon | 52
Engineering Research Center | UHP (Ultra High Purity) Grade Helium | 1
Engineering Research Center | UHP (Ultra High Purity) Grade Nitrogen | 15
Engineering Research Center | USP (United States Pharmacopeia) Medical Grade Carbon Dioxide | 20
Engineering Research Center | USP (United States Pharmacopeia) Medical Grade Oxygen | 16
Engineering Research Center (Fisher Yu Group) | Semi-Conductor Grade 10% Germane in H2 | 91
Engineering Research Center (Fisher Yu Group) | Semi-Conductor Grade Argon | 13
Engineering Research Center (Fisher Yu Group) | Semi-Conductor Grade Chlorine
Engineering Research Center (Fisher Yu Group) | Semi-Conductor Grade Diborane | 12
Engineering Research Center (Fisher Yu Group) | Semi-Conductor Grade Dichlorosilane | 0
Engineering Research Center (Fisher Yu Group) | Semi-Conductor Grade Digermane
Engineering Research Center (Fisher Yu Group) | Semi-Conductor Grade Disilane
Engineering Research Center (Fisher Yu Group) | Semi-Conductor Grade Germane | 2
Engineering Research Center (Fisher Yu Group) | Semi-Conductor Grade Helium | 1
Engineering Research Center (Fisher Yu Group) | Semi-Conductor Grade Hydrogen
Engineering Research Center (Fisher Yu Group) | Semi-Conductor Grade Hydrogen Chloride | 91
Engineering Research Center (Fisher Yu Group) | Semi-Conductor Grade Methane
Engineering Research Center (Fisher Yu Group) | Semi-Conductor Grade Nitrogen | 5
Engineering Research Center (Fisher Yu Group) | Semi-Conductor Grade Oxygen
Engineering Research Center (Fisher Yu Group) | Semi-Conductor Grade Phosphine | 12
Engineering Research Center (Fisher Yu Group) | Semi-Conductor Grade Silane | 3
Facilities Management | 25% Carbon Dioxide, Balance Argon Industrial Grade Mix | 2
Facilities Management | Argon (1ppm-76.5%) in Oxygen (23.5-99%) | 1
Facilities Management | Industrial Grade Acetylene | 2
Facilities Management | Industrial Grade Argon | 4
Facilities Management | Industrial Grade Nitrogen | 2
Facilities Management | Industrial Grade Oxygen | 2
Food Science | Breathing Grade Air | 3
Food Science | Food Grade Carbon Dioxide | 3
Food Science | Food Grade Nitrogen | 1
Food Science | Industrial Grade Carbon Dioxide | 14
Food Science | Industrial Grade Helium | 2
Food Science | Industrial Grade Nitrogen | 10
Food Science | UHP (Ultra High Purity) Grade Helium | 2
Food Science | UHP (Ultra High Purity) Grade Nitrogen | 1
Food Science | Ultra Zero Grade Air | 4
G. David Gearhart Hall | Carbon Dioxide (0.0001% to 50%) in Nitrogen | 5
G. David Gearhart Hall | Oxygen, 1ppm to 18.99% in Nitrogen | 1
Government Ave. Warehouse 1 | 25% Carbon Dioxide, Balance Argon Industrial Grade Mix | 6
Government Ave. Warehouse 1 | Industrial Grade Argon | 3
Grady E. Harvell Civil Engineering Research And Education Center | 10% Carbon Dioxide, Balance Argon Industrial Grade Mix | 1
Grady E. Harvell Civil Engineering Research And Education Center | 25% Carbon Dioxide, Balance Argon Industrial Grade Mix | 1
Grady E. Harvell Civil Engineering Research And Education Center | ARCAL™ Flux Shielding Gas Mixture 25% Carbon Dioxide, Balance Argon | 1
Grady E. Harvell Civil Engineering Research And Education Center | Industrial Grade Oxygen | 1
Health, Physical Education And Recreation | Helium, compressed gas | 1
Health, Physical Education And Recreation | Industrial Grade Carbon Dioxide | 6
Health, Physical Education And Recreation | Industrial Grade Nitrogen | 11
Health, Physical Education And Recreation | Industrial Grade Oxygen | 6
Health, Physical Education And Recreation | USP (United States Pharmacopeia) Medical Grade Oxygen | 2
Hi Density Electronics Center | 5% Hydrogen, Balance Nitrogen Industrial Grade Mix | 4
Horticulture Field Lab | Industrial Grade Carbon Dioxide | 3
Horticulture Field Lab | Industrial Grade Oxygen | 3
Insect Rearing Facility | Carbon dioxide, compressed gas | 1
John A. White, Jr. Engineering Hall | Carbon dioxide, compressed gas | 2
John Tyson Poultry Science Center | 5% Carbon Dioxide, Balance Oxygen USP (United States Pharmacopeia) Drug Mix Grade | 4
John Tyson Poultry Science Center | 5% Hydrogen, Balance Nitrogen Certified Reference Material | 2
John Tyson Poultry Science Center | 5% Oxygen, 10% Carbon Dioxide, 85% Nitrogen | 1
John Tyson Poultry Science Center | Breathing Grade Air | 4
John Tyson Poultry Science Center | Carbon Dioxide 50%, Carbon Monoxide 50% (flammable, compressed gas) | 2
John Tyson Poultry Science Center | Carbon dioxide, compressed gas | 2
John Tyson Poultry Science Center | Food Grade Nitrogen | 1
John Tyson Poultry Science Center | Industrial Grade Carbon Dioxide | 15
John Tyson Poultry Science Center | Industrial Grade Nitrogen | 46
John Tyson Poultry Science Center | Industrial Grade Oxygen | 3
John Tyson Poultry Science Center | UHP (Ultra High Purity) Grade Argon | 70
John Tyson Poultry Science Center | UHP (Ultra High Purity) Grade Helium | 10
John Tyson Poultry Science Center | UHP (Ultra High Purity) Grade Nitrogen | 13
John Tyson Poultry Science Center | Ultra Zero Grade Air | 3
Layer House 2 Poultry Farm | Food Grade Carbon Dioxide | 31
Layer House 2 Poultry Farm | Industrial Grade Carbon Dioxide | 88
MuSIC Facility | 15% Phosphine in Silane
MuSIC Facility | 4% Diborane in Hydrogen
MuSIC Facility | 5% Diborane in Nitrogen
MuSIC Facility | 5% Phosphine in Nitrogen
MuSIC Facility | Ammonia
MuSIC Facility | Argon
MuSIC Facility | Chlorine
MuSIC Facility | Helium
MuSIC Facility | Hexafluoroethane
MuSIC Facility | Hydrogen
MuSIC Facility | Nitric Oxide
MuSIC Facility | Nitrogen
MuSIC Facility | Nitrous oxide
MuSIC Facility | Oxygen
MuSIC Facility | Silane
MuSIC Facility | Sulfur Hexafluoride
Nanoscale Material Sci & Engr | 0.5% Carbon Dioxide, Balance Nitrogen Certified Reference Material | 1
Nanoscale Material Sci & Engr | 3% Hydrogen, Balance Argon Industrial Grade Mix | 1
Nanoscale Material Sci & Engr | 4% Hydrogen, Balance Argon Certified Reference Material | 1
Nanoscale Material Sci & Engr | 5% Hydrogen, Balance Argon Industrial Grade Mix | 4
Nanoscale Material Sci & Engr | 5% Hydrogen, Balance Nitrogen Industrial Grade Mix | 7
Nanoscale Material Sci & Engr | Breathing Grade Air | 2
Nanoscale Material Sci & Engr | Certified Reference Material 3% Hydrogen, Balance Argon Certified Reference Material | 2
Nanoscale Material Sci & Engr | CO2 GAS | 6
Nanoscale Material Sci & Engr | Industrial Grade Argon | 4
Nanoscale Material Sci & Engr | Industrial Grade Carbon Dioxide | 2
Nanoscale Material Sci & Engr | Industrial Grade Helium | 1
Nanoscale Material Sci & Engr | Industrial Grade Nitrogen | 1
Nanoscale Material Sci & Engr | Krypton | 1
Nanoscale Material Sci & Engr | Neon | 2
Nanoscale Material Sci & Engr | Oxygen | 4
Nanoscale Material Sci & Engr | Research Grade Argon | 13
Nanoscale Material Sci & Engr | Research Grade Ethane | 1
Nanoscale Material Sci & Engr | Research Grade Nitrogen | 8
Nanoscale Material Sci & Engr | UHP (Ultra High Purity) Grade Argon | 2
Nanoscale Material Sci & Engr | UHP (Ultra High Purity) Grade Helium | 18
Nanoscale Material Sci & Engr | UHP (Ultra High Purity) Grade Nitrogen | 10
Nanoscale Material Sci & Engr | UHP (Ultra High Purity) Grade Oxygen | 1
Nanoscale Material Sci & Engr | USP (United States Pharmacopeia) Medical Grade Carbon Dioxide | 1
National Center For Reliable Electrical Power Transmission | Industrial Grade Oxygen | 1
Pat Walker Health Center | USP (United States Pharmacopeia) Medical Grade Oxygen | 1
Physics Building | 5% Hydrogen, Balance Nitrogen Industrial Grade Mix | 1
Physics Building | Bone Dry Grade Carbon Dioxide | 5
Physics Building | Food Grade Carbon Dioxide | 12
Physics Building | Helium, compressed gas | 1
Physics Building | Industrial Grade Hydrogen | 6
Physics Building | Industrial Grade Nitrogen | 15
Physics Building | Industrial Grade Oxygen | 7
Physics Building | Oxygen | 1
Physics Building | UHP (Ultra High Purity) Grade Argon | 1
Physics Building | UHP (Ultra High Purity) Grade Nitrogen | 8
Plant Sciences Building | Helium, compressed gas | 1
Plant Sciences Building | Medical NF (National Formulary) Grade Nitrogen | 5
Plant Sciences Building | Oxygen | 1
Poultry Health Lab | Industrial Grade Nitrogen | 5
Science Engineering Building | Industrial Grade Nitrogen | 1
Sculpture | Industrial Grade Argon | 8
Silas Hunt Hall | Industrial Grade Helium | 1
Veterinary Diag Lab | Food Grade Carbon Dioxide | 12
Veterinary Diag Lab | Industrial Grade Carbon Dioxide | 1
Hi Density Electronics Center | Bulk Nitrogen Tank | 1
| Bulk Nitrogen Tank | 1
Don Tyson Center For Agricultural Sciences | Micro-Bulk Nitrogen Tank | 1
| University-Owned Bulk-Nitrogen Tank | 2