## §4 References - Tab 1
University of Arkansas - Fayetteville Facilities Management Utility Operations Database Historian and Integration Services RFP No. 09092024
APPENDIX II Response Template
Respondent:
(Enter Respondent's name above)
References Tab
Instructions: Enter the Respondent Name in the space above (yellow highlight). Reference Section 4 of this RFP. Respondents shall submit, as part of the Proposal, reference information for a minimum of three (3) major data integration projects. Use the Response Column to provide a brief text response, not greater than 200 characters including spaces. The information should include the following detail:
YES |  | Text Response Only 200 Character Maximum | Character Count
NO | Company/Organization/Institution Name:
NOT Avail | Contact Name - Name of the individual UA can contact regarding the project
Telephone
Email Address
Address
Brief overview and scope of the projects
Timeframe
Major goals and outcomes
Company/Organization/Institution Name:
Contact Name - Name of the individual UA can contact regarding the project
Telephone
Email Address
Address
Brief overview and scope of the projects
Timeframe
Major goals and outcomes
Company/Organization/Institution Name:
Contact Name - Name of the individual UA can contact regarding the project
Telephone
Email Address
Address
Brief overview and scope of the projects
Timeframe
Major goals and outcomes

## §10.3 Exception - Tab 2
University of Arkansas - Fayetteville Facilities Management Utility Operations Database Historian and Integration Services RFP No. 09092024
APPENDIX II RESPONSE TEMPLATE
Respondent:
(Enter Respondent's name above)
Exception Tab
Instructions: Enter Respondent's name in the space above (yellow highlight). Reference Section 10.3 of this RFP. Any exceptions to any of the terms, conditions, specifications, protocols, and/or other requirements listed in this RFP must be clearly noted by reference to the page number, section, or other identifying reference in this RFP. All information regarding such exceptions to content or requirements must be noted in the same sequence as its appearance in this RFP in the format provided below (yellow highlights). If additional rows are required, copy and insert copied rows and add item numbers.
ITEM # | RFP Reference (page number, section number, paragraph) | Specific RFP Language | Comments
1
2
3
4
5
6
7
8
9
10

## §3 Assumption - Tab 3
University of Arkansas - Fayetteville Facilities Management Utility Operations Database Historian and Integration Services RFP No. 09092024
APPENDIX II Response Template
Respondent:
(Enter Respondent's name above)
Assumption Tab
Instructions: Enter Respondent's name in the space above (yellow highlight). If pricing is dependent on any assumptions that are not specifically stated on the Official Bid Price Sheet (reference Section 3 Costs/Pricing), please list those assumptions accordingly on this spreadsheet and show detailed pricing. Any additional pricing lists should remain attached to the Official Bid Price Sheet for purposes of accurate evaluation. If additional rows are required, copy and insert copied cells/rows above final total.
Description | Unit Price | Quantity | Total
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
ASUMPTIONS ITEMS TOTAL |  |  | 0

## §14 Spec-Goals-Del - Tab 4
University of Arkansas - Fayetteville Facilities Management Utility Operations Database Historian and Integration Services RFP No. 09092024
APPENDIX II Response Template
Respondent:
(Enter Respondent's Name Above)
Fundamental and Additional Requirements - Tab 1
Instructions: Enter the Respondent Name in the space above (yellow highlight). - Respondents shall submit responses to all the Section 14.1 questions below using this Response Template. - Respondents may provide additional information as to how their solution complies. If a Respondent only partially meets a requirement by the project completion date but will be fully met at a later date, the section must be marked as Meets with Additional Configuration. For sections marked as Meets with Additional Configuration, Respondents must describe how and when their solution will be fully compliant. If a Respondent’s solution does not fully meet a requirement and future compliance is not planned, the section must be marked as Feature Not Available. If an item requires a more detailed description please respond in the comment column. - Use the Clarification and Comment Columns to provide brief explanations. However if the length of the Clarifications and Comments are greater than 200 characters including spaces, use the "Explanation Tab 6" to provide your detailed explanation. Please note, the Explanation worksheet is limited to 500 characters or less per explanation.
YES | 1. Fundamental System Solution Requirements | These are features that will be expected in the basic package of the System Solution. | Meets Requirement (Y/N) | Meets with Additional Configuration (Y/N) | Feature Not Available | Provide Clarification if proposing configuration/workaround 200 Character Maximum | Character Count | Comment 200 Character Maximum | Character Count | See Explanation (Y/N)
NO | 1.1 | Billing: Ability to accommodate manual entry of utility bills, import utility bills provided in electronic form, or to scan and OCR paper bills. Ability to import submeter readings and accommodate changes or corrections to imported readings. Unlimited provisions for allocating or splitting bills, creating master accounts from multiple utility vendor bills or connected submeters for the purpose of generating a unit cost for customer bills.
NOT Avail | 1.2 | Internal Cost Recovery: Flexibility to add O&M and other "fees" to bills.
| 1.3 | Data Validation: Ability to audit automatically and immediately check each bill upon entry or import to verify accuracy and flag potential problems
| 1.4 | Data Correction: Ability to modify sub meter data prior to billing, especially if a meter has failed/offline and needs to be estimated or corrected. Ability to modify manually entered or electronically imported utility bills
| 1.5 | Monthly accounting closeout: Ability to show user whether all A/P bills have been processed for an accounting month and itemize those outstanding. This tells the user whether it is time to send bills to Accounting for processing to campus and collection of A/R charges
| 1.6 | Software interface: Ability to interface with various forms of software and data providers to reduce need for users to enter and track the same data more than once
| 1.61 | JCI Metasys
| 1.62 | Schneider SPM
| 1.63 | Tridium Niagara
| 1.7 | Interval Data: Ability to record data from sources. Examples include, but not limited to, JCI Metasys, Schneider SPM and Tridium Niagara for use in billing or data analytics
| 1.8 | Reporting: Provide easy to use reports of historical cost and consumption with user-defined groups such as building, user group (Education and General, Athletics, Dining, Housing, etc.), utility account number, cost center number, specific rate tariff, or other criteria stored in the database but not listed here; user shall have ability to define the date range of reporting period. Reference ATTACHMENTS 1-6 Samples (for informational purposes only for samples of reports generated from current software or tracked separately)
| 1.9 | Web Reporting: Provide ability to access data through URL to allow users to access data from any location
| 1.10 | Log In and Log Out: System Solution should accomodate single sign on through Microsoft Active Directory, or equal, to allow users to access system with valid UA credentials
| 1.11 | Exporting of Data and Charts: User should be able to save graphic images such as jpeg, png and PDF as well as export tabular data to MS Excel files, and CSV
| 1.12 | Security: Provide security in adherence to industry best practice
| 2. Additional System Solution Capabilities and Functionality | The preferred System Solution may also have the following features | Meets Requirement (Y/N) | Meets with Additional Configuration (Y/N) | Feature Not Available | Provide Clarification if proposing configuration/workaround 200 Character Maximum | Character Count | Comment 200 Character Maximum | Character Count | See Explanation (Y/N)
| 2.1 | Capable of displaying, analyzing and reporting on multiple data trends such as temperature, and consumption such as electricity, gas or water
| 2.2 | Capable of normalizing and referencing energy flows to parameters such as weather, facility size, occupancy, production, etc.
| 2.3 | Capable to integrate Degree Day analysis to provide the user the choice to analyze the effect of weather on a building’s heating and cooling needs. Degree day analysis is useful in normalizing energy flows and forecasting future energy needs
| 2.4 | Ability to allow users to create a projected budget and track consumption based on historical usage and develop projections based upon a model that allows the adjustment of variables that impact the model, such as cost, consumption, heating degree days (hours), cooling degree days (hours), temperatures, occupancy, building operating hours, holiday schedules, sunrise/sunset, and ability to interface and retrieve values / set points from building and process automation platforms
| 2.5 | Capability to allow for custom dashboard reporting of budget or target set points that can be viewed at any chosen frequency level. These should allow the user to promptly identify at a glance any budget or target overruns
| 2.6 | Point-and-click Navigation. User interface should be graphically based and allow users to access graphics for loads and geographic areas using point-and-click “Drill Down” navigation
| 2.7 | Capability to create and display customized dashboard reports. Data accessible on user demand or through automated pushes via email, etc. on a predefined schedule
| 2.8 | Ability for users to save and recall custom reports for later use and editing
| 2.9 | Ability to provide carbon emission accounting
| 2.10 | Ability to automate the University's Sustainable Energy Efficient Buildings Program benchmarking compliance and with direct entries to the Energy Star Portfolio Manager. Additional variability of benchmarking is also a desired feature whereupon the UA may compare buildings, clusters of buildings, or building types for comparison of energy, utilities, and/or greenhouse gas emissions
| 2.11 | Ability to accommodate IPMVP-compliant Measurement & Verification functionality
| 2.12 | Ability to consolidate historical energy usage, environmental parameters, and production information into one data warehouse and provide comparison of usage and expense across the portfolio
| 2.13 | Role based interface. User interface should vary based on viewing privileges specified by system administrator
| 2.14 | View and Configure Reports. Users should be able to run preconfigured reports, to view report results, and to customize report configuration to show data of interest

## §14 Spec-Goals-Del - Tab 5
University of Arkansas - Fayetteville Facilities Management Utility Operations Database Historian and Integration Services RFP No. 09092024
APPENDIX II Response Template
Respondent:
SPECIFICATIONS / GOALS AND DELIVERABLES TAB
Instructions: -Respondents shall submit responses to all the Section 14.1 questions below using this Response Template. -Responses to the section below must be provided as per the Response Type column. -If a Item is not available please note that in the Response column - Item not Available -Use the Response Column to provide a brief response. However if the length of the response is greater than 500 characters including spaces, you must use the "Explanation Tab 6" to provide your detailed explanation. Please note, the Explanation worksheet is limited to 500 characters or less per explanation.
YES | 3. System Description and Functionality | Respond / Address to the following items. | Response Type | Response 500 Character Maximum | Character Count | See Explanation Y/N
NO | 3.1 | Identify the supplied System Solution’s software modules, system architecture and development tools | Text
| 3.2 | Identify the recommended deployment architecture for the System Solution: onsite hosted virtualized server, in the cloud, or a combination thereof | Text and/or Attachment
| 3.3 | Please indicate where modules are available “out of the box” versus modules that would primarily require custom development or 3rd party solutions | Text
| 3.4 | Identify other software (e.g. java) that is required for the System Solution. | Text
| 3.5 | Identify software licenses that are required for the System Solution | Text
| 3.6 | Identify the recommended hardware for all environments, including test, training, production, and disaster recovery for the System Solution. | Text and/or Attachment
| 3.7 | Describe any Application Programming Interfaces (API) that are available with your application | Text
| 3.8 | Identify any browsers needed to access System Solution (Chrome, Firefox, IE, etc.) | Text
| 3.9 | Identify any modules or plugins required to be installed on an end user’s computer / browser | Text
| 3.1 | Describe how System Solution handles authentication of users (AD, CAS, LDAP, etc.) | Text
| 3.11 | Identify any additional recommended operating environments: production, test, training, disaster recovery, etc. | Text
| 3.12 | Describe how the System Solution complies with UA mandated security protocols and standards that apply | Text
| 3.13 | Provide examples of the user interface | Attachment
| 3.14 | Describe your future direction and plans for the software | Text
| 3.15 | Describe your approach to writing and managing interfaces | Text
| 3.16 | Identify existing functional deficiencies based on the scope and requirements | Text
| 3.17 | Describe the required skills needed to technically support and maintain the system | Text
| 3.18 | Describe your upgrade policies, frequencies and costs | Text
| 3.19 | Include samples of 3-5 energy / utility reports that are generated through your System Solution | Attachment
| 3.2 | Describe software licensing (server, user, processor based, etc.) | Text
| 3.21 | Define the provisions of the warranty regarding response time for service and support. | Text
| 3.22 | Define the provisions of the warranty regarding system up time including maintenance windows. | Text
| 3.23 | Outline the standard or proposed plan of action for correcting problems during the warranty period. | Text
| 3.24 | Itemize any components, services, and labor that are excluded from warranty. | Text
| 4. Detailed Technical Description | Respond / Address to the following items. | Response Type | Response 500 Character Maximum | Character Count | See Explanation Y/N
| 4.1 | Provide your recommendation on Redundancy and Business Continuity/Disaster Recovery to provide full recovery | Text
| 4.2 | Describe your data storage and archiving capabilities | Text
| 4.3 | Required system capacity - recommend the hardware solution to handle the transaction and user load based on the information provided in this RFP | Text
| 4.4 | Describe the application architecture – multi-tier distributed system architecture where screens, report and transactions are provided through a web browser or other technology. Please also indicate the primary programming language(s) used within the proposed solution (e.g. .NET, C++, Java, etc.) | Text and/or Attachment
| 4.5 | Describe presentation architecture – technology such as browser based, thin-client, smart-client; client server; etc. | Text and/or Attachment
| 4.6 | Describe Application configuration and support components provided – (application development tool kit, load testing, automated scheduling, utilities to monitor resource utilization, web development tool kit, report generation scripts, audit and system logging, migration/change control tools, etc.) | Text and/or Attachment
| 4.7 | Describe Database architecture | Text and/or Attachment
| 4.8 | Describe Database performance and optimization – load balancing and/or clustering ability for extended scalability and performance | Text and/or Attachment
| 4.9 | Describe Database integrity – audit tracking within the database, logging options, record locking, etc. | Text and/or Attachment
| 4.1 | Server architecture – include a full description of the recommended and supported hardware solutions for all environments such as test, training, disaster recovery, production, etc. In addition to providing the “Recommended System Requirements”, please also provide the “Minimum System Requirements” for each environment needed by the UA to achieve the requirements detailed in this RFP | Text and/or Attachment
| 4.11 | Network architecture – include the preferred network topology, hardware and software required to achieve this architecture | Text and/or Attachment
| 4.12 | Configuration tool kit – describe any included Database Configuration Tools, Business Process Management Tools, User Interface Management Tools, etc. | Text
| 4.13 | Any applicable system diagrams to more clearly explain requirements and options | Attachment
| 4.14 | End user experience – include expected response time benchmark test results based on recommended configuration | Text and/or Attachment

## Explanation Tab 6
University of Arkansas - Fayetteville Facilities Management Utility Operations Database Historian and Integration Services RFP No. 09092024
Explanation - Tab 6
Instructions: - This Explanation Tab 6 should be used to provide additional explanations (if any) for any questions for which a "See Explanation - Yes" response was given. Explanations must be numbered to correspond to the question to which they pertain and explanations should be limited to 500 characters or less.
YES |  | Fundamental and Additional Requirements - Clarification and Comment (Tab 1) |  |  |  | Functional & Technical Description - Responses (Tab 2)
NO
| Question # | Provide Clarification if proposing configuration/workaround 500 Character Maximum | Character Count | Comment 500 Character Maximum | Character Count | Response 500 Character Maximum | Character Count

## Infor (hidden)
Infor Presentation Highlights
1 | Managing Assets Features: Building & facility, Capital Equipment, Process Equipment, Fleet Transportation, Geo-Spatial Assets, Telecom, Road & Rail Pipelines
2 | Managing Business Process Features: Labor Cntractors, Call Center, Capital Projects, Purchasing, Procument Planning, Calibration/eSignature, safety regulations
3 | Managing Maintenance Strageties: Included Reactive, Inspection/Prevention, Predictive / Reliability and best overall; Condition-based Practive
4 | Manage Sustainability Features: Energy integration, Co2 emission
5 | Analytics - Reporting Analytics KPI, various personalized reports
6 | Interoperability - Mobile, IoN, Alert management
Summary
1 | Dashboard menus are role based. Admin can configure as needed
2 | Have a great tool for Ad hoc quering and reporting tool
3 | Important: The information is arranged on a Hierarchical format - drill down structure
4 | Has a user friendly work flow, drag and drop for Resource management. It is flexible and configuarble
5 | Their Client Portal and Call center Portal were not impressive. Fred would like to automate Client Portal as much as possible
6 | Product currently only runs on I.E. Has Bar coding for asset inventory and good handheld apps.
NO BIM intergration. Has Open CaD integration. Has integration with Kronos
ORACLE Presentation Highlights
1 | The information is arranged on a Hierarchical format - drill down structure
WO: Can have two streams; Internal and External (Contractors)
WO: Bring challenge. You have to login to use the system. Interface is not modern
Mobile: Currently utilising web browser (I.E)
PM: Can generate WO automatically
PM: based on Calendar frequency & Recurrence
PM: need to be able to get past data especially regulatory information
Has Dashboards for list view & reporting. These are role based.
Asset management: NO Barcoding so we cannot tag all the furniture & appliance
Summary | Lacking Self service Portal, BIM, Inventory management. Will need lots of customization
Presentation and product features were not impressive.
IBM Presentation Highlights
1 | Has BIM Integration
2 | Has integration with PeopleSoft for chargebacks
3 | Has GIS integration with their Resource management module
4 | Did not have a Mobile App but you could access application via web. It would be optimized for browser. They do have bar code app and scanner on handheld phones
5 | Has integration with Kronos
Can intergrate with Storeroom
Has good Dashboards
Summary | We need to understand the features coming down the development pipeline

## Sys Integration details (hidden)
15. System Integration
15.1 | Single Sign-On integration with Columbia’s Authentication System (UNI System)
| Each Columbia student, faculty and staff have a unique user ID called a UNI. Columbia University uses a login authentication called "WIND". WIND allows web application developers to confirm a visitor's affiliation with Columbia without ever directly requesting a Columbia password. In order to authenticate, the visitor is redirected to Columbia's central secure web server. This link provides detailed information about implementation WIND. http://cuit.columbia.edu/wind-authentication-client-guide . We would want to map the WIND credentials to the user account in the application. | Mohammad to get CAS requirements from CUIT
15.2 | Integration with Columbia University Directory (LDAP)
Ability to integrate with Columbia University's LDAP server with the client/tenant lookup in the application. If a client/tenant does not exist in the lookup field, a call to the Columbia University LDAP server will be initiated.
15.6 | IBM Tririga for Space, Department & People Information
Interface between the CMMS application and our IWMS system (IBM Tririga). Ability to integrate and maintain location hierarchy from Tririga (Campus/Building/Floor/Room) also, department and people
15.3 | Oracle Unifier for Capital Projects
Ability to pass work order information to our Capital Project System (Oracle Unifier) for work assoicated with Capital Projects. This will include the following information-Work Order #, Building, Floor and/or Room #, Amount, Description, Credit Acct, Debit Acct, Requestor UNI, Request Date, Work Order Completion Date, Webpage hyperlink.
15.4 | PeopleSoft for Inter Departmental Chargeback’s
The CMMS application needs to support our PeopleSoft Chart of Accounts (chart string). When a work order is marked billable, we need to capture the departments chart string information which then gets feed to our PeopleSoft accounting system when the work order is closed. This will allow us to bill clients for the work performed by Facilities.
15.5 | StoreRoom Solutions for Material Procurement
We have a third party vendor (StoreRoom Solutions) who maintains our material inventory. Interface should be able to import StoreRoom Solutions inventory into the CMMS application with inventory description, part number, price, quantity, as some of the imported fields. We should be able to pick this StoreRoom inventory from the work order module.
15.7 | VFA for Condition Assessment Data
Synchronize work order information between CMMS application and our Condition Assessment application (This can include repairs to equipment, carpet replacement, etc.)
15.8 | Facilities Data Warehouse for Reporting and Data Analysis
Outbound interface from CMMS application to our internal data warehouse for custom reporting. Tables/fields exported will be defined in the scope of work.
15.9 | Residential Tenant Management System
| 1) Receiving work requests from tenants and providing information on work performed 2) Tenant information in Residential Housing Portfolio 3) Space Information (Building, Apartments, Units, Type of Units, Occupied, Vacant, Offilne, etc) | Nedd to be discussed with Mark
15.1 | StarRez, Columbia’s housing information system
| 1) Receiving work requests from tenants and providing information on work performed 2) Tenant information in Residential Housing Portfolio 3) Space Information (Building, Apartments, Units, Type of Units, Occupied, Vacant, Offilne, etc) | Nedd to be discussed with Mark
15.11 | Vpay for WO validation on invoices submitted
Vpay system allows 3rd party vendors to suhbmit invoices electronically. These invocies should be linked to a WO at the time of submittal. These invocies should be feed to CMMS for approval and payment toapproval. After final approval, an invocie feed should be sent to the PeopleSoft system for payment.
15.12 | Kronos
Interface to update CMMS application with data from our timekeeping system (Kronos). We want the ability to feed the CMMS with the following information from Kronos. Facilities employee information (Name, PeopleSoft ID, Contact Info, Job Title, Weekly schedule, Wage rates, Supervisor, Punch In/Out)
15.13 | Site Compliance
| ? | Discuss with Group
15.14 | Bar Code Data Collection
| I think this should be part of the base product? | This should part of the functional requirements for Asset Management
15.15 | AutoCAD
Ability to view 2D floor plans in the CMMS application for equipment locations, room locations, people locations, etc. Floor plans should be tied to the CMMS location hierarchy. Ability to trigger work orders by selecting room, equipment on floor plan.
15.16 | BMS
| We have numerous Building Management Systems controllers that we want to import data (meter info, motor rpm's, etc.) from and into the CMMS application. This data can then be used for scheduling PM work for each piece of equipment. The controller data can also be used for reporting | Add the list of BMS systems
15.17 | OEM
| ? | Discuss with Group
15.18 | GIS
Ability to drill down to building/property from a GIS map of the campus. Also be able to pin work order locations on the GIS map.
15.19 | Cimple
| ? | Add the list of BMS systems
15.2 | Room Schedules from CU Registrars
| ? | Discuss with Fred
15.21 | Rejected tickets reporting
| This is part of Interdepartmental Department Chargebacks. We need the ability for the CMMS application to notify us when the chart string account information entered is missing, incorrect. | This should part of the functional requirements for Reporting
9. BIM Integration | All new buildings coming online moving forward will be need to integrated with BIM
9.1 | Ability to initiate a work order from an electronic image of a piece of equipment from the viewing screen
9.2 | Ability to view equipment information
9.3 | Ability to support revision control.
9.4 | Ability to integrate with Autodesk Revit
9.5 | Ability to interface with third party middleware that can connect CMMS to BIM
Support for importing BIM data into and exporting from CMMS application
3D display of BIM data in context with CMMS application
Needs to support COBIE standard (Construction Operations Building Information Exchange)
BIM model data to be imported into CMMS ( locations, assets, systems, people)
The BIM model may be used as an asset selection lookup anywhere in CMMS application that an asset look-up menu appears.
The BIM model may be used to select a set of assets to add to a work order or service request
Create work orders and service requests directly out of the BIM model
Search for work orders, pm work from within the BIM model.

## Sheet1 (hidden)
Implementation Services
Implementation Services | Does your company have a professional services organization
Does your company partner with third party service providers for implementation services (if so, who are your certified providers)
Describe the services approach you take to implementation (e.g. traditional project management, mentoring, off-site/remote)
Describe the phases of work in a typical implementation project
Describe the project management approach you take to organizing and managing your implementation services
How do you report on project status and progress
What types of training does you company offer (e.g. onsite, classroom, online)
Technical Support
Does your company offer multiple support plans
Clarify the levels of support plans
Do you offer support via email, web, and phone
What are your hours of support
Do you automatically notify or provide links to service packs, updates, releases
Provide list and description of last 12 month release, update and SP schedule
Online Knowledge Base
Do you have a searchable online knowledge base
Is your knowledge base accessible to anyone
Do you monitor the knowledge base; how often
Does you development staff contribute to the knowledge base
Developers Network
Do you have a developers network site
Who can access the developers network
Do you test the code published to the developers network
Do you monitor the developers network; how often
Does you development staff contribute to the developers network
Corporate Outlook
How long has the company been in this market
Is the company profitable
Do you have an annual users conference
Operating Platform (Server, Client, DBMS)
Support Windows 2008Server (R2)
Clarify the current Windows Service Pack supported
How long does it generally take to qualify a new Server Service Pack
Do you support all current Windows Server critical updates
Can your application be run on a virtualized server or in the cloud
Do you support Windows 7
Clarify the current Service Pack and OS supported
How long does it generally take to qualify a new Desktop Service Pack
Do you support all current Windows Desktop critical updates
Do you support Windows 8
Clarify your minimum recommendation for Server specifications
Can your application run in a shared server environment
Clarify the interaction between client and server (e.g. client architecture)
Do components of the application run on a server (e.g. as a service)
Security/User Profile Management
Clarify how your application handles authentication of users
Does the application server need to be a Windows Active Directory member
Are all Active Directory user and groups visible in your application
Can permissions be assigned at the Active Directory group level
What domain permissions are required to administer your application
What local server permissions are required to administer your application
What are the minimum user permissions required for user access
Can your application be administered through a remote desktop
Does your application require file shares
Are there any special requirements for disk or system file access
Advanced Configuration/Development Tools
What Application Programming Interfaces (API) are available with your application
Are your API's language independent
Does your application accommodate expansion of the data model
Does your application support custom domains
Does your application support customization of the user interface
Integration Dependencies
Does your application require installation of 3rd party applications (e.g. java)
Clarify required 3rd party installations
Are there user permissions necessary to install or use the 3rd party applications
Does your application integrate with Microsoft Exchange 2007
Does your application integrate with Microsoft Office 365
Does your application support Microsoft SQL Server 2005 (SP2)
Does your application support Microsoft SQL Server 2008 R2
Does your application require Microsoft Internet Information Server (IIS)