## Optical Inventory
| Inventory Rev Date: |  | 2018-01-26
Sort Seq | Node | ProductType | ModuleType | Description | ModulePosition (Near End) | Channel | Service Target NODE (Far End) | TargetPosition (Far End) | Service Type | Service Use | Shelf Type | Equipment Refresh Status
1
1.1 |  |  | Alma (ALMA-01, ALMA-02, ALMA-03) | 3 Degree ROADM
1.2
2 | ALMA-01 | FSP 3000R7 | 40CSM/2HU-#19590-#19200 | 40 Channel filter | MOD-2-3-I1 | [5 empty] | 40CSM/2HU-#19590-#19200
4 | ALMA-01 | FSP 3000R7 | 40CSM/2HU-#19590-#19200 | 40 Channel filter | MOD-2-3-I2 | [5 empty] | 40CSM/2HU-#19590-#19200
6 | ALMA-01 | FSP 3000R7 | 40CSM/2HU-#19590-#19200 | 40 Channel filter | MOD-2-3-I3 | [5 empty] | 40CSM/2HU-#19590-#19200
7 | ALMA-01 | FSP 3000R7 |  | SHELF-1 | [6 empty] | SH7HU-R | Leave in Place
12 | ALMA-01 | FSP 3000R7 | EDFA-C-D20-VGC-DM | Optical pre-amp | MOD-1-5 |  | FYVL-01 |  |  |  | SH7HU-R | Leave in Place
13 | ALMA-01 | FSP 3000R7 | EDFA-C-S20-GCB-DM | Optical post-amp | MOD-1-6 |  | FYVL-01 |  |  |  | SH7HU-R
14 | ALMA-01 | FSP 3000R7 | 8ROADM-C40/0/OPM | ROADM (3 degree site) | MOD-1-7 | [5 empty] | SH7HU-R
16.1 | ALMA-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-1-11-NE | 19430 (D15) | NLRK-01 | MOD-4-11-NE | 10G | BB | SH7HU-R
16.2 | ALMA-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 2 of 2x 10G Transponder | MOD-1-11-NW | 19420 (D16) | FYVL-01 | MOD-3-11-NE | 10G | BB | SH7HU-R | Leave in Place
17 | ALMA-01 | FSP 3000R7 | 4TCA-PCN-4GUS+4G (F4250) | 4x1G muxponder w/ diversity | MOD-1-12 | 19590 (D02) | FYVL-01 | MOD-3-13 | 1G | MGT | SH7HU-R | Leave in Place
18 | ALMA-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-1-13 | 19510 (DC2) | FYVL-01 | MOD-3-12-NE | 10G | AAES | SH7HU-R | Leave in Place
19 | ALMA-01 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-LN#DC | 5x1G or 1x10G muxponder | MOD-1-14 | 19570 (D04) | SPDL-01 | MOD-1-10-N | 1G | ACNW | SH7HU-R | Leave in Place
20 | ALMA-01 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-LN#DC | 5x1G or 1x10G muxponder | MOD-1-15 | 19560 (DC1) | BNTV-01 | MOD-1-13-N | 1G | NWACC | SH7HU-R | Leave in Place
31 | ALMA-01 | FSP 3000R7 |  | SHELF-2 | [6 empty] | SH7HU-R
35 | ALMA-01 | FSP 3000R7 | EDFA-C-S20-GCB-DM | Optical post-amp | MOD-2-6 |  | FTSM-01 |  |  |  | SH7HU-R
36 | ALMA-01 | FSP 3000R7 | 8ROADM-C40/0/OPM | ROADM (3 degree site) | MOD-2-7 | [5 empty] | SH7HU-R
38.1 | ALMA-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-2-11-NE | 19430 (D15) | FYVL-01 | MOD-3-10-NE | 10G | BB | SH7HU-R | Leave in Place
38.2 | ALMA-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 2 of 2x 10G Transponder | MOD-2-11-NW | 19420 (D16) | TULS-02 | MOD-1-10-NE | 10G | BB | SH7HU-R
39 | ALMA-01 | FSP 3000R7 | 4TCA-PCN-4GUS+4G (F4250) | 4x1G muxponder w/ diversity | MOD-2-12 | 19590 (D02) | FTSM-02 | MOD-1-13 | 1G | MGT | SH7HU-R
53 | ALMA-01 | FSP 3000R7 |  | SHELF-3 | [6 empty] | SH7HU-R
56 | ALMA-01 | FSP 3000R7 | EDFA-C-S20-GCB-DM | Optical post-amp | MOD-3-6 |  | OZRK-01 |  |  |  | SH7HU-R
57 | ALMA-01 | FSP 3000R7 | 8ROADM-C40/0/OPM | ROADM (3 degree site) | MOD-3-7 | [5 empty] | SH7HU-R
59.1 | ALMA-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-3-11-NE | 19430 (D15) | TULS-02 | MOD-1-10-NW | 10G | BB | SH7HU-R
59.2 | ALMA-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 2 of 2x 10G Transponder | MOD-3-11-NW | 19420 (D16) | NLRK-01 | MOD-4-12-NE | 10G | BB | SH7HU-R
60 | ALMA-01 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-V#DC (OTU2P) | 5x1G or 1x10G muxponder | MOD-3-12 | 19590 (D02) | MLTN-02 | MOD-1-13 | 2x1G | UACCM,MGT | SH7HU-R
72 | ALMA-02 | FSP 3000RE2 |  | SHELF-1 | [6 empty] | RE2SHELF | Replace
80 | ALMA-02 | FSP 3000RE2 | OLDUEV 1310 | Optical pre-amp | MOD-1-1-8 | - | FTSM-01 |  |  |  | RE2SHELF | Replace
81 | ALMA-02 | FSP 3000RE2 | XPT10GLO 1531.12 | 10G Transponder (single port) | MOD-1-1-9 | 19580 (D03) | FTSM-01 | MOD-1-1-14 | 10G | UAFS | RE2SHELF | Replace
102 | ALMA-03 | FSP 3000RE2 |  | SHELF-1 | [6 empty] | RE2SHELF | Replace
110 | ALMA-03 | FSP 3000RE2 | OLDUEV 1310 | Optical pre-amp | MOD-1-1-8 | - | OZRK-01 |  |  |  | RE2SHELF | Replace
111 | ALMA-03 | FSP 3000RE2 | XPT10GLO 1532.68 | 10G Transponder (single port) | MOD-1-1-9 | 19560 (DC1) | RLVL-01 | MOD-1-1-16 | 10G | ATU | RE2SHELF | Replace
113 | ALMA-03 | FSP 3000RE2 | XPT10GLO 1533.47 | 10G Transponder (single port) | MOD-1-1-11 | 19550 (D05) | CNWY-01 | MOD-1-1-14 | 10G | UCA | RE2SHELF | Replace
120
120.1 |  |  | Arkadephhia (ARKD-01) | 2 Degree ROADM
120.2
121 | ARKD-01 | FSP 3000R7 |  | SHELF-1 | [6 empty] | SH7HU-R
122 | ARKD-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-1-10-NW | 19550 (D05) | HOPE-01 | MOD-3-12-NW | 10G | HSU | SH7HU-R
123 | ARKD-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-1-11-NE | 19550 (D05) | NLRK-01 | MOD-1-12-NW | 10G | HSU | SH7HU-R
132 | ARKD-01 | FSP 3000RE2 |  | SHELF-1 | [6 empty] | RE2SHELF | Replace
140 | ARKD-01 | FSP 3000RE2 | VG3520 1510 | Optical pre-amp | MOD-1-1-8 | - | HOPE-02 |  |  |  | RE2SHELF | Replace
145 | ARKD-01 | FSP 3000RE2 | VG3020PR 1510 | Optical pre-amp | MOD-1-1-13 | - | MLVR-01 |  |  |  | RE2SHELF | Replace
162 | ARKD-01 | FSP 3000RE2 |  | SHELF-2 | [6 empty] | RE2SHELF | Replace
170 | ARKD-01 | FSP 3000RE2 | VG3020PR 1510 | Optical pre-amp | MOD-1-2-8 | - | HOPE-02 |  |  |  | RE2SHELF | Replace
175 | ARKD-01 | FSP 3000RE2 | VG2020PA | Optical post-amp | MOD-1-2-13 | - | MLVR-01 |  |  |  | RE2SHELF | Replace
193 | ARKD-01 | FSP 3000RE2 | EROADM | ROADM (2 degree site) | MOD-1-3-1 | - |  |  |  |  | EROADM | Replace
195 | ARKD-01 | FSP 3000RE2 | EROADM | ROADM (2 degree site) | MOD-1-4-1 | - |  |  |  |  | EROADM | Replace
196
196.1 |  |  | Atlanta TX (ATLN-01, ATLN-02) | 2 Degree ROADM with Fixed OADM to TAMU
196.2
198 | ATLN-01 | FSP 3000R7 |  | SHELF-1 | [6 empty] | SH7HU-R | Leave in Place
200 | ATLN-01 | FSP 3000R7 | RAMAN-C10 | RAMAN Extended range Amp | MOD-1-4 |  | HOPE-01 |  |  |  | SH7HU-R
201 | ATLN-01 | FSP 3000R7 | EDFA-C-D20-VGC-DM | Optical pre-amp | MOD-1-5 |  | HOPE-01 |  |  |  | SH7HU-R
202 | ATLN-01 | FSP 3000R7 | EDFA-C-S20-GCB-DM | Optical post-amp | MOD-1-6 |  | HOPE-01 |  |  |  | SH7HU-R
203 | ATLN-01 | FSP 3000R7 | ROADM-C80/0/OPM | ROADM (2 degree site) | MOD-1-7 | [5 empty] | SH7HU-R
204 | ATLN-01 | FSP 3000R7 | 8CSM-#19590-#19520 | 8 Channel filter | MOD-1-9 | [5 empty] | SH7HU-R
205 | ATLN-01 | FSP 3000R7 | 4CSM-#C1510-#C1570 | 4 Channel filter | MOD-1-11 |  | TAMU |  | 1G | TAMU | SH7HU-R | Leave in Place
206 | ATLN-01 | FSP 3000R7 | 10TCC-PCTN-4GUS+10G-V#DC (OTU2) | 10x1G Muxponder | MOD-1-12 | 19590 (D02) | HOPE-01 | MOD-1-12 | 1G | TAMU | SH7HU-R | Leave in Place
207 | ATLN-01 | FSP 3000R7 | ROADM-C80/0/OPM | ROADM (2 degree site) | MOD-1-14 | [5 empty] | SH7HU-R
208 | ATLN-01 | FSP 3000R7 | EDFA-C-S20-GCB-DM | Optical post-amp | MOD-1-16 |  | NWSM-01 |  |  |  | SH7HU-R
209 | ATLN-01 | FSP 3000R7 | 8CSM-#19590-#19520 | 8 Channel filter | MOD-1-17 | [5 empty] | SH7HU-R
215 | ATLN-02 | FSP 3000RE2 |  | SHELF-1 | [6 empty] | RE2SHELF | Replace
223 | ATLN-02 | FSP 3000RE2 | VG3520 1510 | Optical pre-amp | MOD-1-1-8 | - | NWSM-01 |  |  |  | RE2SHELF | Replace
300
300.1 |  |  | Conway (CNWY-01) | 2 Degree ROADM
300.2
364 | CNWY-01 | FSP 3000RE2 |  | SHELF-1 | [6 empty] | RE2SHELF | Replace
372 | CNWY-01 | FSP 3000RE2 | VG3020PR 1510 | Optical pre-amp | MOD-1-1-8 | - | NLRK-02 |  |  |  | RE2SHELF | Replace
373 | CNWY-01 | FSP 3000RE2 | XPT10GLO 1533.47 | 10G Transponder (single port) | MOD-1-1-9 | 19550 (D05) | NLRK-02 | MOD-1-1-9 | 10G | UCA | RE2SHELF | Replace
377 | CNWY-01 | FSP 3000RE2 | VG3520 1510 | Optical pre-amp | MOD-1-1-13 | - | MLTN-01 |  |  |  | RE2SHELF | Replace
378 | CNWY-01 | FSP 3000RE2 | XPT10GLO 1533.47 | 10G Transponder (single port) | MOD-1-1-14 | 19550 (D05) | ALMA-03 | MOD-1-1-11 | 10G | UCA | RE2SHELF | Replace
379 | CNWY-01 | FSP 3000RE2 |  | SHELF-2 | [6 empty] | RE2SHELF | Replace
380 | CNWY-01 | FSP 3000RE2 | VG2020PA | Optical post-amp | MOD-1-2-8 | - | NLRK-02 |  |  |  | RE2SHELF | Replace
381 | CNWY-01 | FSP 3000RE2 | VG2020PA | Optical post-amp | MOD-1-2-13 | - | MLTN-01 |  |  |  | RE2SHELF | Replace
382 | CNWY-01 | FSP 3000RE2 | EROADM | ROADM (2 degree site) | MOD-1-3-1 | - |  |  |  |  | EROADM | Replace
383 | CNWY-01 | FSP 3000RE2 | EROADM | ROADM (2 degree site) | MOD-1-4-1 | - |  |  |  |  | EROADM | Replace
410
410.1 |  |  | Crossett (CRST-01) | No current equipment at this location. New equipment to be proposed.
410.2
430
430.1 |  |  | Dallas (DLLS-01, DLLS-02) | Currently 1 Degree Fixed OADM to be replaced with ROADM
430.2
440 | DLLS-01 | FSP 3000RE2 |  | SHELF-1 | [6 empty] | RE2SHELF | Replace
441 | DLLS-01 | FSP 3000RE2 | VG3520 1510 | Optical pre-amp | MOD-1-1-13 | - | EDWD-01 |  |  |  | RE2SHELF | Replace
442 | DLLS-01 | FSP 3000RE2 | XPT10GLO 1544.53 | 10G Transponder (single port) | MOD-1-1-14 | 19410 (DC4) | HOPE-02 | MOD-1-1-11 | 10G | BB | RE2SHELF | Replace
459 | DLLS-02 | FSP 3000R7 |  | SHELF-1 | [6 empty] | SH7HU-R
462 | DLLS-02 | FSP 3000R7 | EDFA-C-S20-GCB-DM | Optical post-amp | MOD-1-6 |  | EDWD-01 |  |  |  | SH7HU-R
463.1 | DLLS-02 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-1-9-NE | 19420 (D16) | HOPE-01 | MOD-1-10-NE | 10G | BB | SH7HU-R
463.2 | DLLS-02 | FSP 3000R7 | 2WCC-PCN-10G | Port 2 of 2x 10G Transponder | MOD-1-9-NW | 19430 (D15) | HOPE-01 | MOD-1-10-NW | 10G | BB | SH7HU-R
470 | DLLS-01 | FSP 3000RE2 | MD40SHW | 40 Channel filter | not inventoried | [5 empty] | RE2SHELF | Replace
475
475.1 |  |  | Edgewood TX (EDWD-01) | Amplification only
475.2
479 | EDWD-01 | FSP 3000RE2 | VG3520 1510 | Optical pre-amp | MOD-1-1-8 | - | DLLS-01 |  |  |  | RE2SHELF | Replace
480 | EDWD-01 | FSP 3000RE2 |  | SHELF-1 | [6 empty] | RE2SHELF | Replace
484 | EDWD-01 | FSP 3000RE2 | VG3520 1510 | Optical pre-amp | MOD-1-1-13 | - | NWSM-01 |  |  |  | RE2SHELF | Replace
500
500.1 |  |  | Ft. Smith (FTSM-01, FTSM-02) | 2 Degree ROADM
500.2
653 | FTSM-01 | FSP 3000RE2 |  | SHELF-1 | [6 empty] | RE2SHELF | Replace
661 | FTSM-01 | FSP 3000RE2 | OLDUEV 1310 | Optical pre-amp | MOD-1-1-8 | - | SLSW-01 |  |  |  | RE2SHELF | Replace
662 | FTSM-01 | FSP 3000RE2 | XPT10GLO 1531.12 | 10G Transponder (single port) | MOD-1-1-9 | 19580 (D03) | TULS-01 | MOD-1-1-11 | 10G | UAFS | RE2SHELF | Replace
666 | FTSM-01 | FSP 3000RE2 | OLDUEV 1310 | Optical pre-amp | MOD-1-1-13 | - | ALMA-02 |  |  |  | RE2SHELF | Replace
667 | FTSM-01 | FSP 3000RE2 | XPT10GLO 1531.12 | 10G Transponder (single port) | MOD-1-1-14 | 19580 (D03) | ALMA-02 | MOD-1-1-9 |  | UAFS | RE2SHELF | Replace
683 | FTSM-01 | FSP 3000RE2 |  | SHELF-2 | [6 empty] | RE2SHELF | Replace
691 | FTSM-01 | FSP 3000RE2 | VG2020PA | Optical post-amp | MOD-1-2-8 | - | SLSW-01 |  |  |  | RE2SHELF | Replace
696 | FTSM-01 | FSP 3000RE2 | VG2020PA | Optical post-amp | MOD-1-2-13 | - | ALMA-02 |  |  |  | RE2SHELF | Replace
714 | FTSM-01 | FSP 3000RE2 | EROADM | ROADM (2 degree site) | MOD-1-3-1 | - |  |  |  |  | EROADM | Replace
716 | FTSM-01 | FSP 3000RE2 | EROADM | ROADM (2 degree site) | MOD-1-4-1 | - |  |  |  |  | EROADM | Replace
717 | FTSM-02 | FSP 3000R7 |  | SHELF-1 | [6 empty] | SH7HU-R | Leave in Place
720 | FTSM-02 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-1-10-NE | 19340 (DC6) | UAMS-02 | MOD-1-10-NE | 10G | eLink | SH7HU-R
721 | FTSM-02 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-1-11-NE | 19350 (D20) | FYVL-01 | MOD-3-11-NW | 10G | eLink | SH7HU-R | Leave in Place
722 | FTSM-02 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-V#DC (OTU2P) | 5x1G or 1x10G muxponder | MOD-1-12 | 19590 (D02) | TULS-02 | MOD-1-11 | 2x1G | eLink, MGT | SH7HU-R
723 | FTSM-02 | FSP 3000R7 | 4TCA-PCN-4GUS+4G (F4250) | 4x1G muxponder w/ diversity | MOD-1-13 | 19590 (D02) | ALMA-01 | MOD-2-12 | 1G | MGT | SH7HU-R
800
800.1 |  |  | Hamburg (HMBG-01) | Amplification only
800.2
987 | HMBG-01 | FSP 3000RE2 |  | SHELF-1 | [6 empty] | RE2SHELF | Replace
995 | HMBG-01 | FSP 3000RE2 | OLDUEV 1310 | Optical pre-amp | MOD-1-1-8 | - | MNTI-03 |  |  |  | RE2SHELF | Replace
1000 | HMBG-01 | FSP 3000RE2 | VG3020PR 1510 | Optical pre-amp | MOD-1-1-13 | - | MONR-01 |  |  |  | RE2SHELF | Replace
1010
1010.1 |  |  | Hope (HOPE-01, HOPE-02) | 3 Degree ROADM
1010.2
1018 | HOPE-01 | FSP 3000R7 | 40CSM/2HU-#19590-#19200 | 40 Channel filter | MOD-3-3-I1 | [5 empty] | 40CSM/2HU-#19590-#19200
1020 | HOPE-01 | FSP 3000R7 | 40CSM/2HU-#19590-#19200 | 40 Channel filter | MOD-3-3-I2 | [5 empty] | 40CSM/2HU-#19590-#19200
1022 | HOPE-01 | FSP 3000R7 | 40CSM/2HU-#19590-#19200 | 40 Channel filter | MOD-3-3-I3 | [5 empty] | 40CSM/2HU-#19590-#19200
1023 | HOPE-01 | FSP 3000R7 |  | SHELF-1 | [6 empty] | SH7HU-R | Leave in Place
1027 | HOPE-01 | FSP 3000R7 | RAMAN-C10 | RAMAN Extended range Amp | MOD-1-4 | [5 empty] | SH7HU-R
1028 | HOPE-01 | FSP 3000R7 | EDFA-C-D20-VGC-DM | Optical pre-amp | MOD-1-5 |  | ATLN-01 |  |  |  | SH7HU-R
1029 | HOPE-01 | FSP 3000R7 | EDFA-C-S20-GCB-DM | Optical post-amp | MOD-1-6 |  | ATLN-01 |  |  |  | SH7HU-R
1030 | HOPE-01 | FSP 3000R7 | 8ROADM-C40/0/OPM | ROADM (3 degree site) | MOD-1-7 | [5 empty] | SH7HU-R
1031.1 | HOPE-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-1-10-NE | 19420 (D16) | DLLS-02 | MOD-1-9-NE | 10G | BB | SH7HU-R
1031.2 | HOPE-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 2 of 2x 10G Transponder | MOD-1-10-NW | 19430 (D15) | DLLS-02 | MOD-1-9-NW | 10G | BB | SH7HU-R
1032 | HOPE-01 | FSP 3000R7 | 10TCC-PCTN-4GUS+10G-V#DC (OTU2) | 10x1G Muxponder | MOD-1-12 | 19590 (D02) | ATLN-01 | MOD-1-12 | 1G | TAMU | SH7HU-R | Leave in Place
1044 | HOPE-01 | FSP 3000R7 |  | SHELF-2 | [6 empty] | SH7HU-R
1049 | HOPE-01 | FSP 3000R7 | EDFA-C-D20-VGC-DM | Optical pre-amp | MOD-2-5 |  | MGNL-01 |  |  |  | SH7HU-R | Leave in Place
1050 | HOPE-01 | FSP 3000R7 | EDFA-C-S20-GCB-DM | Optical post-amp | MOD-2-6 |  | MGNL-01 |  |  |  | SH7HU-R
1051 | HOPE-01 | FSP 3000R7 | 8ROADM-C40/0/OPM | ROADM (3 degree site) | MOD-2-7 | [5 empty] | SH7HU-R
1052.1 | HOPE-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-2-11-NE | 19430 (D15) | MNTI-01 | MOD-2-10-NE | 10G | BB | SH7HU-R | Leave in Place
1052.2 | HOPE-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 2 of 2x 10G Transponder | MOD-2-11-NW | 19350 (D20) | MNTI-01 | MOD-2-10-NW | 10G | eLink | SH7HU-R | Leave in Place
1053 | HOPE-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-2-12-NE | 19420 (D16) | MNTI-01 | MOD-2-11-NE | 10G | BB | SH7HU-R | Leave in Place
1054 | HOPE-01 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-LN#DC (OTU2P) | 5x1G or 1x10G muxponder | MOD-2-13 | 19590 (D02) | MGNL-01 | MOD-1-11 | 3x1G | SAUM,MGT | SH7HU-R | Leave in Place
1055 | HOPE-01 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-LN#DC (OTU2P) | 5x1G or 1x10G muxponder | MOD-2-14 | 19580 (D03) | ELDO-01 | MOD-1-10 | 2x1G | SACC,MGT | SH7HU-R | Leave in Place
1056 | HOPE-01 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-LN#DC (OTU2P) | 5x1G or 1x10G muxponder | MOD-2-15 | 19570 (D04) | CMDN-01 | MOD-1-10 | 2x1G | SAUT,MGT | SH7HU-R | Leave in Place
1078 | HOPE-01 | FSP 3000R7 |  | SHELF-3 | [6 empty] | SH7HU-R
1082 | HOPE-01 | FSP 3000R7 | EDFA-C-S20-GCB-DM | Optical post-amp | MOD-3-6 | [5 empty] | SH7HU-R
1083 | HOPE-01 | FSP 3000R7 | 8ROADM-C40/0/OPM | ROADM (3 degree site) | MOD-3-7 | [5 empty] | SH7HU-R
1085.1 | HOPE-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-3-11-NE | 19350 (D20) | UALR-02 | MOD-1-14-NE | 10G | eLink | SH7HU-R
1085.2 | HOPE-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 2 of 2x 10G Transponder | MOD-3-11-NW | 19430 (D15) | NLRK-01 | MOD-1-11-NE | 10G | BB | SH7HU-R
1086 | HOPE-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-3-12-NE | 19400 (DC9) | NLRK-01 | MOD-1-11-NW | 10G | BB | SH7HU-R
1086.5 | HOPE-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 2 of 2x 10G Transponder | MOD-3-12-NW | 19550 (D05) | ARKD-01 | MOD-1-10-NW | 10G | HSU | SH7HU-R
1087 | HOPE-01 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-V#DC (OTU2P) | 5x1G or 1x10G muxponder | MOD-3-13 | 19590 (D02) | MLVR-02 | MOD-1-10 | 3x1G | COTO,NPC,MGT | SH7HU-R
1088 | HOPE-01 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-V#DC (OTU2P) | 5x1G or 1x10G muxponder | MOD-3-14 | 19560 (DC1) | UALR-02 | MOD-1-10 | 3x1G | PTC,UAEX,UASYS | SH7HU-R
1089 | HOPE-01 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-V#DC (OTU2P) | 5x1G or 1x10G muxponder | MOD-3-15 | 19540 (D06) | UALR-02 | MOD-1-13 | 3x1G | WS-AATYC,MGT | SH7HU-R
1090 | HOPE-01 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-V#DC (OTU2P) | 5x1G or 1x10G muxponder | MOD-3-16 | 19410 (DC4) | NLRK-01 | MOD-1-15 | 2x1G | BB | SH7HU-R
1110 | HOPE_02 | FSP 3000RE2 |  | SHELF-1 | [6 empty] | RE2SHELF | Replace
1119 | HOPE_02 | FSP 3000RE2 | MXT25PC2 1533.47 | 2.5G muxponder (1G service) | MOD-1-1-9 | 19550 (D05) | ARKD-01 | MOD-1-1-9 | 1G | HSU | RE2SHELF | Replace w/ 2x1G
1120 | HOPE_02 | FSP 3000RE3 | MXT25PC2 1535.04 | 2.5G muxponder (1G service) | MOD-1-1-10 | 19530 (D07) | ARKD-01 | MOD-1-1-10 | 1G | HSU | RE2SHELF | Replace w/ 2x1G
1121 | HOPE_02 | FSP 3000RE2 | XPT10GLO 1544.53 | 10G Transponder (single port) | MOD-1-1-11 | 19410 (DC4) | DLLS-01 | MOD-1-1-14 | 10G | BB | RE2SHELF | Replace
1123 | HOPE_02 | FSP 3000RE2 | VG3520 1510 | Optical pre-amp | MOD-1-1-13 | - |  |  |  |  | RE2SHELF | Replace
1124 | HOPE_02 | FSP 3000RE2 | XPT10GLO 1531.12 | 10G Transponder (single port) | MOD-1-1-14 | 19580 (D03) | UALR-01 | MOD-1-1-11 | 10G | UAMS | RE2SHELF | Replace
1126 | HOPE_02 | FSP 3000RE2 | XPT10GLO 1531.90 | 10G Transponder (single port) | MOD-1-1-16 | 19570 (D04) | UALR-01 | MOD-1-1-9 | 10G | UALR | RE2SHELF | Replace
1200
1200.1 |  |  | Morrilton (MLTN-01, MLTN-02) | 2 Degree ROADM
1200.2
1341 | MLTN-01 | FSP 3000RE2 |  | SHELF-1 | [6 empty] | RE2SHELF | Replace
1349 | MLTN-01 | FSP 3000RE2 | VG3520 1510 | Optical pre-amp | MOD-1-1-8 | - | CNWY-01 |  |  |  | RE2SHELF | Replace
1354 | MLTN-01 | FSP 3000RE2 | VG3520 1510 | Optical pre-amp | MOD-1-1-13 | - | RLVL-01 |  |  |  | RE2SHELF | Replace
1372 | MLTN-02 | FSP 3000R7 | 40CSM/2HU-#19590-#19200 | 40 Channel filter | MOD-1-3-I1 | [5 empty] | 40CSM/2HU-#19590-#19200
1374 | MLTN-02 | FSP 3000R7 | 40CSM/2HU-#19590-#19200 | 40 Channel filter | MOD-1-3-I2 | [5 empty] | 40CSM/2HU-#19590-#19200
1375 | MLTN-02 | FSP 3000R7 |  | SHELF-1 | [6 empty] | SH7HU-R
1379 | MLTN-02 | FSP 3000R7 | EDFA-C-S20-GCB-DM | Optical post-amp | MOD-1-7 |  | CNWY-01 |  |  |  | SH7HU-R
1380 | MLTN-02 | FSP 3000R7 | ROADM-C80/0/OPM | ROADM (2 degree site) | MOD-1-8 | [5 empty] | SH7HU-R
1381 | MLTN-02 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-V#DC (OTU2P) | 5x1G or 1x10G muxponder | MOD-1-10 | 19590 (D02) | NLRK-01 | MOD-4-18 | 2x1G | UACCM,MGT | SH7HU-R
1382 | MLTN-02 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-V#DC (OTU2P) | 5x1G or 1x10G muxponder | MOD-1-13 | 19590 (D02) | ALMA-01 | MOD-3-12 | 2x1G | UACCM,MGT | SH7HU-R
1383 | MLTN-02 | FSP 3000R7 | ROADM-C80/0/OPM | ROADM (2 degree site) | MOD-1-14 | [5 empty] | SH7HU-R
1384 | MLTN-02 | FSP 3000R7 | EDFA-C-S20-GCB-DM | Optical post-amp | MOD-1-16 |  | RLVL-01 |  |  |  | SH7HU-R
1390
1390.1 |  |  | Malvern (MLVR-01, MLVR-02) | 2 Degree ROADM with Fixed OADM to HTSP
1390.2
1394 | MLVR-01 | FSP 3000RE2 |  | SHELF-1 | [6 empty] | RE2SHELF | Replace
1402 | MLVR-01 | FSP 3000RE2 | VG3020PR 1510 | Optical pre-amp | MOD-1-1-8 | - | ARKD-01 |  |  |  | RE2SHELF | Replace
1407 | MLVR-01 | FSP 3000RE2 | VG3520 1510 | Optical pre-amp | MOD-1-1-13 | - | UALR-01 |  |  |  | RE2SHELF | Replace
1425 | MLVR-02 | FSP 3000R7 | 40CSM/2HU-#19590-#19200 | 40 Channel filter | MOD-1-3-I1 | [5 empty] | 40CSM/2HU-#19590-#19200
1427 | MLVR-02 | FSP 3000R7 | 40CSM/2HU-#19590-#19200 | 40 Channel filter | MOD-1-3-I2 | [5 empty] | 40CSM/2HU-#19590-#19200
1428 | MLVR-02 | FSP 3000R7 |  | SHELF-1 | [6 empty] | SH7HU-R
1432 | MLVR-02 | FSP 3000R7 | EDFA-C-S20-GCB-DM | Optical post-amp | MOD-1-6 |  | ARKD-01 |  |  |  | SH7HU-R
1433 | MLVR-02 | FSP 3000R7 | ROADM-C80/0/OPM | ROADM (2 degree site) | MOD-1-8 | [5 empty] | SH7HU-R
1434 | MLVR-02 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-V#DC (OTU2P) | 5x1G or 1x10G muxponder | MOD-1-10 | 19590 (D02) | HOPE-01 | MOD-3-13 | 3x1G | COTO,NPC,MGT | SH7HU-R
1435 | MLVR-02 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-V#DC (OTU2P) | 5x1G or 1x10G muxponder | MOD-1-13 | 19590 (D02) | NLRK-01 | MOD-1-18 | 3x1G | COTO,NPC,MGT | SH7HU-R
1436 | MLVR-02 | FSP 3000R7 | ROADM-C80/0/OPM | ROADM (2 degree site) | MOD-1-14 | [5 empty] | SH7HU-R
1437 | MLVR-02 | FSP 3000R7 | EDFA-C-S20-GCB-DM | Optical post-amp | MOD-1-16 |  | UALR-01 |  |  |  | SH7HU-R
1451 | MLVR-02 | FSP 3000R7 |  | SHELF-2 | [6 empty] | SH7HU-R | Leave in Place
1454 | MLVR-02 | FSP 3000R7 | 8CSM-#19590-#19520 | 8 Channel filter | MOD-2-8 | [5 empty] | SH7HU-R | Leave in Place
1455 | MLVR-02 | FSP 3000R7 | 4TCA-PCN-4GUS+4G (F4250) | 4x1G muxponder w/ diversity | MOD-2-10 | 19590 (D02) | HTSP-01 | MOD-1-10 | 2x1G | NPC,MGT | SH7HU-R | Leave in Place
1456 | MLVR-02 | FSP 3000R7 | 4TCA-PCN-4GUS+4G (F4250) | 4x1G muxponder w/ diversity | MOD-2-11 | 19580 (D03) | HTSP-01 | MOD-1-11 | 2x1G | NPC,MGT | SH7HU-R | Leave in Place
1470
1470.1 |  |  | Monticello (MNTI-01, MNTI-03) | 3 Degree ROADM
1470.2
1494 | MNTI-01 | FSP 3000R7 | 40CSM/2HU-#19590-#19200 | 40 Channel filter | MOD-3-18-I2 | [5 empty] | 40CSM/2HU-#19590-#19200 | Leave in Place
1497 | MNTI-01 | FSP 3000R7 |  | SHELF-1 | [6 empty] | SH7HU-R | Leave in Place
1502 | MNTI-01 | FSP 3000R7 | EDFA-C-D20-VGC-DM | Optical pre-amp | MOD-1-5 |  | PNBL-01 |  |  |  | SH7HU-R | Leave in Place
1503 | MNTI-01 | FSP 3000R7 | EDFA-C-S20-GCB-DM | Optical post-amp | MOD-1-6 |  | PNBL-01 |  |  |  | SH7HU-R | Leave in Place
1504 | MNTI-01 | FSP 3000R7 | 8ROADM-C40/0/OPM | ROADM (3 degree site) | MOD-1-7 | [5 empty] | SH7HU-R | Leave in Place
1505.1 | MNTI-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-1-10-NE | 19430 (D15) | NLRK-01 | MOD-2-11-NE | 10G | BB | SH7HU-R | Leave in Place
1505.2 | MNTI-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 2 of 2x 10G Transponder | MOD-1-10-NW | 19350 (D20) | PNBL-01 | MOD-2-9-NE | 10G | eLink | SH7HU-R | Leave in Place
1506.1 | MNTI-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-1-11-NE | 19420 (D16) | NLRK-01 | MOD-2-18-NE | 10G | BB | SH7HU-R | Leave in Place
1506.2 | MNTI-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 2 of 2x 10G Transponder | MOD-1-11-NW | 19570 (D04) | NLRK-01 | MOD-2-11-NW | 10G | UAM | SH7HU-R | Leave in Place
1507 | MNTI-01 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-LN#DC (OTU2PLAN) | 1x10G muxponder | MOD-1-17 | 19580 (D03) | PNBL-01 | MOD-2-15 | 10G | UAPB (10G) | SH7HU-R | Leave in Place
1508 | MNTI-01 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-LN#DC (OTU2P) | 5x1G or 1x10G muxponder | MOD-1-18 | 19590 (D02) | PNBL-01 | MOD-2-17 | 2x1G | SEARK,MGT | SH7HU-R | Leave in Place
1528 | MNTI-01 | FSP 3000R7 |  | SHELF-2 | [6 empty] | SH7HU-R | Leave in Place
1532 | MNTI-01 | FSP 3000R7 | RAMAN-C10 | RAMAN Extended range Amp | MOD-2-4 |  | CMDN-01 |  |  |  | SH7HU-R | Leave in Place
1533 | MNTI-01 | FSP 3000R7 | EDFA-C-D20-VGC-DM | Optical pre-amp | MOD-2-5 |  | CMDN-01 |  |  |  | SH7HU-R | Leave in Place
1534 | MNTI-01 | FSP 3000R7 | EDFA-C-S20-GCB-DM | Optical post-amp | MOD-2-6 |  | CMDN-01 |  |  |  | SH7HU-R | Leave in Place
1535 | MNTI-01 | FSP 3000R7 | 8ROADM-C40/0/OPM | ROADM (3 degree site) | MOD-2-7 | [5 empty] | SH7HU-R | Leave in Place
1536.1 | MNTI-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-2-10-NE | 19430 (D15) | HOPE-01 | MOD-2-11-NE | 10G | BB | SH7HU-R | Leave in Place
1536.2 | MNTI-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 2 of 2x 10G Transponder | MOD-2-10-NW | 19350 (D20) | HOPE-01 | MOD-2-11-NW | 10G | eLink | SH7HU-R | Leave in Place
1537 | MNTI-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-2-11-NE | 19420 (D16) | HOPE-01 | MOD-2-12-NE | 10G | BB | SH7HU-R | Leave in Place
1538 | MNTI-01 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-LN#DC (OTU2P) | 5x1G or 1x10G muxponder | MOD-2-16 | 19590 (D02) | MGNL-01 | MOD-1-13 | 3x1G | SAUM,MGT | SH7HU-R | Leave in Place
1539 | MNTI-01 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-LN#DC (OTU2P) | 5x1G or 1x10G muxponder | MOD-2-17 | 19580 (D03) | ELDO-01 | MOD-1-13 | 2x1G | SACC,MGT | SH7HU-R | Leave in Place
1540 | MNTI-01 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-LN#DC (OTU2P) | 5x1G or 1x10G muxponder | MOD-2-18 | 19570 (D04) | CMDN-01 | MOD-1-13 | 2x1G | SAUT,MGT | SH7HU-R | Leave in Place
1562 | MNTI-01 | FSP 3000R7 |  | SHELF-3 | [6 empty] | SH7HU-R | Leave in Place
1565 | MNTI-01 | FSP 3000R7 | EDFA-C-D20-VGC-DM | Optical post-amp | MOD-3-5 |  | HMBG-01 |  |  |  | SH7HU-R
1567 | MNTI-01 | FSP 3000R7 | 8ROADM-C40/0/OPM | ROADM (3 degree site) | MOD-3-7 | [5 empty] | SH7HU-R | Leave in Place
1573 | MNTI-03 | FSP 3000RE2 |  | SHELF-1 | [6 empty] | RE2SHELF | Replace
1582 | MNTI-03 | FSP 3000RE2 | XPT10GLO 1544.53 | 10G Transponder (single port) | MOD-1-1-9 | 19410 (DC4) | MONR-01 | MOD-1-1-16 | 10G | BB | RE2SHELF | Replace
1584 | MNTI-03 | FSP 3000RE2 | XPT10GLO 1542.94 | 10G Transponder (single port) | MOD-1-1-11 | 19430 (D15) | MONR-01 | MOD-1-1-14 | 10G | BB | RE2SHELF | Replace
1586 | MNTI-03 | FSP 3000RE2 | OLDUEV 1310 | Optical pre-amp | MOD-1-1-13 | - | HMBG-01 |  |  |  | RE2SHELF | Replace
1587 | MNTI-03 | FSP 3000RE2 | XPT10GLO 1542.14 | 10G Transponder (single port) | MOD-1-1-14 | 19440 (D14) | MONR-01 | MOD-1-1-11 | 10G | I2-BB | RE2SHELF | Replace
1589 | MNTI-03 | FSP 3000RE2 | XPT10GLO 1543.73 | 10G Transponder (single port) | MOD-1-1-16 | 19420 (D16) | MONR-01 | MOD-1-1-9 | 10G | LONI | RE2SHELF | Replace
1593 | MNTI-03 | FSP 3000RE2 | MD40SHW | 40 Channel filter | MOD-1-1-20 | - |  |  |  |  | RE2SHELF
1597 | MNTI-03 | FSP 3000RE2 | MD40SHW | 40 Channel filter | MOD-1-1-24 | - |  |  |  |  | RE2SHELF
1600
1600.1 |  |  | Monroe LA (MONR-01) | Currently 1 Degree Fixed OADM to be replaced with ROADM
1600.2
1603 | MONR-01 | FSP 3000RE2 |  | SHELF-1 | [6 empty] | RE2SHELF | Replace
1611 | MONR-01 | FSP 3000RE2 | VG3520 1510 | Optical pre-amp | MOD-1-1-8 | - | HMBG-01 |  |  |  | RE2SHELF | Replace
1612 | MONR-01 | FSP 3000RE2 | XPT10GLO 1543.73 | 10G Transponder (single port) | MOD-1-1-9 | 19420 (D16) | MNTI-03 | MOD-1-1-16 | 10G | LONI | RE2SHELF | Replace
1614 | MONR-01 | FSP 3000RE2 | XPT10GLO 1542.14 | 10G Transponder (single port) | MOD-1-1-11 | 19440 (D14) | MNTI-03 | MOD-1-1-14 | 10G | I2-BB | RE2SHELF | Replace
1617 | MONR-01 | FSP 3000RE2 | XPT10GLO 1544.53 | 10G Transponder (single port) | MOD-1-1-14 | 19430 (D15) | MNTI-03 | MOD-1-1-11 | 10G | BB | RE2SHELF | Replace
1619 | MONR-01 | FSP 3000RE2 | XPT10GLO 1542.94 | 10G Transponder (single port) | MOD-1-1-16 | 19410 (DC4) | MNTI-03 | MOD-1-1-9 | 10G | BB | RE2SHELF | Replace
1623 | MONR-01 | FSP 3000RE2 | MD40SHW | 40 Channel filter | MOD-1-1-20 | - |  |  |  |  | RE2SHELF | Replace
1633 | MONR-01 | FSP 3000RE2 |  | SHELF-2 | [6 empty] | RE2SHELF | Replace
1641 | MONR-01 | FSP 3000RE2 | VG2020PA | Optical post-amp | MOD-1-2-8 | - | HMBG-01 |  |  |  | RE2SHELF | Replace
1650
1650.1 |  |  | Muskogee OK (MSKG-01) | Amplification only
1650.2
1663 | MSKG-01 | FSP 3000RE2 |  | SHELF-1 | [6 empty] | RE2SHELF | Replace
1671 | MSKG-01 | FSP 3000RE2 | VG3520 1510 | Optical pre-amp | MOD-1-1-8 | - | TULS-01 |  |  |  | RE2SHELF | Replace
1676 | MSKG-01 | FSP 3000RE2 | OLDUEV 1310 | Optical pre-amp | MOD-1-1-13 | - | SLSW-01 |  |  |  | RE2SHELF | Replace
1700
1700.1 |  |  | No. Little Rock (NLRK-01, NLRK-02, NLRK-03) | 4 Degree ROADM
1700.2
1740 | NLRK-01 | FSP 3000RE2 | MD40SHW | 40 Channel filter | not inventoried | [5 empty] | RE2SHELF
1743 | NLRK-01 | FSP 3000RE2 | MD40SHW | 40 Channel filter | not inventoried | [5 empty] | RE2SHELF
1746 | NLRK-01 | FSP 3000RE2 | MD40SHW | 40 Channel filter | not inventoried | [5 empty] | RE2SHELF
1747 | NLRK-01 | FSP 3000RE2 | MD40SHW | 40 Channel filter | not inventoried | [5 empty] | RE2SHELF
1749 | NLRK-01 | FSP 3000R7 |  | SHELF-1 | [6 empty] | SH7HU-R
1752 | NLRK-01 | FSP 3000R7 | EDFA-C-S20-GCB-DM | Optical post-amp | MOD-1-6 |  | UAMS-01 |  |  |  | SH7HU-R
1753 | NLRK-01 | FSP 3000R7 | 8ROADM-C40/0/OPM | ROADM (4 degree site) | MOD-1-7 | [5 empty] | SH7HU-R
1755.1 | NLRK-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-1-11-NE | 19430 (D15) | HOPE-01 | MOD-3-11-NW | 10G | BB | SH7HU-R
1755.2 | NLRK-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 2 of 2x 10G Transponder | MOD-1-11-NW | 19400 (DC9) | HOPE-01 | MOD-3-12-NE | 10G | BB | SH7HU-R
1755.5 | NLRK-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-1-12-NW | 19550 (D05) | ARKD-01 | MOD-1-11-NE | 10G | HSU | SH7HU-R
1756 | NLRK-01 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-V#DC (OTU2P) | 5x1G or 1x10G muxponder | MOD-1-15 | 19410 (DC4) | HOPE-01 | MOD-3-16 | 2x1G | BB | SH7HU-R
1756.5 | NLRK-01 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-V#DC (OTU2P) | 5x1G or 1x10G muxponder | MOD-1-16 | 19560 (DC1) | UAMS-02 | MOD-1-18 | 4x1G | PTC,UAEX,MGT | SH7HU-R
1757 | NLRK-01 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-V#DC (OTU2PLAN) | 5x1G or 1x10G muxponder | MOD-1-17 | 19540 (D06) | UAMS-02 | MOD-1-17 | 10G | BB | SH7HU-R
1758 | NLRK-01 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-V#DC (OTU2P) | 5x1G or 1x10G muxponder | MOD-1-18 | 19590 (D02) | MLVR-02 | MOD-1-13 | 3x1G | COTO,NPC,MGT | SH7HU-R
1778 | NLRK-01 | FSP 3000R7 |  | SHELF-2 | [6 empty] | SH7HU-R | Leave in Place
1783 | NLRK-01 | FSP 3000R7 | EDFA-C-D20-VGC-DM | Optical pre-amp | MOD-2-5 |  | PNBL-01 |  |  |  | SH7HU-R | Leave in Place
1784 | NLRK-01 | FSP 3000R7 | EDFA-C-S20-GCB-DM | Optical post-amp | MOD-2-6 |  | PNBL-01 |  |  |  | SH7HU-R | Leave in Place
1785 | NLRK-01 | FSP 3000R7 | 8ROADM-C40/0/OPM | ROADM (4 degree site) | MOD-2-7 | [5 empty] | SH7HU-R
1787.1 | NLRK-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-2-11-NE | 19430 (D15) | MNTI-01 | MOD-1-10-NE | 10G | BB | SH7HU-R | Leave in Place
1787.2 | NLRK-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 2 of 2x 10G Transponder | MOD-2-11-NW | 19570 (D04) | MNTI-01 | MOD-1-11-NW | 10G | UAM | SH7HU-R | Leave in Place
1788 | NLRK-01 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-LN#DC (OTU2P) | 5x1G or 1x10G muxponder | MOD-2-12 | 19590 (D02) | PNBL-01 | MOD-1-17 | 2x1G | SEARK,MGT | SH7HU-R | Leave in Place
1789 | NLRK-01 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-LN#DC (OTU2PLAN) | 1x10G muxponder | MOD-2-13 | 19580 (D03) | PNBL-01 | MOD-1-16 | 10G | UAPB | SH7HU-R | Leave in Place
1790 | NLRK-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-2-18-NE | 19420 (D16) | MNTI-01 | MOD-1-11-NE | 10G | BB | SH7HU-R | Leave in Place
1807 | NLRK-01 | FSP 3000R7 |  | SHELF-3 | [6 empty] | SH7HU-R | Leave in Place
1812 | NLRK-01 | FSP 3000R7 | EDFA-C-D20-VGC-DM | Optical pre-amp | MOD-3-5 |  | BSCO-01 |  |  |  | SH7HU-R | Leave in Place
1813 | NLRK-01 | FSP 3000R7 | EDFA-C-S20-GCB-DM | Optical post-amp | MOD-3-6 |  | BSCO-01 |  |  |  | SH7HU-R | Leave in Place
1814 | NLRK-01 | FSP 3000R7 | 8ROADM-C40/0/OPM | ROADM (4 degree site) | MOD-3-7 | [5 empty] | SH7HU-R
1815.1 | NLRK-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-3-10-NE | 19430 (D15) | FRCY-01 | MOD-2-10-NE | 10G | BB | SH7HU-R | Leave in Place
1815.2 | NLRK-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 2 of 2x 10G Transponder | MOD-3-10-NW | 19580 (D03) | JNBO-01 | MOD-2-9-NW | 10G | ASU | SH7HU-R | Leave in Place
1816 | NLRK-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-3-11-NE | 19420 (D16) | FRCY-01 | MOD-2-11-NE | 10G | BB | SH7HU-R | Leave in Place
1816.5 | NLRK-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 2 of 2x 10G Transponder | MOD-3-11-NW | 19570 (D04) | FRCY-01 | MOD-2-12-NW | 10G | EACC | SH7HU-R | Leave in Place
1828 | NLRK-01 | FSP 3000R7 |  | SHELF-4 | [6 empty] | SH7HU-R
1831 | NLRK-01 | FSP 3000R7 | EDFA-C-S20-GCB-DM | Optical post-amp | MOD-4-6 |  | CNWY-01 |  |  |  | SH7HU-R
1832 | NLRK-01 | FSP 3000R7 | 8ROADM-C40/0/OPM | ROADM (4 degree site) | MOD-4-7 | [5 empty] | SH7HU-R
1834 | NLRK-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-4-11-NE | 19430 (D15) | ALMA-01 | MOD-1-11-NE | 10G | BB | SH7HU-R
1835.1 | NLRK-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 2 of 2x 10G Transponder | MOD-4-11-NW | 19530 (D07) | HAPF-01 | MOD-1-12-NE | 10G | UARK | SH7HU-R | Leave in Place
1835.2 | NLRK-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-4-12-NE | 19420 (D16) | ALMA-01 | MOD-3-11-NW | 10G | BB | SH7HU-R
1835.3 | NLRK-01 | FSP 3000R7 | 2WCC-PCN-10G | Port 2 of 2x 10G Transponder | MOD-4-12-NW | 19540 (D06) | HAPF-01 | MOD-1-11-NE | 10G | UARK | SH7HU-R | Leave in Place
1836 | NLRK-01 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-V#DC (OTU2P) | 5x1G or 1x10G muxponder | MOD-4-18 | 19590 (D02) | MLTN-02 | MOD-1-10 | 2x1G | UACCM,MGT | SH7HU-R
1851 | NLRK-02 | FSP 3000RE2 |  | SHELF-1 | [6 empty] | RE2SHELF | Replace
1860 | NLRK-02 | FSP 3000RE2 | XPT10GLO 1533.47 | 10G Transponder (single port) | MOD-1-1-9 | 19550 (D05) | CNWY-01 | MOD-1-1-9 | 10G | UCA | RE2SHELF | Replace
1862 | NLRK-02 | FSP 3000RE2 | XPT10GLO 1532.68 | 10G Transponder (single port) | MOD-1-1-11 | 19560 (DC1) | RLVL-01 | MOD-1-1-9 | 10G | ATU | RE2SHELF | Replace
1864 | NLRK-02 | FSP 3000RE2 | VG3020PR 1510 | Optical pre-amp | MOD-1-1-13 | - | CNWY-01 |  |  |  | RE2SHELF | Replace
1881 | NLRK-03 | FSP 3000RE2 |  | SHELF-1 | [6 empty] | RE2SHELF | Replace
1889 | NLRK-03 | FSP 3000RE2 | OLDUEV 1310 | Optical pre-amp | MOD-1-1-8 | - | UAMS-01 |  |  |  | RE2SHELF | Replace
1890 | NLRK-03 | FSP 3000RE3 | MXT25PC2 1535.04 | 2.5G muxponder (1G service) | MOD-1-1-11 | 19530 (D07) | ARKD-01 | MOD-1-1-15 | 1G | HSU | RE2SHELF | Replace w/ 2x1G
1893 | NLRK-03 | FSP 3000RE2 | MXT25PC2 1533.47 | 2.5G muxponder (1G service) | MOD-1-1-12 | 19550 (D05) | ARKD-01 | MOD-1-1-14 | 1G | HSU | RE2SHELF | Replace w/ 2x1G
1895 | NLRK-03 | FSP 3000RE2 | XPT10GLO 1531.12 | 10G Transponder (single port) | MOD-1-1-14 | 19580 (D03) | UAMS-01 | MOD-1-1-14 | 10G | UAMS | RE2SHELF | Replace
1897 | NLRK-03 | FSP 3000RE2 | XPT10GLO 1531.90 | 10G Transponder (single port) | MOD-1-1-16 | 19570 (D04) | UAMS-01 | MOD-1-1-16 | 10G | UALR | RE2SHELF | Replace
1950
1950.1 |  |  | Newsome TX (NWSM-01) | Amplification only
1950.2
1967 | NWSM-01 | FSP 3000RE2 |  | SHELF-1 | [6 empty] | RE2SHELF | Replace
1975 | NWSM-01 | FSP 3000RE2 | VG3520 1510 | Optical pre-amp | MOD-1-1-8 | - | EDWD-01 |  |  |  | RE2SHELF | Replace
1980 | NWSM-01 | FSP 3000RE2 | VG3520 1510 | Optical pre-amp | MOD-1-1-13 | - | ATLN-02 |  |  |  | RE2SHELF | Replace
1990
1990.1 |  |  | Ozark (OZRK-01) | Amplification only
1990.2
1997 | OZRK-01 | FSP 3000RE2 |  | SHELF-1 | [6 empty] | RE2SHELF | Replace
2005 | OZRK-01 | FSP 3000RE2 | VG3020PR 1510 | Optical pre-amp | MOD-1-1-8 | - | RLVL-01 |  |  |  | RE2SHELF | Replace
2010 | OZRK-01 | FSP 3000RE2 | OLDUEV 1310 | Optical pre-amp | MOD-1-1-13 | - | ALMA-03 |  |  |  | RE2SHELF | Replace
2100
2100.1 |  |  | Russelville (RLVL-01) | 2 Degree ROADM
2100.2
2124 | RLVL-01 | FSP 3000RE2 |  | SHELF-1 | [6 empty] | RE2SHELF | Replace
2132 | RLVL-01 | FSP 3000RE2 | VG3520 1510 | Optical pre-amp | MOD-1-1-8 | - | CNWY-01 |  |  |  | RE2SHELF | Replace
2133 | RLVL-01 | FSP 3000RE2 | XPT10GLO 1532.68 | 10G Transponder (single port) | MOD-1-1-9 | 19560 (DC1) | NLRK-02 | MOD-1-1-11 | 10G | ATU | RE2SHELF | Replace
2137 | RLVL-01 | FSP 3000RE2 | VG3020PR 1510 | Optical pre-amp | MOD-1-1-13 | - | OZRK-01 |  |  |  | RE2SHELF | Replace
2140 | RLVL-01 | FSP 3000RE2 | XPT10GLO 1532.68 | 10G Transponder (single port) | MOD-1-1-16 | 19560 (DC1) | ALMA-03 | MOD-1-1-9 | 10G | ATU | RE2SHELF | Replace
2154 | RLVL-01 | FSP 3000RE2 |  | SHELF-2 | [6 empty] | RE2SHELF | Replace
2162 | RLVL-01 | FSP 3000RE2 | VG2020PA | Optical post-amp | MOD-1-2-8 | - | CNWY-01 |  |  |  | RE2SHELF | Replace
2167 | RLVL-01 | FSP 3000RE2 | VG2020PA | Optical post-amp | MOD-1-2-13 | - | OZRK-01 |  |  |  | RE2SHELF | Replace
2185 | RLVL-01 | FSP 3000RE2 | EROADM | ROADM (2 degree site) | MOD-1-3-1 | - |  |  |  |  | EROADM | Replace
2187 | RLVL-01 | FSP 3000RE2 | EROADM | ROADM (2 degree site) | MOD-1-4-1 | - |  |  |  |  | EROADM | Replace
2190
2190.1 |  |  | Salisaw OK (SLSW-01) | Amplification only
2190.2
2195 | SLSW-01 | FSP 3000RE2 |  | SHELF-1 | [6 empty] | RE2SHELF | Replace
2196 | SLSW-01 | FSP 3000RE2 | OLDUEV 1310 | Optical pre-amp | MOD-1-1-8 | - | MSKG-01 |  |  |  | RE2SHELF | Replace
2201 | SLSW-01 | FSP 3000RE2 | OLDUEV 1310 | Optical pre-amp | MOD-1-1-13 | - | FTSM-01 |  |  |  | RE2SHELF | Replace
2210
2210.1 |  |  | Tulsa OK (TULS-01, TULS-02) | Currently 1 Degree Fixed OADM to be replaced with ROADM
2210.2
2218 | TULS-01 | FSP 3000RE2 |  | SHELF-1 | [6 empty] | RE2SHELF | Replace
2229 | TULS-01 | FSP 3000RE2 | XPT10GLO 1531.12 | 10G Transponder (single port) | MOD-1-1-11 | 19580 (D03) | FTSM-01 | MOD-1-1-9 | 10G | UAFS | RE2SHELF | Replace
2231 | TULS-01 | FSP 3000RE2 | VG3520 1510 | Optical pre-amp | MOD-1-1-13 | - | MSKG-01 |  |  |  | RE2SHELF | Replace
2242 | TULS-01 | FSP 3000RE2 | MD40SHW | 40 Channel filter | MOD-1-1-24 | - |  |  |  |  | RE2SHELF | Replace
2248 | TULS-01 | FSP 3000RE2 |  | SHELF-2 | [6 empty] | RE2SHELF | Replace
2261 | TULS-01 | FSP 3000RE2 | OLDUEV20 1310 | Optical post-amp | MOD-1-2-13 | - | MSKG-01 |  |  |  | RE2SHELF | Replace
2278 | TULS-02 | FSP 3000R7 |  | SHELF-1 | [6 empty] | SH9HU | Leave in Place
2284 | TULS-02 | FSP 3000R7 | WCC-PCN-100G | 100G Transponder | MOD-1-5 | 19220 (D30) | FYVL-01 | MOD-5-5 | 100G | BB | SH9HU | Leave in Place
2285.1 | TULS-02 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-1-10-NE | 19420 (D16) | ALMA-01 | MOD-2-11-NW | 10G | BB | SH9HU
2285.2 | TULS-02 | FSP 3000R7 | 2WCC-PCN-10G | Port 2 of 2x 10G Transponder | MOD-1-10-NW | 19430 (D15) | ALMA-01 | MOD-3-11-NE | 10G | BB | SH9HU
2286 | TULS-02 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-V#DC (OTU2P) | 5x1G or 1x10G muxponder | MOD-1-11 | 19590 (D02) | FTSM-02 | MOD-1-12 | 2x1G | eLink,MGT | SH9HU
2300
2300.1 |  |  | UALR - Little Rock (UALR-01, UALR-02) | 2 Degree ROADM with Fixed OADM to PTC and UAEX
2300.2
2310 | UALR-01 | FSP 3000RE2 |  | SHELF-1 | [6 empty] | RE2SHELF | Replace
2318 | UALR-01 | FSP 3000RE2 | VG3520 1510 | Optical pre-amp | MOD-1-1-8 | - | MLVR-01 |  |  |  | RE2SHELF | Replace
2319 | UALR-01 | FSP 3000RE2 | XPT10GLO 1531.90 | 10G Transponder (single port) | MOD-1-1-9 | 19570 (D04) | HOPE-02 | MOD-1-1-16 | 10G | UALR | RE2SHELF | Replace
2321 | UALR-01 | FSP 3000RE2 | XPT10GLO 1531.12 | 10G Transponder (single port) | MOD-1-1-11 | 19580 (D03) | HOPE-02 | MOD-1-1-14 | 10G | UAMS | RE2SHELF | Replace
2323 | UALR-01 | FSP 3000RE2 | VG3020PR 1510 | Optical pre-amp | MOD-1-1-13 | - | UAMS-01 |  |  |  | RE2SHELF | Replace
2340 | UALR-01 | FSP 3000RE2 |  | SHELF-2 | [6 empty] | RE2SHELF | Replace
2348 | UALR-01 | FSP 3000RE2 | VG2020PA | Optical post-amp | MOD-1-2-8 | - | MLVR-01 |  |  |  | RE2SHELF | Replace
2371 | UALR-01 | FSP 3000RE2 | EROADM | ROADM (2 degree site) | MOD-1-3-1 | - |  |  |  |  | EROADM | Replace
2373 | UALR-01 | FSP 3000RE2 | EROADM | ROADM (2 degree site) | MOD-1-4-1 | - |  |  |  |  | EROADM | Replace
2374 | UALR-02 | FSP 3000R7 |  | SHELF-1 | [6 empty] | SH7HU-R | Leave in Place
2377 | UALR-02 | FSP 3000R7 | 4TCA-PCN-4GUS+4G (F4250) | 4x1G muxponder w/ diversity | MOD-1-9 | 19590 (D02) | PTCS-01 | MOD-1-10 | 2x1G | PTC,MGT | SH7HU-R | Leave in Place
2378 | UALR-02 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-V#DC (OTU2P) | 5x1G or 1x10G muxponder | MOD-1-10 | 19560 (DC1) | HOPE-01 | MOD-3-14 | 3x1G | PTC,UAEX,UASYS | SH7HU-R
2379 | UALR-02 | FSP 3000R7 | 4TCA-PCN-4GUS+4G (F4250) | 4x1G muxponder w/ diversity | MOD-1-11 | 19580 (D03) | PTCS-01 | MOD-1-11 | 2x1G | PTC,MGT | SH7HU-R | Leave in Place
2380 | UALR-02 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-LN#DC (OTU2P) | 5x1G or 1x10G muxponder | MOD-1-12 | 19590 (D02) | UAEX-01 | MOD-1-10 | 2x1G | UAEX | SH7HU-R | Leave in Place
2381 | UALR-02 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-V#DC (OTU2P) | 5x1G or 1x10G muxponder | MOD-1-13 | 19540 (D06) | HOPE-01 | MOD-3-15 | 3x1G | WS-AATYC,MGT | SH7HU-R
2382 | UALR-02 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-1-14-NE | 19350 (D20) | HOPE-01 | MOD-3-11-NE | 10G | eLink | SH7HU-R
2400
2400.1 |  |  | UAMS - Little Rock (UAMS-01, UAMS-02) | 2 Degree ROADM
2400.2
2408 | UAMS-01 | FSP 3000RE2 |  | SHELF-1 | [6 empty] | RE2SHELF | Replace
2416 | UAMS-01 | FSP 3000RE2 | VG3020PR 1510 | Optical pre-amp | MOD-1-1-8 | - | UALR-01 |  |  |  | RE2SHELF | Replace
2421 | UAMS-01 | FSP 3000RE2 | OLDUEV 1310 | Optical pre-amp | MOD-1-1-13 | - | NLRK-03 |  |  |  | RE2SHELF | Replace
2422 | UAMS-01 | FSP 3000RE2 | XPT10GLO 1531.12 | 10G Transponder (single port) | MOD-1-1-14 | 19580 (D03) | NLRK-03 | MOD-1-1-14 | 10G | UAMS | RE2SHELF | Replace
2424 | UAMS-01 | FSP 3000RE2 | XPT10GLO 1531.90 | 10G Transponder (single port) | MOD-1-1-16 | 19570 (D04) | NLRK-03 | MOD-1-1-16 | 10G | UALR | RE2SHELF | Replace
2438 | UAMS-01 | FSP 3000RE2 |  | SHELF-2 | [6 empty] | RE2SHELF | Replace
2452 | UAMS-01 | FSP 3000RE2 | VG2020PA | Optical post-amp | MOD-1-2-13 | - | NLRK-03 |  |  |  | RE2SHELF | Replace
2469 | UAMS-01 | FSP 3000RE2 | EROADM | ROADM (2 degree site) | MOD-1-3-1 | - |  |  |  |  | EROADM | Replace
2471 | UAMS-01 | FSP 3000RE2 | EROADM | ROADM (2 degree site) | MOD-1-4-1 | - |  |  |  |  | EROADM | Replace
2472 | UAMS-02 | FSP 3000R7 |  | SHELF-1 | [6 empty] | SH7HU-R | Leave in Place
2475 | UAMS-02 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-1-10-NE | 19340 (DC6) | FTSM-02 | MOD-1-10-NE | 10G | eLink | SH7HU-R
2457.5 | UAMS-02 | FSP 3000R7 | 2WCC-PCN-10G | Port 2 of 2x 10G Transponder | MOD-1-10-NW | 19520 (D08) | SPDL-01 | MOD-1-11-NW | 10G | ACH | SH7HU-R | Leave in Place
2476 | UAMS-02 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-1-11-NE | 19350 (D20) | FYCY-01 | MOD-2-11-NW | 10G | eLink | SH7HU-R | Leave in Place
2476.5 | UAMS-02 | FSP 3000R7 | 2WCC-PCN-10G | Port 2 of 2x 10G Transponder | MOD-1-11-NW | 19510 (DC2) | JNBO-01 | MOD-2-10-NE | 10G | ACH | SH7HU-R | Leave in Place
2477 | UAMS-02 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-1-12-NE | 19330 (D21) | PNBL-01 | MOD-1-9-NE | 10G | eLink | SH7HU-R | Leave in Place
2478 | UAMS-02 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-V#DC (OTU2PLAN) | 5x1G or 1x10G muxponder | MOD-1-17 | 19540 (D06) | NLRK-01 | MOD-1-17 | 10G | BB | SH7HU-R
2479 | UAMS-02 | FSP 3000R7 | 5TCE-PCTN-10GU+10G-V#DC (OTU2P) | 5x1G or 1x10G muxponder | MOD-1-18 | 19560 (DC1) | NLRK-01 | MOD-1-16 | 4x1G | PTC,UAEX,MGT | SH7HU-R
2460 | UAMS-02 | FSP 3000R7 |  | SHELF-2 | [6 empty] | SH9HU | Leave in Place
2461 | UAMS-02 | FSP 3000R7 | 40CSM/2HU-#19590-#19200 | 40 Channel filter | PSH-2-FCU-I3 | [5 empty] | 40CSM/2HU-#19590-#19200 | Leave in Place
2462 | UAMS-02 | FSP 3000R7 | 4TCA-PCN-4GU+4G | 4x1G muxponder w/ diversity | MOD-2-10 | 19590 (D02) | ACLR-01 | MOD-1-10-NW | 1G | ACH | SH9HU | Leave in Place
2463 | UAMS-02 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-2-11-NE | 19510 (DC2) | ACLR-01 | MOD-1-11-NE | 10G | UAMS | SH9HU | Leave in Place
2464 | UAMS-02 | FSP 3000R7 | 2WCC-PCN-10G | Port 2 of 2x 10G Transponder | MOD-2-11-NW | 19520 (D08) | ACLR-01 | MOD-1-11-NW | 10G | ACH | SH9HU | Leave in Place
2465 | UAMS-02 | FSP 3000R7 | 2WCC-PCN-10G | Port 1 of 2x 10G Transponder | MOD-2-12-NE | 19500 (D09) | ACLR-01 | MOD-1-12-NE | 10G | UAMS | SH9HU | Leave in Place

## Services
Node A | Node Z | Service Type | Service Use | Equipment Refresh Status
ALMA-01 | FTSM-02 | 1G | MGT
ALMA-01 | FYVL-01 | 10G | AAES | Leave in Place
ALMA-01 | FYVL-01 | 10G | BB | Leave in Place
ALMA-01 | FYVL-01 | 10G | BB | Leave in Place
ALMA-01 | FYVL-01 | 1G | ACH | Leave in Place
ALMA-01 | FYVL-01 | 1G | MGT | Leave in Place
ALMA-01 | NLRK-01 | 10G | BB
ALMA-01 | NLRK-01 | 10G | BB
ALMA-01 | TULS-02 | 10G | BB
ALMA-01 | TULS-02 | 10G | BB
ALMA-01 | FYVL-01 | 10G | AAES | Leave in Place
ALMA-01 | BNTV-01 | 1G | NWACC | Leave in Place
ALMA-01 | SPDL-01 | 1G | ACNW | Leave in Place
ARKD-01 | HOPE-01 | 10G | HSU
ARKD-01 | NLRK-01 | 10G | HSU
ATLN-01 | HOPE-01 | 1G | TAMU | Leave in Place
CNWY-01 | ALMA-03 | 10G | UCA | Replace
CNWY-01 | NLRK-02 | 10G | UCA | Replace
CRST-01 | MNTI-01 | 3x1G | UAM, MGT | New services
DLLS-01 | HOPE-02 | 10G | BB | Replace
DLLS-02 | HOPE-01 | 10G | BB
DLLS-02 | HOPE-01 | 10G | BB
FTSM-01 | ALMA-02 | 10G | UAFS | Replace
FTSM-01 | TULS-01 | 10G | UAFS | Replace
FTSM-02 | FYVL-01 | 10G | eLink | Leave in Place
FTSM-02 | TULS-02 | 2x1G | eLink, MGT
FTSM-02 | UAMS-02 | 10G | eLink
HOPE-01 | NLRK-01 | 10G | BB
HOPE-01 | NLRK-01 | 10G | BB
HOPE-01 | NLRK-01 | 2x1G | BB
HOPE-01 | UALR-02 | 10G | eLink
MLTN-02 | ALMA-01 | 2x1G | UACCM,MGT
MLTN-02 | NLRK-01 | 2x1G | UACCM,MGT
MLVR-02 | HOPE-01 | 3x1G | COTO,NPC,MGT
MLVR-02 | NLRK-01 | 3x1G | COTO,NPC,MGT
MNTI-03 | MONR-01 | 10G | BB | Replace
MNTI-03 | MONR-01 | 10G | I2-BB | Replace
MNTI-03 | MONR-01 | 10G | LONI | Replace
NLRK-01 | FYVL-01 | 10G | UARK | Leave in Place
NLRK-01 | UAMS-02 | 10G | BB
NLRK-01 | FRCY-01 | 10G | EACC | Leave in Place
RLVL-01 | ALMA-03 | 10G | ATU | Replace
RLVL-01 | NLRK-02 | 10G | ATU | Replace
TULS-02 | FYVL-01 | 100G | BB | Leave in Place
UALR-01 | HOPE-02 | 10G | UALR | Replace
UALR-01 | HOPE-02 | 10G | UAMS | Replace
UALR-02 | HOPE-01 | 3x1G | PTC,UAEX,UASYS
UALR-02 | HOPE-01 | 3x1G | WS-AATYC,MGT
UAMS-01 | NLRK-03 | 10G | UALR | Replace
UAMS-01 | NLRK-03 | 10G | UAMS | Replace
UAMS-02 | ACNW-01 | 10G | ACH | Leave in Place
UAMS-02 | FYCY-01 | 10G | eLink | Leave in Place
UAMS-02 | JNBO-01 | 10G | ACH | Leave in Place
UAMS-02 | NLRK-01 | 4x1G | PTC,UAEX,MGT
UAMS-02 | PNBL-01 | 10G | eLink | Leave in Place
UAMS-02 | JNBO-01 | 10G | ACH | Leave in Place
UAMS-02 | SPDL-01 | 10G | ACH | Leave in Place
UAMS-02 | ACLR-01 | 1G | ACH | Leave in Place
UAMS-02 | ACLR-01 | 10G | ACH | Leave in Place
UAMS-02 | ACLR-01 | 10G | UAMS | Leave in Place
UAMS-02 | ACLR-01 | 10G | UAMS | Leave in Place

## POPs
POP | Location
ACLR | Arkansas Children's Hospital - Little Rock
ALMA | Alma
ARKD | Arkadelphia
ATLN | Atlanta TX
CNWY | Conway
CRST | Crossett
DLLS | Dallas TX
EDWD | Edgewood TX
FRCY | Forrest City
FTSM | Fort Smith
FYVL | Fayetteville
HMBG | Hamburg
HOPE | Hope
HTSP | Hot Springs
JNBO | Arkansas State University - Jonesboro
MLTN | Morrilton
MLVR | Malvern
MNTI | Monticello
MONR | Monroe LA
MSKG | Muskogee OK
NLRK | No. Little Rock
NWSM | Newsome TX
OZRK | Ozark
PNBL | Pine Bluff
PTCS | Pulaski Technical Colege - South Campus
RLVL | Russellville
SLSW | Sallisaw OK
SPDL | Springdale
TULS | Tulsa OK
UAEX | University of Arkansas Cooperative Extension - Little Rock
UALR | University of Arkansas at Little Rock
UAMS | University of Arkansas for Medical Sciences - Little Rock

## Fiber Distance & Loss
|  |  | Current |  | Measured
|  |  | Equipment Loss |  | Loss (OTDR) |  | Fiber Length/TYPE
Segment # | POP A | POP B | 1330 | 1550 | 1330 | 1550 | Type | (Km) | Type | (Km) | Distance (Km)
1.1 | Tulsa OK | Muskogee OK | 28.25 | 27.165 | 38 | 25.5 | SMF | 98.6 |  |  | 98.6
1.2 | Muskogee OK | Salisaw OK | 27.45 | 16.8 | n/a | n/a | SMF | 75.4 |  |  | 75.4
1.3 | Salisaw OK | Ft. Smith | 19.15 | 11.8 | 18.1 | 11.6 | SMF | 51.1 |  |  | 51.1
1.4 | Ft. Smith | Alma | 14.1 | 9.6 | 13.3 | 8.6 | SMF | 35 |  |  | 35
1.5 | Alma | Ozark | 20.95 | 12.45 | 20.6 | 12.6 | SMF | 59.2 |  |  | 59.2
1.6 | Ozark | Russellville | n/a | 17.225 | 22 | 13.8 | SMF | 61.5 |  |  | 61.5
1.7 | Russellville | Morrilton | n/a | 22.585 | 17 | 10.1 | SMF | 45.7 |  |  | 45.7
1.8 | Morrilton | Conway | n/a | 20.96 | 16.5 | 10.07 | SMF | 44.9 |  |  | 44.9
1.9 | Conway | No. Little Rock | n/a | 13.495 | n/a | 14 | SMF | 58.4 |  |  | 58.4
2.1 | Dallas TX (Equinix) | Edgewood TX | n/a | 26.025 | 40.5 | 27.7 | SMF | 6.4 | LEAF | 108.2 | 114.6
2.2 | Edgewiood TX | Newsome TX | n/a | 22.395 | n/a | 21 | LEAF | 98.8 |  |  | 98.8
2.3 | Newsome TX | Atlanta TX | n/a | 21.31 | n/a | 20.4 | LEAF | 98.4 |  |  | 98.4
2.4 | Atlanta TX | Hope | n/a | 28.35 | n/a | 25.3 | LEAF | 117.2 |  |  | 117.2
2.5 | Hope | Arkadelphia | n/a | 16.56 | 27.7 | 16 | LEAF | 76.3 |  |  | 76.3
2.6 | Arkadelphia | Malvern | n/a | 11.83 | n/a | n/a | LEAF | 42.5 |  |  | 42.5
2.7 | Malvern | UALR (Little Rock) | n/a | 19.875 | n/a | n/a | LEAF | 71.5 |  |  | 71.5
2.8 | UALR (Little Rock) | UAMS (Little Rock) | n/a | 8.37 | 2 | 1.1 | SMF | 5.4 |  |  | 5.4
2.9 | UAMS (Little Rock) | No. Little Rock | 15.15 | 10.85 | 10 | 5.8 | SMF | 3.8 | LEAF | 19 | 22.8
3.1 | Monroe LA | Hamburg | n/a | 22.315 | n/a | 16.8 | SMF | 77.38 |  |  | 77.38
3.1.1 | Monroe LA | Crossett | n/a | n/a | n/a | n/a | SMF | 93 |  |  | 93
3.2 | Hamburg | Monticello | n/a | 13.25 | 23.8 | 14.2 | SMF | 64.6 |  |  | 64.6
3.2.1 | Crossett | Monticello | n/a | n/a | n/a | n/a | SMF | 61 |  |  | 61
NOTES: | Current Equipment Loss - A cacculated value derived from the launce power and received power reading at the ends of the span.
(Worst case of the two directions.)
Measured Loss - Loss on the fibe cable as measured by an OTDR.
Represents the worst case of the bidirectional measurments on both fibers in the span.
Fiber Length - As measured by an OTDR at 1550nm
| Estimated | This measurment is estimated based an engineering study of the Malvern site location.
Changed Cell